## 6a390fa95a1e7cf130c0cf32
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Exterior & Grounds (STEP)
Overall Grounds Condition (LOCATION)
Lawn Height (inches) (NUMBER)
Landscaping Issues? (SELECTION options: Overgrown, Dead Plants, Irrigation Problems, Pest Infestation, None)
Number of Cracked/Damaged Pavement Sections (NUMBER)
Comments on Walkway Surfaces (TEXT)
Last Landscaping Service Date (DATE)
Photos of Exterior Conditions (UPLOAD)

Building Envelope (STEP)
Roof Leakage (Scale of 0-5, 0=None, 5=Severe) (NUMBER)
Roof Condition (SELECTION options: Excellent, Good, Fair, Poor)
Number of Cracked Window Panes (NUMBER)
Window Frame Condition (SELECTION options: Excellent, Good, Fair, Poor)
Notes on Exterior Wall Deterioration (TEXT)
Last Time Gutter Cleaning Performed (DATE)
Condition of Weather Stripping (SELECTION options: Good, Fair, Poor)
Photos of any Damage (Roof, Walls, Windows) (UPLOAD)

Common Areas (STEP)
Stairwell Lighting Functionality (1-5, 5 being fully functional) (NUMBER)
Hallway Obstructions? (SELECTION options: Boxes, Furniture, Trash/Debris, None)
Elevator Operation (if applicable) (SELECTION options: Operating Smoothly, Minor Issues, Major Issues - Out of Service)
Description of Lobby Cleanliness & Condition (TEXT)
Date of Last Carpet Cleaning (Lobby/Hallways) (DATE)
Condition of Interior Doors (Common Areas) (SELECTION options: Good, Minor Scratches/Dings, Damage/Repair Needed)
Location of any observed hazards (e.g., uneven flooring) (LOCATION)

HVAC Systems (STEP)
Supply Air Temperature (Deg F) (NUMBER)
Return Air Temperature (Deg F) (NUMBER)
Exhaust Fan RPM (NUMBER)
Filter Condition (SELECTION options: Excellent, Good, Fair, Poor)
Condenser Coil Condition (SELECTION options: Clean, Slightly Dirty, Dirty, Very Dirty)
Notes on Compressor Noise/Vibration (TEXT)
Last Maintenance Date (DATE)
Issues Found (Check all that apply) (SELECTION options: Leaking Refrigerant, Unusual Noise, Poor Airflow, Electrical Malfunction, Other)

Plumbing Systems (STEP)
Water Pressure (PSI) (NUMBER)
Hot Water Temperature (F) (SELECTION options: Below 120°F, 120-140°F, Above 140°F)
Faucet Operation (SELECTION options: Working Properly, Dripping, Leaking, Broken)
Toilet Flush Function (SELECTION options: Proper Flush, Weak Flush, Leaking, Clogged)
Any observed leaks or unusual noises? (TEXT)
Last Plumbing Maintenance Date (DATE)

Electrical Systems (STEP)
Voltage (Amps) (NUMBER)
Circuit Breaker Rating (Amps) (NUMBER)
Panel Condition (Visual) (SELECTION options: Excellent, Good, Fair, Poor)
Electrical Hazards Present? (SELECTION options: Exposed Wiring, Damaged Outlets, Frayed Cords, Overloaded Circuits, None)
Last Inspection Date (DATE)
Notes on Wiring Condition (TEXT)
Smoke Detector Functionality (Checked?) (SELECTION options: Yes, No)

Fire Safety (STEP)
Fire Extinguisher Inspection Date (NUMBER)
Fire Extinguisher Condition (SELECTION options: Good, Needs Maintenance, Damaged/Missing)
Smoke Detector Functionality (per detector) (SELECTION options: Working, Needs Battery, Malfunctioning, Missing)
Last Fire Alarm System Test Date (DATE)
Fire Alarm System Status (SELECTION options: Operational, Needs Repair, Out of Service)
Notes on Fire Safety Observations (TEXT)

Safety & Security (STEP)
Security Camera Locations (LOCATION)
Lighting Levels (Foot Candles) (NUMBER)
Gate Operation (SELECTION options: Fully Functional, Malfunctioning - Report Needed, Requires Repair, Not Operational)
Lock Cylinder Condition (Main Entrance) (SELECTION options: Good, Worn, Damaged, Requires Replacement)
Date of Last Security Patrol Review (DATE)
Comments on Overall Security Presence (TEXT)
Number of Working Smoke Detectors (Common Areas) (NUMBER)

Unit Condition (Sample) (STEP)
Appliance Age (Refrigerator) (NUMBER)
Appliance Age (Oven/Stove) (NUMBER)
Water Leaks Present? (SELECTION options: Yes, No, Unsure)
Smoke Detector Functioning? (SELECTION options: Yes, No, Unsure)
Overall Unit Condition Notes (TEXT)
Evidence of Pests? (SELECTION options: Yes, No, Unsure)
HVAC Thermostat Reading (NUMBER)

Overall Observations & Action Items (STEP)
General Comments/Observations (TEXT)
Severity Rating (1-5, 1=Low, 5=High) (NUMBER)
Recurring Issues? (SELECTION options: Yes, No, Unknown)
Date Action Required (DATE)
Detailed Action Plan (TEXT)
Assigned To (SELECTION options: Maintenance Team, Contractor, Management)
Inspector Signature (SIGNATURE)
Reference/Ticket Number (TEXT)