BUILDING AUTOMATION SYSTEM (BAS) CONFIGURATION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PROJECT INITIATION & DESIGN REVIEW ---

[ ] Define BAS Scope & Objectives

[ ] Building Type (Impacts BAS Requirements) (Office, Retail, Hospitality, Education, Industrial, Other)

[ ] Building Square Footage

[ ] Summarize Owner's Performance Requirements (Energy, Comfort, Sustainability)

[ ] Review Architectural Drawings for Equipment Location & Space Allocation

[ ] Confirm BAS Integration with Existing Systems (if applicable) (None, Fire Alarm System, Security System, Elevator System, Other)

[ ] Note any potential conflicts between BAS requirements and other building systems

--- EQUIPMENT PROCUREMENT & DELIVERY ---

[ ] Quantity of BAS Controllers Received

[ ] Controller Model Numbers and Revision Levels Received (vs. Specification)

[ ] Delivery Manifest/Packing List

[ ] Condition of Equipment Upon Delivery (Visual Inspection) (Excellent, Good, Fair, Damaged - Requires Documentation, Unacceptable - Return to Supplier)

[ ] Date of Equipment Delivery

[ ] Any discrepancies noted during unpacking or visual inspection. (Detailed description)

[ ] Unique Identifier of Delivered Sensor (e.g. serial number)

[ ] Equipment Received: (Check all that apply) (BAS Controllers, Sensors (Temperature, Humidity, CO2, etc.), Actuators (Dampers, Valves), IO Modules, Graphics Server, Communication Cables)

--- COMMISSIONING & START-UP ---

[ ] Initial System Power-Up Date

[ ] Time of Initial System Power-Up

[ ] Ambient Temperature During Commissioning (Degrees F)

[ ] Supply Voltage Verification (Volts)

[ ] Confirm BACnet Device Discovery Successful? (Yes, No, N/A)

[ ] List of Critical System Sequences Verified: (HVAC Heating, HVAC Cooling, Lighting Control, Fire Alarm Integration, Security System Integration, Other (Specify in LONG_TEXT))

[ ] Details of 'Other' Sequence Verified (if selected)

[ ] Commissioning Report - Initial Startup

[ ] Confirm Overall System Performance Meets Design Specifications? (Yes, No, Pending Review)

--- NETWORK CONFIGURATION & SECURITY ---

[ ] Network Topology Verified? (Yes, No, Not Applicable)

[ ] Static IP Address(es) Assigned?

[ ] Security Protocols Implemented? (Firewall Configuration, VPN Implementation, Access Control Lists (ACLs), Encryption (SSL/TLS), Multi-Factor Authentication (MFA), Intrusion Detection/Prevention System (IDS/IPS))

[ ] Network Diagram Documented?

[ ] VLAN Segmentation Implemented? (Yes, No, Not Applicable)

[ ] Firewall Configuration File

[ ] Default Password(s) Changed?

[ ] Date of Last Network Security Audit

--- POINT CONFIGURATION & PROGRAMMING ---

[ ] Point Numbering System Validation

[ ] Input/Output Type Verification (e.g., Analog, Digital) (Analog Input, Digital Input, Analog Output, Digital Output)

[ ] Sensor Calibration Values (e.g., Range, Units)

[ ] Alarm Setpoint Type (e.g., High, Low, Deviation) (High Limit, Low Limit, Time Deviation, Rate of Change)

[ ] Alarm Setpoint Values

[ ] Associated Equipment/Systems (e.g., HVAC, Lighting, Fire) (HVAC, Lighting, Fire Alarm, Security, Elevator)

[ ] Point Description/Notes (e.g., Purpose, Location)

[ ] Units of Measurement (Celsius, Fahrenheit, PSI, Percent)

--- SYSTEM INTEGRATION & TESTING ---

[ ] Verify BAS Integration with Fire Alarm System (Alarm Reporting, Mode Switching (e.g., Occupied/Unoccupied), Emergency Shutdown, Resetting)

[ ] Total Number of Sequences Tested

[ ] Date of Integrated Systems Testing

[ ] Describe any integration challenges encountered and resolutions

[ ] Confirm Integration with Security System (Access Control, CCTV) (Door Interlocks, Time Schedules, Alarm Events, Video Integration)

[ ] Number of Data Points Verified for Accuracy During Integration Testing

[ ] Overall Status of System Integration Testing (Pass, Fail, Partial Pass)

[ ] Upload Integration Test Results Documentation

[ ] Describe the test procedure for HVAC to Lighting integration

--- DOCUMENTATION & TRAINING ---

[ ] BAS System Description Document Review & Acceptance

[ ] As-Built BAS Drawings Review & Acceptance

[ ] BAS Programming Logic Documentation (Including Sequence of Operations)

[ ] Training Topics Covered (Check all that apply) (System Overview, Point Configuration, Alarm Management, Trend Analysis, User Interface Navigation, Reporting)

[ ] Number of Operations Personnel Trained

[ ] Date of Operations Personnel Training

[ ] Summary of Post-Training Competency Assessment (if applicable)

[ ] Training Material Adequacy (Excellent, Good, Fair, Poor)

[ ] Operations Personnel Signature Acknowledging Training

--- FINAL ACCEPTANCE & TURNOVER ---

[ ] Date of Final BAS Acceptance Testing

[ ] Summary of Final Acceptance Testing Results & Deviations

[ ] Total Number of Outstanding Issues Identified During Acceptance

[ ] Outstanding Issues Resolved (Y/N) (Yes, No)

[ ] As-Built BAS Drawings

[ ] Description of Remaining Open Issues (if any)

[ ] BAS System Turnover Status (Complete, Partial, Not Complete)

[ ] Contractor Representative Signature

[ ] Client Representative Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/construction/building-automation-system-bas-configuration-checklist

(Click "Install Template" to launch your digital inspection tool immediately)