## Sheet1
Label | Value | Notes
Created by checklistguro.com
Project Initiation & Design Review (STEP)
Define BAS Scope & Objectives (TEXT)
Building Type (Impacts BAS Requirements) (SELECTION options: Office, Retail, Hospitality, Education, Industrial, Other)
Building Square Footage (NUMBER)
Summarize Owner's Performance Requirements (Energy, Comfort, Sustainability) (TEXT)
Review Architectural Drawings for Equipment Location & Space Allocation (UPLOAD)
Confirm BAS Integration with Existing Systems (if applicable) (SELECTION options: None, Fire Alarm System, Security System, Elevator System, Other)
Note any potential conflicts between BAS requirements and other building systems (TEXT)
Equipment Procurement & Delivery (STEP)
Quantity of BAS Controllers Received (NUMBER)
Controller Model Numbers and Revision Levels Received (vs. Specification) (TEXT)
Delivery Manifest/Packing List (UPLOAD)
Condition of Equipment Upon Delivery (Visual Inspection) (SELECTION options: Excellent, Good, Fair, Damaged - Requires Documentation, Unacceptable - Return to Supplier)
Date of Equipment Delivery (DATE)
Any discrepancies noted during unpacking or visual inspection. (Detailed description) (TEXT)
Unique Identifier of Delivered Sensor (e.g. serial number) (NUMBER)
Equipment Received: (Check all that apply) (SELECTION options: BAS Controllers, Sensors (Temperature, Humidity, CO2, etc.), Actuators (Dampers, Valves), IO Modules, Graphics Server, Communication Cables)
Commissioning & Start-Up (STEP)
Initial System Power-Up Date (DATE)
Time of Initial System Power-Up (DATE)
Ambient Temperature During Commissioning (Degrees F) (NUMBER)
Supply Voltage Verification (Volts) (NUMBER)
Confirm BACnet Device Discovery Successful? (SELECTION options: Yes, No, N/A)
List of Critical System Sequences Verified: (SELECTION options: HVAC Heating, HVAC Cooling, Lighting Control, Fire Alarm Integration, Security System Integration, Other (Specify in LONG_TEXT))
Details of 'Other' Sequence Verified (if selected) (TEXT)
Commissioning Report - Initial Startup (UPLOAD)
Confirm Overall System Performance Meets Design Specifications? (SELECTION options: Yes, No, Pending Review)
Network Configuration & Security (STEP)
Network Topology Verified? (SELECTION options: Yes, No, Not Applicable)
Static IP Address(es) Assigned? (NUMBER)
Security Protocols Implemented? (SELECTION options: Firewall Configuration, VPN Implementation, Access Control Lists (ACLs), Encryption (SSL/TLS), Multi-Factor Authentication (MFA), Intrusion Detection/Prevention System (IDS/IPS))
Network Diagram Documented? (TEXT)
VLAN Segmentation Implemented? (SELECTION options: Yes, No, Not Applicable)
Firewall Configuration File (UPLOAD)
Default Password(s) Changed? (TEXT)
Date of Last Network Security Audit (DATE)
Point Configuration & Programming (STEP)
Point Numbering System Validation (NUMBER)
Input/Output Type Verification (e.g., Analog, Digital) (SELECTION options: Analog Input, Digital Input, Analog Output, Digital Output)
Sensor Calibration Values (e.g., Range, Units) (NUMBER)
Alarm Setpoint Type (e.g., High, Low, Deviation) (SELECTION options: High Limit, Low Limit, Time Deviation, Rate of Change)
Alarm Setpoint Values (NUMBER)
Associated Equipment/Systems (e.g., HVAC, Lighting, Fire) (SELECTION options: HVAC, Lighting, Fire Alarm, Security, Elevator)
Point Description/Notes (e.g., Purpose, Location) (TEXT)
Units of Measurement (SELECTION options: Celsius, Fahrenheit, PSI, Percent)
System Integration & Testing (STEP)
Verify BAS Integration with Fire Alarm System (SELECTION options: Alarm Reporting, Mode Switching (e.g., Occupied/Unoccupied), Emergency Shutdown, Resetting)
Total Number of Sequences Tested (NUMBER)
Date of Integrated Systems Testing (DATE)
Describe any integration challenges encountered and resolutions (TEXT)
Confirm Integration with Security System (Access Control, CCTV) (SELECTION options: Door Interlocks, Time Schedules, Alarm Events, Video Integration)
Number of Data Points Verified for Accuracy During Integration Testing (NUMBER)
Overall Status of System Integration Testing (SELECTION options: Pass, Fail, Partial Pass)
Upload Integration Test Results Documentation (UPLOAD)
Describe the test procedure for HVAC to Lighting integration (TEXT)
Documentation & Training (STEP)
BAS System Description Document Review & Acceptance (TEXT)
As-Built BAS Drawings Review & Acceptance (TEXT)
BAS Programming Logic Documentation (Including Sequence of Operations) (UPLOAD)
Training Topics Covered (Check all that apply) (SELECTION options: System Overview, Point Configuration, Alarm Management, Trend Analysis, User Interface Navigation, Reporting)
Number of Operations Personnel Trained (NUMBER)
Date of Operations Personnel Training (DATE)
Summary of Post-Training Competency Assessment (if applicable) (TEXT)
Training Material Adequacy (SELECTION options: Excellent, Good, Fair, Poor)
Operations Personnel Signature Acknowledging Training (SIGNATURE)
Final Acceptance & Turnover (STEP)
Date of Final BAS Acceptance Testing (DATE)
Summary of Final Acceptance Testing Results & Deviations (TEXT)
Total Number of Outstanding Issues Identified During Acceptance (NUMBER)
Outstanding Issues Resolved (Y/N) (SELECTION options: Yes, No)
As-Built BAS Drawings (UPLOAD)
Description of Remaining Open Issues (if any) (TEXT)
BAS System Turnover Status (SELECTION options: Complete, Partial, Not Complete)
Contractor Representative Signature (SIGNATURE)
Client Representative Signature (SIGNATURE)