## Sheet1
Label | Value | Notes
Created by checklistguro.com
System Overview & Accessibility (STEP)
BAS System Version Number (NUMBER)
System Accessibility - Online/Offline (SELECTION options: Online, Offline, Intermittent)
Brief Description of BAS Functionality (TEXT)
Centralized or Distributed Architecture? (SELECTION options: Centralized, Distributed, Hybrid)
Last System-Wide Audit Date (DATE)
Name of Primary BAS Contact Person (TEXT)
Notes on System Accessibility and Overall Health (TEXT)
Network & Communication (STEP)
Network Uptime (%) (NUMBER)
Network Connection Type (SELECTION options: Ethernet, Wireless, Fiber Optic, Serial)
Ping Response Time (ms) (NUMBER)
Communication Protocols in Use (SELECTION options: BACnet, Modbus, LonWorks, TCP/IP, MQTT)
Description of Recent Network Issues (TEXT)
Firewall Status (SELECTION options: Active, Inactive, Requires Review)
Last Network Security Audit Date (DATE)
HVAC System Performance (STEP)
Supply Air Temperature Setpoint (°F) (NUMBER)
Return Air Temperature (°F) (NUMBER)
Chilled Water Supply Temperature (°F) (NUMBER)
Hot Water Supply Temperature (°F) (NUMBER)
Chiller Status (SELECTION options: Operating, Standby, Faulted)
AHU Fan Status (SELECTION options: Running, Standby, Faulted)
Differential Pressure Across Filters (in H2O) (NUMBER)
Any unusual noises or vibrations observed? (TEXT)
Last Calibration Date - Temperature Sensors (DATE)
Lighting System Control (STEP)
Confirm lighting schedules are being followed according to occupancy patterns. (SELECTION options: Yes, No, N/A)
Average dimming level achieved during scheduled dimming events (%). (NUMBER)
Which lighting control strategies are implemented? (SELECTION options: Daylight Harvesting, Occupancy Sensing, Time Scheduling, Manual Override, Other)
Are lighting scenes functioning as intended? (SELECTION options: Yes, No, N/A)
Describe any observed issues with lighting control sequences or schedules. (TEXT)
Date of last lighting control system audit. (DATE)
Confirm emergency lighting system is integrated with BAS and functioning correctly. (SELECTION options: Yes, No, N/A)
Security System Integration (STEP)
Access Control System Integration Status (SELECTION options: Fully Integrated and Operational, Partially Integrated, Not Integrated, Integration in Progress)
Intrusion Detection System Integration Status (SELECTION options: Fully Integrated and Operational, Partially Integrated, Not Integrated, Integration in Progress)
Number of Active Access Control Points Monitored by BAS (NUMBER)
Describe any observed issues with BAS/Security System communication. (TEXT)
Date of last BAS/Security System Integration Review (DATE)
Which security devices are integrated with the BAS? (SELECTION options: Door/Exit Sensors, Motion Detectors, Video Surveillance Cameras, Panic Buttons)
Are Security System Alarms being translated into BAS Alarms? (SELECTION options: Yes, No, Not Applicable)
Energy Management & Reporting (STEP)
Total Energy Consumption (kWh) for the Period (NUMBER)
Peak Demand (kW) for the Period (NUMBER)
Baseline Energy Consumption (kWh) - Previous Year (if available) (NUMBER)
Reporting Frequency (e.g., Monthly, Quarterly, Annually) (SELECTION options: Daily, Weekly, Monthly, Quarterly, Annually)
Summary of Energy Management Strategies Implemented (e.g., Demand Response, Setback Schedules) (TEXT)
Energy Consumption Report (PDF or CSV) (UPLOAD)
Percentage Deviation from Predicted Energy Usage (NUMBER)
Are Energy Management Goals Being Met? (SELECTION options: Yes, No, Partially)
Alarm Management & Response (STEP)
Number of Active Alarms Currently Present (NUMBER)
Alarm Notification Method(s) Used (e.g., Email, SMS, Phone) (SELECTION options: Email, SMS, Phone Call, Pager, BAS Dashboard Notification)
Typical Response Time for Critical Alarms (Minutes) (DATE)
Describe the procedure for escalating alarms if no initial response. (TEXT)
Date of Last Alarm System Review (DATE)
Which alarm types are automatically acknowledged by the system? (SELECTION options: Minor Temperature Deviation, Equipment Failure, Power Outage, Water Leak Detection, Air Quality Alert)
Are alarm acknowledgements tracked and associated with personnel? (SELECTION options: Yes, No, Partially)
User Interface & Trending (STEP)
BAS Interface Login Success Rate (Last 24 hrs) (NUMBER)
Interface Responsiveness (Subjective) (SELECTION options: Excellent, Good, Fair, Poor)
Describe any issues encountered with the user interface. (TEXT)
Which trending graphs are routinely accessed by facility staff? (SELECTION options: Energy Consumption (Total), Chiller Performance, Room Temperature, Equipment Runtime, Lighting Usage)
Last Trending Data Review Date (DATE)
Trending data readily available? (SELECTION options: Yes, No, Partially)
Comments regarding trending data usability. (TEXT)
Documentation & Configuration Management (STEP)
Summary of Last Configuration Changes (TEXT)
Date of Last System Documentation Review (DATE)
Number of Revision Levels for System Architecture Diagrams (NUMBER)
Upload of Current System Architecture Diagram (UPLOAD)
Method for Tracking Configuration Changes (e.g., Version Control System, Spreadsheet) (SELECTION options: Version Control System (e.g., Git), Spreadsheet, Other - Specify in Long Text, No Formal Tracking)
Details of Change Management Process (if applicable) (TEXT)
Who is Responsible for maintaining BAS Configuration Documentation? (SELECTION options: BAS Technician, Facility Manager, External Contractor, Unclear/Undefined)
Date of Last Audit of Configuration Documentation (DATE)
Maintenance & Calibration (STEP)
Last BAS System Calibration Date (DATE)
Calibration Cycle Frequency (Months) (NUMBER)
Calibrated Devices (Select all that apply) (SELECTION options: Temperature Sensors, Pressure Sensors, Humidity Sensors, Flow Meters, Actuators, VAV Boxes, Boiler/Chiller Controls, Other (Specify in LONG_TEXT))
Specify 'Other' Calibrated Devices (if selected above) (TEXT)
Valve Actuator Stroke Test Frequency (Months) (NUMBER)
Notes on Recent Calibration/Maintenance Activities (TEXT)
Calibration Records Maintained? (SELECTION options: Yes, No, Partial)
Upload Calibration Records (if available) (UPLOAD)
Next Scheduled BAS Preventative Maintenance Date (DATE)