BUILDING ENVELOPE & FACADE INTEGRITY INSPECTION CHECKLIST 2026

Created by ChecklistGuro (https://checklistguro.com)

--- ROOFING & PARAPET INSPECTION ---

[ ] Inspection Date

[ ] Roof Section/Zone ID

[ ] Roof Membrane Condition (Excellent, Good, Fair - Monitoring Required, Poor - Urgent Repair Needed)

[ ] Observed Defects (Cracking/Tearing, Ponding Water, Blistering, Debris Accumulation, Damaged Flashing)

[ ] Estimated Depth of Ponding (inches)

[ ] Photo Evidence of Defect

[ ] Detailed Observations & Repair Recommendations

[ ] Inspector Signature

--- EXTERIOR WALL & CLADDING ASSESSMENT ---

[ ] Cladding Material Type (Brick/Masonry, EIFS (Exterior Insulation and Finish System), Metal Panels, Stucco, Concrete/Precast, Fiber Cement Siding, Other)

[ ] Observed Deficiencies (Cracks or Fissures, Spalling or Chipping, Discoloration/Staining, Loose or Missing Panels, Efflorescence, Impact Damage)

[ ] Detailed Observation Notes

[ ] Defect Photo Documentation

[ ] Estimated Severity Score (1-10)

[ ] Inspector Verification

--- WINDOW, GLAZING & FENESTRATION REVIEW ---

[ ] Window Frame Condition (Excellent, Good, Fair (Minor Wear), Poor (Needs Repair), Critical (Immediate Action Required))

[ ] Observed Defects (Cracked Glass, Broken Seal/Fogging, Failed Gaskets/Weatherstripping, Corroded Frames, Loose Hardware, Water Leaks Detected)

[ ] Detailed Defect Description

[ ] Photo Evidence of Glazing/Frame Condition

[ ] Estimated Repair Cost (USD)

--- SEALANTS, CAULKING & JOINT INSPECTION ---

[ ] Sealant Condition Status (Intact & Functional, Cracked or Degraded, Missing or Detached, Evidence of Water Ingress)

[ ] Observations of Joint Deterioration

[ ] Identified Issues (Cracking, Adhesion Failure, Shrinkage, Surface Erosion, Biological Growth (Mold/Algae))

[ ] Photo Evidence of Sealant Failure

[ ] Estimated Linear Feet Requiring Replacement

[ ] Date of Inspection

--- STRUCTURAL INTEGRITY & LOAD-BEARING ELEMENTS ---

[ ] Structural Element Component Type (Lintel, Support Column, Reinforced Concrete, Steel Beam, Load-bearing Masonry)

[ ] Structural Condition Status (Intact - No visible defects, Minor Cracking/Wear, Moderate Damage - Requires Repair, Critical Failure - Immediate Action Required)

[ ] Detailed Observation of Cracks or Degradation

[ ] Evidence Photo of Structural Defect

[ ] Inspector Verification

--- MOISTURE & WATER INGRESS INDICATORS ---

[ ] Presence of Efflorescence on Masonry (None Detected, Minor (Light White Residue), , Severe (Structural Concern))

[ ] Observed Moisture Indicators (Visible Water Staining, Visible Mold or Mildew Growth, Surface Dampness/Wetness, Peeling or Bubbling Paint, Spalling Concrete)

[ ] Description of Damage Location and Severity

[ ] Photographic Evidence of Ingress

[ ] Specific Wall/Facade Area Affected

--- DRAINAGE & WATER MANAGEMENT SYSTEMS ---

[ ] Gutter & Downspout Condition (Clear and Functional, Debris Accumulation Detected, Damaged or Corroded, Disconnected or Leaking)

[ ] Drainage Blockage Locations

[ ] Observed Water Accumulation (in mm/inches)

[ ] Photo Documentation of Drainage Issues

[ ] Detailed Observations & Maintenance Recommendations

[ ] Inspector Verification

--- METALWORK & HARDWARE INSPECTION ---

[ ] Component Condition Status (Good - No action required, Fair - Requires monitoring, Poor - Immediate repair needed, Critical - Structural risk)

[ ] Identified Issues (Surface Rust/Oxidation, Loose or Missing Fasteners, Corroded Hardware, Deformed or Warped Metal, Degraded Protective Coating)

[ ] Detailed Observations

[ ] Evidence Photos

[ ] Inspector Verification

--- THERMAL BRIDGING & INSULATION AUDIT ---

[ ] Inspection Date

[ ] Building Zone/Area Inspected

[ ] Visible Thermal Anomalies Detected (None Detected, Minor Heat Loss, Significant Thermal Bridge, Insulation Degradation Observed)

[ ] Description of Observed Thermal Gaps or Insulation Voids

[ ] Thermal Imaging/Infrared Thermography Photos

[ ] Estimated Temperature Differential (Delta T)

[ ] Inspector Verification

--- SUMMARY & REMEDIATION PRIORITY ---

[ ] Inspection Completion Date

[ ] Overall Building Condition Rating (Critical - Immediate Action Required, Fair - Maintenance Required, Good - Stable, Excellent - No Action Needed)

[ ] Detailed Remediation Summary

[ ] Identified High-Priority Issues (Structural Cracking, Water Leakage/Moisture, Sealant/Caulking Failure, Corrosion/Oxidation, Material Degradation)

[ ] Photographic Evidence of Critical Defects

[ ] Inspector Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/building-envelope-facade-integrity-inspection-checklist-2026

(Click "Install Template" to launch your digital inspection tool immediately)