## 6a390df85a1e7cf130c0c922
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Exterior Inspection (STEP)
Temperature (Exterior) (NUMBER)
Area of Focus (e.g., North Wall) (LOCATION)
Condition of Facade (SELECTION options: Excellent, Good, Fair, Poor)
Photos of Exterior (UPLOAD)
Crack Width (if applicable) (NUMBER)
Notes on Window/Door Condition (TEXT)
Last Power Washing Date (DATE)

Roof Maintenance (STEP)
Last Roof Inspection Date (DATE)
Number of Missing or Damaged Shingles (NUMBER)
Description of any Observed Roof Damage (TEXT)
Areas of Concern (check all that apply) (SELECTION options: Leaks, Missing Shingles, Ponding Water, Moss/Algae Growth, Damaged Flashing)
Upload Photos of Roof Condition (UPLOAD)
Estimated Cost for Repairs (if needed) (NUMBER)
Roofing Material (SELECTION options: Asphalt Shingles, Metal, Tile, Wood, Other)

HVAC Systems (STEP)
Supply Air Temperature (Incoming) (NUMBER)
Return Air Temperature (NUMBER)
Exhaust Air Temperature (NUMBER)
Static Pressure (Supply) (NUMBER)
Static Pressure (Return) (NUMBER)
Filter Condition (SELECTION options: Excellent, Good, Fair, Poor)
Last Filter Change Date (DATE)
Any Unusual Noises or Concerns? (TEXT)

Electrical Systems (STEP)
Voltage Reading (Phase 1) (NUMBER)
Voltage Reading (Phase 2) (NUMBER)
Voltage Reading (Phase 1) (NUMBER)
Ground Resistance (Ohms) (NUMBER)
Circuit Breaker Condition (SELECTION options: Good, Needs Replacement, Damaged)
Lighting Functionality (SELECTION options: All Lights Working, Some Lights Malfunctioning, Lights Not Working)
Last Inspection Date (DATE)
Notes/Observations (TEXT)

Plumbing Systems (STEP)
Water Pressure (PSI) (NUMBER)
Last Water Heater Flush Date (DATE)
Any Plumbing Leaks Observed? (TEXT)
Water Heater Type (SELECTION options: Gas, Electric, Tankless)
Drainage Flow Rate (GPM) (NUMBER)
Description of Any Unusual Noises from Plumbing (TEXT)
Backflow Preventer Status (SELECTION options: Operational, Needs Inspection, Needs Repair)

Fire Safety (STEP)
Fire Extinguisher Inspection Date (NUMBER)
Sprinkler System Last Serviced (DATE)
Fire Alarm System Status (SELECTION options: Operational, Needs Repair, Out of Service)
Fire Safety Equipment Checked (SELECTION options: Fire Extinguishers, Smoke Detectors, Sprinkler System, Emergency Exit Signs, Fire Doors)
Notes on Fire Safety Concerns (TEXT)
Exit Lighting Functionality (SELECTION options: Fully Functional, Some Lights Out, All Lights Out)
Next Fire Drill Scheduled (DATE)

Security Systems (STEP)
Camera System Uptime (Hours) (NUMBER)
Last Camera System Maintenance Date (DATE)
Alarm System Status (SELECTION options: Active, Inactive, Testing)
Security System Components Checked (SELECTION options: Door/Window Sensors, Motion Detectors, Cameras, Alarm Panel, Access Control System)
Notes/Observations about Security System (TEXT)

Accessibility Compliance (STEP)
Ramp Slope (%) (NUMBER)
Doorway Width (inches) (NUMBER)
Accessible Stall Size (square feet) (NUMBER)
Accessible Entrance Present? (SELECTION options: Yes, No, N/A)
Accessible Restrooms Provided? (SELECTION options: Yes, No, N/A)
Last Accessibility Audit Date (DATE)
Notes on Accessibility Improvements Needed (TEXT)

Interior Spaces (STEP)
Floor Level Condition Score (1-5) (NUMBER)
Description of Wall Damage (if any) (TEXT)
Ceiling Issues? (SELECTION options: None, Stains, Sagging, Cracks)
Overall Cleanliness Rating (SELECTION options: Excellent, Good, Fair, Poor)
Last Carpet/Floor Cleaning Date (DATE)
Notes on Odors or Air Quality (TEXT)

Landscaping & Grounds (STEP)
Irrigation System Pressure (PSI) (NUMBER)
Pest/Disease Observations (SELECTION options: Aphids, Spider Mites, Fungal Growth, None Observed)
Last Lawn Mowing Date (DATE)
Detailed Notes on Landscape Condition (TEXT)
Fertilizer Application Rate (lbs/acre) (NUMBER)
Mulch Condition (SELECTION options: Excellent, Good, Fair, Poor)
Location of Standing Water (LOCATION)