## 6a390fc05a1e7cf130c0cf84
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

General Depot Conditions (STEP)
Ambient Temperature (Celsius) (NUMBER)
Ambient Humidity (%) (NUMBER)
Overall Impression of Depot Cleanliness (TEXT)
Presence of Pests (Rodents, Insects) (SELECTION options: Yes, No, Evidence of Past Infestation)
Photos of General Depot Condition (UPLOAD)
Adequacy of Lighting (SELECTION options: Excellent, Good, Fair, Poor)
Any Unusual Odors Detected (TEXT)

Fire Safety Equipment & Procedures (STEP)
Fire Extinguisher Count (NUMBER)
Last Fire Extinguisher Inspection Date (DATE)
Fire Alarm System Status (SELECTION options: Functional, Malfunctioning, Under Maintenance)
Emergency Exit Lighting Status (SELECTION options: Functional, Malfunctioning, Under Maintenance)
Fire Safety Training Records (UPLOAD)
Number of Fire Drills Conducted in Last Year (NUMBER)
Observations/Comments regarding Fire Safety Procedures (TEXT)

Traffic Management & Pedestrian Safety (STEP)
Pedestrian Crosswalk Location(s) (LOCATION)
Vehicle Speed Limit within Depot (km/h) (NUMBER)
Traffic Signage Present & Visible? (SELECTION options: Yes, No, Partially, Not Applicable)
Condition of Road Markings (SELECTION options: Excellent, Good, Fair, Poor)
Number of Pedestrian Conflicts Observed (NUMBER)
Description of any Near Miss Incidents (TEXT)
Adequacy of Pedestrian Barriers (SELECTION options: Sufficient, Inadequate, Not Applicable)
Time of Observation for Traffic Patterns (DATE)

Electrical Safety (STEP)
Voltage Level of Main Power Supply (kV) (NUMBER)
Condition of Main Circuit Breakers (SELECTION options: Excellent, Good, Fair, Poor, Needs Repair)
Grounding System Integrity? (SELECTION options: Yes, No, N/A)
Date of Last Electrical System Inspection (DATE)
Number of Identified Electrical Hazards (NUMBER)
Detailed Description of Any Identified Hazards (TEXT)
Upload Photos of Electrical Equipment (Optional) (UPLOAD)

Fueling & Maintenance Areas (STEP)
Fuel Tank Level (Gallons/Liters) (NUMBER)
Spill Kit Inventory (Number of Absorbent Pads) (NUMBER)
Fuel Dispenser Calibration Status (SELECTION options: Calibrated within last 6 months, Calibration overdue)
Maintenance Equipment Safety Checks Completed? (SELECTION options: Hydraulic Presses, Air Compressors, Lifting Equipment)
Last Spill Kit Inspection Date (DATE)
Any Unusual Odors or Leaks Noted? (TEXT)
Ventilation System Functioning Correctly? (SELECTION options: Yes, No)
Upload Photo of Fueling Area (UPLOAD)

Waste Management (STEP)
Quantity of General Waste Generated (kg) (NUMBER)
Quantity of Recyclable Materials Collected (kg) (NUMBER)
Quantity of Hazardous Waste Generated (liters/kg) (NUMBER)
Types of Waste Currently Recycled (SELECTION options: Paper/Cardboard, Plastic, Metal, Glass, Organic Waste, Other (Specify))
Details of Hazardous Waste Storage and Handling Procedures (TEXT)
Waste Disposal Method (SELECTION options: Landfill, Incineration, Recycling Facility, Composting Facility)
Last Hazardous Waste Disposal Date (DATE)

Personal Protective Equipment (PPE) (STEP)
Quantity of Available Safety Glasses (NUMBER)
Quantity of Available Work Gloves (NUMBER)
Quantity of Available High-Visibility Vests (NUMBER)
Type of Hearing Protection Provided (Earplugs or Earmuffs) (SELECTION options: Earplugs, Earmuffs, Both)
Which PPE is readily available for depot workers? (SELECTION options: Safety Glasses, Work Gloves, High-Visibility Vests, Hearing Protection, Respirators, Safety Boots)
Last PPE Training Date (DATE)
Notes on PPE Condition or Issues (TEXT)

Emergency Response Plan (STEP)
Emergency Contact - Police Department Phone Number (NUMBER)
Emergency Contact - Fire Department Phone Number (NUMBER)
Emergency Contact - Ambulance Service Phone Number (NUMBER)
Evacuation Routes - Detailed Description (TEXT)
Last Emergency Drill Date (DATE)
Scheduled Emergency Drill Time (DATE)
Emergency Personnel Roles Assigned (SELECTION options: Team Lead, First Aid Responder, Evacuation Coordinator, Communications Officer)
Emergency Contact List (PDF) (UPLOAD)

Security Measures (STEP)
Perimeter Fencing Condition (SELECTION options: Excellent, Good, Fair, Poor)
Number of Operational CCTV Cameras (NUMBER)
Access Control System Type (SELECTION options: Keypad, Biometric, Card Reader, Other)
Last Access Control System Audit Date (DATE)
Security Breaches in the Last Year (SELECTION options: Unauthorized Entry, Theft, Vandalism, Cyberattack, None)
Location of Security Control Room (LOCATION)
Description of any identified security vulnerabilities (TEXT)

Housekeeping & Sanitation (STEP)
Restroom Stall Cleanliness Rating (1-5) (NUMBER)
Soap/Sanitizer Dispenser Status (0=Empty, 1=Full) (NUMBER)
Paper Towel Availability (SELECTION options: Available, Low Stock, Unavailable)
Ventilation System Operational? (SELECTION options: Yes, No, N/A)
Notes on Sanitation Issues (TEXT)
Floor Condition (Dry/Wet) (SELECTION options: Dry, Wet, Slippery)
Last Cleaning Date (DATE)