## Sheet1
Label | Value | Notes
Created by checklistguro.com
Equipment Identification & Information (STEP)
Equipment Name/Description (TEXT)
Manufacturer (TEXT)
Model Number (TEXT)
Serial Number (TEXT)
Asset Tag Number (NUMBER)
Date of Last Calibration (DATE)
Next Calibration Due Date (DATE)
Location (SELECTION options: Production Line 1, Production Line 2, Quality Control, Warehouse, Other)
Any previous issues or notes? (TEXT)
Environmental Conditions (STEP)
Ambient Temperature (°C) (NUMBER)
Ambient Temperature (°F) (NUMBER)
Relative Humidity (%) (NUMBER)
Air Pressure (kPa) (NUMBER)
Date of Environmental Measurement (DATE)
Time of Environmental Measurement (DATE)
Notes on Environmental Conditions (e.g., drafts, unusual fluctuations) (TEXT)
Calibration Standards (STEP)
Standard Serial Number (NUMBER)
Standard Uncertainty (k=2) (NUMBER)
Standard Traceability (e.g., NIST, ISO) (SELECTION options: NIST, ISO, Other (Specify))
Traceability Details (Specify originating standard) (TEXT)
Standard Calibration Due Date (DATE)
Standard Calibration Certificate (UPLOAD)
Standard Condition (As Received) (SELECTION options: Within Tolerance, Out of Tolerance, Unknown)
Preliminary Checks & Warm-up (STEP)
Equipment Serial Number (NUMBER)
Visual Inspection Notes (damage, cleanliness, etc.) (TEXT)
Power Supply Condition (SELECTION options: Nominal, Low, High, Unstable)
Warm-up Time (minutes) (NUMBER)
Warm-up Start Time (DATE)
Initial Readings / Baseline Measurements (before full calibration) (TEXT)
Equipment Stability Check - Pass/Fail (SELECTION options: Pass, Fail)
Calibration Procedure (STEP)
Procedure Step 1: Initial Setting & Zeroing (TEXT)
Span Adjustment Value (if applicable) (NUMBER)
Zero Adjustment Value (if applicable) (NUMBER)
Calibration Method Used (e.g., Relative, Absolute) (SELECTION options: Relative, Absolute, Other (Specify))
Notes on Procedure Execution (e.g., any deviations from standard) (TEXT)
Number of Readings Taken (NUMBER)
Calibration Points Used (SELECTION options: 0% Span, 25% Span, 50% Span, 75% Span, 100% Span, Other (Specify))
Attach Calibration Graph (if applicable) (UPLOAD)
Data Acquisition & Recording (STEP)
Measurement 1 Reading (NUMBER)
Measurement 2 Reading (NUMBER)
Measurement 3 Reading (NUMBER)
Ambient Temperature (°C) (NUMBER)
Ambient Humidity (%) (NUMBER)
Date of Measurement (DATE)
Time of Measurement (DATE)
Notes/Observations During Measurement (TEXT)
Measurement Unit (SELECTION options: mm, cm, m, inch)
Tolerance Evaluation (STEP)
Measured Value 1 (NUMBER)
Tolerance Upper Limit (Value 1) (NUMBER)
Tolerance Lower Limit (Value 1) (NUMBER)
Result of Value 1 (Within Tolerance?) (SELECTION options: Yes, No, Not Applicable)
Explanation/Comments (if Value 1 is out of tolerance) (TEXT)
Measured Value 2 (NUMBER)
Result of Value 2 (Within Tolerance?) (SELECTION options: Yes, No, Not Applicable)
Explanation/Comments (if Value 2 is out of tolerance) (TEXT)
Adjustment & Correction (If Required) (STEP)
Detailed Description of Adjustment(s) Performed (TEXT)
Adjustment Value 1 (e.g., Offset) (NUMBER)
Adjustment Value 2 (e.g., Gain) (NUMBER)
Adjustment Method Used (e.g., Software, Manual) (SELECTION options: Software Adjustment, Manual Adjustment, Other (Specify))
If 'Other' selected above, please specify the adjustment method. (TEXT)
Number of Adjustment Cycles (NUMBER)
Confirmation of Adjustment Stability (SELECTION options: Stable after 1 cycle, Stable after 2 cycles, Stable after 3+ cycles, Unstable - Further investigation required)
Date of Adjustment (DATE)
Time of Adjustment (DATE)
Technician Signature (Adjustment Confirmation) (SIGNATURE)
Final Verification (STEP)
Span Value (Post-Adjustment) (NUMBER)
Zero Value (Post-Adjustment) (NUMBER)
Linearity Error (Max) (NUMBER)
Repeatability Error (Max) (NUMBER)
Pass/Fail Result (SELECTION options: Pass, Fail)
Comments / Observations (If Applicable) (TEXT)
Date of Final Verification (DATE)
Time of Final Verification (DATE)
Technician Signature (SIGNATURE)
Calibration Certificate & Documentation (STEP)
Certificate Number (NUMBER)
Calibration Date (DATE)
Next Calibration Due Date (DATE)
Equipment Name (TEXT)
Equipment Model (TEXT)
Equipment Serial Number (TEXT)
Calibration Results Summary (TEXT)
Calibration Data Files (UPLOAD)
Calibration Technician Signature (SIGNATURE)
Equipment Return & Tagging (STEP)
Return Location (LOCATION)
Equipment Tag Number (Pre-Calibration) (TEXT)
Equipment Tag Number (Post-Calibration) (TEXT)
Return Date (DATE)
Return Time (DATE)
Condition Upon Return (SELECTION options: Clean, Slightly Dirty, Dirty, Damaged)
Notes on Return/Condition (TEXT)
Technician Signature (SIGNATURE)