COLD STORAGE AND REFRIGERATED WAREHOUSE MAINTENANCE CHECKLIST 2026
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--- REFRIGERATION UNIT & COMPRESSOR INSPECTION ---
[ ] Inspection Date
[ ] Compressor Unit ID/Location
[ ] Compressor Oil Level Status (Normal, Low, Critical)
[ ] Compressor Operating Pressure (PSI)
[ ] Visual Inspection Checklist (No visible refrigerant leaks, No unusual vibration or noise, No oil residue around connections, Electrical connections are secure)
[ ] Observations and Anomalies
[ ] Photo of Compressor/Unit State
[ ] Technician Signature

--- EVAPORATOR & CONDENSER COIL MAINTENANCE ---
[ ] Inspection Date
[ ] Coil Condition Status (Clean, Partially Dirty, Heavy Debris/Frost, Requires Immediate Cleaning)
[ ] Measured Air Temperature (°F/°C)
[ ] Maintenance Performed (Debris Removal, Coil Chemical Cleaning, Fan Blade Inspection, Refrigerant Level Check, Motor Lubrication)
[ ] Observations & Anomalies
[ ] Photos of Coil Condition
[ ] Technician Signature

--- TEMPERATURE & HUMIDITY MONITORING SYSTEMS ---
[ ] Inspection Date
[ ] Recorded Ambient Temperature (°C/°F)
[ ] Recorded Humidity Level (%)
[ ] Sensor Calibration Status (Calibrated, Needs Calibration, Out of Service)
[ ] Detected Anomalies (Temperature Fluctuations, Humidity Spikes, Sensor Error Code, None)
[ ] Detailed Observation Notes
[ ] Upload Calibration Certificate/Log Photo
[ ] Technician Verification

--- INSULATION & THERMAL ENVELOPE INTEGRITY ---
[ ] Inspection Date
[ ] Storage Zone/Unit ID
[ ] Inspected Components (Dock Door Seals/Gaskets, Insulated Wall Panels, Ceiling/Roof Insulation, Floor Insulation/Sub-floor, Air Curtains)
[ ] Seal Integrity Status (Intact, Degraded/Damaged, Requires Immediate Repair)
[ ] Observations of Air Leaks or Thermal Bridges
[ ] Photos of Damaged Seals or Insulation
[ ] Inspector Signature

--- LOADING DOCK & COLD SEAL DOORS ---
[ ] Inspection Date
[ ] Dock Door Number/ID
[ ] Dock Seal Condition (Excellent, Good, Fair (Requires Repair), Poor (Immediate Action Needed))
[ ] Inspected Components (Dock Leveler, Dock Shelter/Seal, Hydraulic System, Door Tracks & Rollers, Weather Stripping)
[ ] Detected Air Leak Measurement (cm/inches)
[ ] Observations & Defect Details
[ ] Photo of Damaged Components
[ ] Inspector Signature

--- DEFROST SYSTEM & DRAINAGE MANAGEMENT ---
[ ] Inspection Date
[ ] Defrost Cycle Status (Operational, Malfunctioning, Requires Immediate Repair)
[ ] Checked Components (Defrost Timer, Heating Elements, Drain Line Flow, Condensate Pan)
[ ] Measured Drain Pipe Temperature (Celsius)
[ ] Observations of Frost Accumulation or Blockages
[ ] Photo of Drain Line/Evaporator Condition
[ ] Technician Signature

--- ELECTRICAL & CONTROL PANEL AUDIT ---
[ ] Inspection Date
[ ] Control Panel ID/Location
[ ] Thermostat Calibration Status (Calibrated, Requires Calibration, Failed Calibration)
[ ] Components Inspected (Circuit Breakers, Wiring Integrity, Emergency Shutdown Switch, Control Wiring, Transformer/Relay Status)
[ ] Voltage Reading (Primary Feed)
[ ] Observed Anomalies or Corrosion Notes
[ ] Photos of Panel Interior/Wiring
[ ] Technician Signature

--- AIR CIRCULATION & VENTILATION SYSTEMS ---
[ ] Inspection Date
[ ] Evaporator Fan Motor Status (Operational, Noisy/Vibrating, Non-functional, Requires Repair)
[ ] Measured Airflow Velocity (m/s)
[ ] Observed Issues (Ice buildup on blades, Dust/Debris accumulation, Belt slippage, Obstructed air vents)
[ ] Ventilation Maintenance Notes
[ ] Photos of Fan/Vent Condition
[ ] Technician Signature

--- LIGHTING & EMERGENCY BACKUP SYSTEMS ---
[ ] Inspection Date
[ ] LED Lighting Condition (Operational, Flickering, Failed/Burned Out, Needs Replacement)
[ ] Emergency Exit Sign Illumination (Pass, Fail)
[ ] Backup Battery Voltage Reading
[ ] Observations and Required Repairs
[ ] Inspector Signature

--- SANITATION & HYGIENE COMPLIANCE ---
[ ] Inspection Date
[ ] Sanitation Status (Pass, Fail, Follow-up Required)
[ ] Areas Inspected (Floors and Drains, Walls and Ceilings, Storage Racking, Loading Dock Area, Handwashing Stations)
[ ] Sanitation Deficiency Details
[ ] Photo Evidence of Cleaning/Contamination
[ ] Inspector Signature

--- END OF TEMPLATE ---
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