COLD STORAGE AND REFRIGERATION UNIT INSPECTION CHECKLIST 2026

Created by ChecklistGuro (https://checklistguro.com)

--- UNIT EXTERNAL CONDITION & STRUCTURAL INTEGRITY ---

[ ] Inspection Date

[ ] Unit/Facility Identifier

[ ] External Casing Condition (Excellent, Good, Fair, Poor/Damaged)

[ ] Observed Structural Issues (Dents or Surface Corrosion, Cracked Panel Seams, Damaged Door Hinges, Broken Door Seals/Gaskets, None)

[ ] Detailed Damage Description

[ ] Photo Documentation of Damage

[ ] Inspector Signature

--- TEMPERATURE & HUMIDITY MONITORING ---

[ ] Inspection Date

[ ] Current Internal Temperature (°C/°F)

[ ] Current Humidity Level (%)

[ ] Temperature Stability Status (Stable, Fluctuating, Critical Deviation)

[ ] Temperature Deviation Notes

[ ] Thermometer Calibration Certificate

[ ] Inspector Verification

--- REFRIGERANT & COOLING SYSTEM PERFORMANCE ---

[ ] Compressor Operational Status (Operating Normally, Noisy/Abnormal Vibration, Intermittent Operation, Non-Functional)

[ ] Evaporator Coil Temperature (°C/°F)

[ ] Observed Refrigerant Leak Indicators (Oil Residue on Joints, Frost/Ice Buildup on Lines, Hissing Sound Detected, None Detected)

[ ] Condenser Unit Inspection Notes

[ ] Photos of Cooling Components

[ ] Last Refrigerant Level Check Date

--- DOOR SEALS AND INSULATION INTEGRITY ---

[ ] Gasket Condition (Intact, Cracked/Damaged, Missing Sections, Needs Replacement)

[ ] Door Seal Tightness (Sealed Properly, Gaps Detected)

[ ] Observations of Frost or Ice Buildup

[ ] Photo of Door Seal/Gasket

[ ] Measured Gap Width (mm)

--- ELECTRICAL & CONTROL SYSTEMS ---

[ ] Control Panel Visual Condition (Excellent, Good, Fair, Poor)

[ ] Voltage Reading (V)

[ ] Observed Electrical Anomalies (Exposed Wiring, Corroded Terminals, Flickering Lights, Faulty Sensor, None)

[ ] Detailed Observations & Repair Notes

[ ] Photo of Control Panel & Wiring

[ ] Technician Verification

--- DRAINAGE & DEFROST SYSTEMS ---

[ ] Drainage Line Status (Clear and Flowing, Partial Blockage Detected, Blocked/Obstructed, Ice Accumulation Present)

[ ] Defrost Cycle Observations

[ ] Detected Issues (Condensate Leakage, Ice Buildup on Evaporator, Drain Pan Overflow, Clogged Drain Pipe, None)

[ ] Maintenance Actions Taken

[ ] Last Defrost Cleaning Date

--- LIGHTING & INTERNAL AIRFLOW ---

[ ] Light Fixture Condition (Operational, Flickering/Failing, Non-functional, Broken/Damaged)

[ ] Observed Airflow Obstructions (Overstocking near vents, Damaged air curtains, Blocked evaporator fans, Ice buildup on coils, None)

[ ] Specific Maintenance Notes

[ ] Photo Evidence of Lighting or Airflow Issues

[ ] Observed Air Temperature Variance (°C/°F)

--- SANITATION & HYGIENE COMPLIANCE ---

[ ] Surface Cleanliness Status (Clean, Needs Cleaning, Unacceptable)

[ ] Areas Inspected (Shelving Units, Flooring/Walls, Evaporator Coils, Ceiling/Drainage)

[ ] Sanitation Deficiencies Found

[ ] Photo Evidence of Sanitation Status

[ ] Sanitation Inspector Signature

--- SAFETY & EMERGENCY EQUIPMENT ---

[ ] Emergency Release Handle Functionality (Operational, Defective, Not Applicable)

[ ] Safety Equipment Present (Internal Door Release Mechanism, Emergency Lighting, First Aid Kit, Safety Signage, Emergency Stop Button)

[ ] Defects or Safety Hazards Identified

[ ] Last Safety Equipment Inspection Date

[ ] Safety Inspector Authorization

--- MAINTENANCE LOG & COMPLIANCE SIGN-OFF ---

[ ] Inspection Date

[ ] Inspector Name

[ ] Inspection Result (Pass, Pass with Minor Issues, Fail - Immediate Action Required)

[ ] Corrective Actions Required

[ ] Photo Evidence of Findings

[ ] Inspector Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/inspection-management/cold-storage-and-refrigeration-unit-inspection-checklist-2026

(Click "Install Template" to launch your digital inspection tool immediately)