## 6a410e798d045fc590b65d8f
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Assign Initial Inspection Task (TASK_CREATE)	Automatically assign the initial HVAC inspection task to the relevant technician/inspector.
2. Retrieve Building Asset Data (ENTRY_GET)	Get details for specific HVAC units (e.g., unit ID, location, type) from the Asset Register data model.
3. Get Inspection History (ENTRY_GET)	Retrieve previous inspection records and historical maintenance data for comparison.
4. Create Inspection Checklist (TASK_CREATE)	Generate a specific, dynamic inspection checklist based on the HVAC unit type and inspection frequency.
5. Record Inspection Readings (ENTRY_UPDATE)	Allow the technician to enter live data readings (e.g., temperature, PSI, run hours) into the checklist entries.
6. Calculate Performance Deviation (CALCULATION)	Execute a formula to compare current readings against established baseline standards (e.g., ΔTemperature = Current - Normal).
7. Generate Deficiency Report Task (TASK_CREATE)	Create a follow-up task automatically if any critical failure criteria are met during the inspection.
8. Document Findings/Deficiencies (ENTRY_CREATE)	Create a new record detailing any faults, required repairs, or observations found during the inspection.
9. Update Asset Service Status (ENTRY_UPDATE)	Update the main asset record with the completion date, next service due date, and overall inspection sign-off status.
10. Notify Maintenance Manager of Completion (EMAIL)	Send an email notification to the manager upon successful completion of the inspection workflow.
11. Send Technician Confirmation SMS (SMS)	Send an SMS confirmation to the technician upon successful submission of the inspection report.
12. Generate Comprehensive Inspection Report (REPORT_CREATE)	Compile all collected data, calculated metrics, and findings into a finalized, shareable PDF report.
End (END)	End of the Workflow/Process