COMPRESSED AIR SYSTEM INSPECTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM OVERVIEW & DOCUMENTATION ---

[ ] Date of Inspection

[ ] Time of Inspection

[ ] System Description (Brief)

[ ] System Location(s)

[ ] System Pressure (PSI)

[ ] System Type (Rotary Screw, Reciprocating, Centrifugal, Other)

[ ] P&ID or System Diagram (if available)

[ ] Previous Inspection Notes/Recommendations

[ ] System Operational Status (Operational, Degraded, Shutdown)

--- AIR COMPRESSORS ---

[ ] Compressor Operating Pressure (PSI)

[ ] Compressor Motor Amperage (Amps)

[ ] Belt Tension (if applicable - scale of 1-10)

[ ] Compressor Noise Level (Subjective) (Normal, Slightly Elevated, Excessive)

[ ] Description of any unusual noises or vibrations

[ ] Oil Level (if applicable) (Full, Adequate, Low)

[ ] Notes on oil condition (color, clarity)

[ ] Last Oil Change Date

[ ] Photo of Compressor (for reference)

--- AIR RECEIVERS (TANKS) ---

[ ] Tank Capacity (Gallons/Liters)

[ ] Working Pressure (PSI/Bar)

[ ] Tank Material (Steel, Stainless Steel, Other) (Steel, Stainless Steel, Other)

[ ] Tank Condition (Excellent, Good, Fair, Poor) (Excellent, Good, Fair, Poor)

[ ] Description of any Tank Corrosion or Damage

[ ] Pressure Relief Valve Set Pressure (PSI/Bar)

[ ] Last Tank Internal Inspection Date

[ ] Pressure Relief Valve Test Result (Pass/Fail) (Pass, Fail)

[ ] Photos of Tank Condition

--- AIR TREATMENT (FILTERS, DRYERS, REGULATORS) ---

[ ] Inlet Air Pressure (PSI)

[ ] Outlet Air Pressure (PSI)

[ ] Pressure Drop Across Filter (PSI)

[ ] Dryer Humidity (ppm)

[ ] Filter Condition (Excellent, Good, Fair, Poor, Needs Replacement)

[ ] Dryer Type (Refrigerated, Desiccant, Membrane)

[ ] Notes on Dryer Performance (e.g., unusual noises, vibrations)

[ ] Regulator Output Pressure Setting (PSI)

[ ] Last Filter Replacement Date

--- AIR DISTRIBUTION PIPING ---

[ ] Piping Pressure (PSI)

[ ] Piping Material Condition (Check all that apply) (Good, Minor Corrosion, Significant Corrosion, Damage/Dents, No Visible Issues)

[ ] Number of Leaks Identified

[ ] Leak Location Details (if applicable)

[ ] Pipe Support Condition (Secure, Loose, Damaged, Missing)

[ ] Pipe Diameter (inches)

[ ] Piping Insulation Condition (Intact, Damaged, Missing, None)

[ ] Any Unusual Noise Observed in Piping?

--- PRESSURE REGULATION & CONTROL ---

[ ] System Supply Pressure (PSI)

[ ] Pressure at Farthest Point (PSI)

[ ] Pressure Drop Across Regulator (PSI)

[ ] Regulator Type (Direct Acting, Pilot Operated, Proportional)

[ ] Regulator Functioning (Operating Normally, Hysteresis Present, Unstable Output, Malfunctioning)

[ ] Notes on Regulator Performance

[ ] Last Regulator Maintenance Date

[ ] Time of Pressure Readings Taken

--- SAFETY DEVICES & INTERLOCKS ---

[ ] Pressure Relief Valve Set Point (PSI)

[ ] Pressure Relief Valve Test Status (Passed, Failed, Not Tested)

[ ] Low Air Pressure Alarm Functionality (Functional, Not Functional, Not Applicable)

[ ] High Air Pressure Alarm Functionality (Functional, Not Functional, Not Applicable)

[ ] Pressure Relief Valve Discharge Pressure (PSI - if tested)

[ ] Last Pressure Relief Valve Test Date

[ ] Comments/Observations regarding Safety Devices & Interlocks

--- DRAINAGE SYSTEM ---

[ ] Describe the type of drainage system in place (e.g., automatic, manual, Timed)

[ ] Measure drainage line pressure (PSI)

[ ] Are drain traps functional and free from blockages? (Yes, No, N/A)

[ ] Identify any observed issues with the drainage system (Select all that apply) (Leaks, Clogging, Excessive Condensate, Incorrect Trap Operation, None)

[ ] Describe any corrective actions taken regarding drainage system issues.

[ ] Date of last drain trap cleaning

--- ELECTRICAL COMPONENTS ---

[ ] Compressor Motor Voltage (V)

[ ] Compressor Motor Current (A)

[ ] Motor Temperature (°C)

[ ] Motor Condition (Excellent, Good, Fair, Poor)

[ ] Wiring Condition (Excellent, Good, Fair, Poor)

[ ] Notes on Electrical Components

[ ] Last Electrical Maintenance Date

--- MAINTENANCE RECORDS REVIEW ---

[ ] Last Compressor Oil Change Date

[ ] Oil Change Interval (Days)

[ ] Hours Since Last Filter Replacement

[ ] Last System Pressure Test Date

[ ] Summary of Recent Maintenance Activities (Last 12 Months)

[ ] Are Maintenance Records Complete? (Yes, No, Partially)

[ ] Upload a copy of the Maintenance Schedule

[ ] Total Downtime Hours (Past Year)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/compressed-air-system-inspection-checklist

(Click "Install Template" to launch your digital inspection tool immediately)