## 6a390e4d5a1e7cf130c0ca4a
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Pre-Pour Planning & Preparation (STEP)
Planned Pour Date (DATE)
Estimated Pour Start Time (DATE)
Estimated Concrete Volume (cubic yards) (NUMBER)
Excavation Status (SELECTION options: Complete, In Progress, Not Started)
Formwork Status (SELECTION options: Complete, In Progress, Not Started)
Specific Site Preparation Notes (Compaction, Ground Conditions, etc.) (TEXT)
Utilities Located & Marked? (SELECTION options: Yes, No, Not Applicable)
Site Preparation Photos (Optional) (UPLOAD)

Concrete Ordering & Mix Design (STEP)
Total Concrete Volume (cubic yards) (NUMBER)
Concrete Strength (psi) - Specified (SELECTION options: 2500, 3000, 3500, 4000, Other)
Special Mix Requirements (e.g., admixtures, color) (TEXT)
Slump (inches) - Specified (SELECTION options: 2, 3, 4, 5, Other)
Scheduled Delivery Date (DATE)
Scheduled Delivery Time (start window) (DATE)
Concrete Supplier Name (TEXT)
Number of Concrete Trucks Required (NUMBER)

Delivery & Hauling (STEP)
Scheduled Delivery Time (DATE)
Actual Delivery Time (minutes late/early) (NUMBER)
Concrete Supplier (SELECTION options: Supplier A, Supplier B, Supplier C, Other (Specify))
Supplier Representative Name & Contact Info (TEXT)
Hauler (SELECTION options: Hauler A, Hauler B, Hauler C, Self-Haul)
Concrete Temperature (°F/°C) (NUMBER)
Ambient Temperature (°F/°C) (NUMBER)
Weather Conditions (SELECTION options: Clear, Cloudy, Rain, Snow, Windy)
Observations during Delivery (e.g., segregation, spillage) (TEXT)

Placement & Consolidation (STEP)
Placement Method Verified (Pump, Bucket, Manual) (SELECTION options: Pump, Bucket, Manual)
Concrete Slump (in) (NUMBER)
Vibration Equipment Used (SELECTION options: Internal Vibrator, External Vibrator, Both, None)
Vibration Spacing (ft) (NUMBER)
Over-Consolidation Observed? (SELECTION options: Yes, No)
Notes on Consolidation & Placement (TEXT)

Finishing & Curing (STEP)
Finishing Method Used (SELECTION options: Screeding, Floating, Troweling, Broom Finish, Other (Specify in Long Text))
If 'Other' finishing method selected, please describe: (TEXT)
Ambient Temperature (°C) (NUMBER)
Concrete Temperature (°C) (NUMBER)
Curing Method (SELECTION options: Water Ponding, Wet Burlap, Curing Compound, Membrane Curing, Other (Specify in Long Text))
If 'Other' curing method selected, please describe: (TEXT)
Start of Curing Date (DATE)
Curing Duration (Days) (NUMBER)
Moisture Content of Curing Material (if applicable) (SELECTION options: Saturated, Damp, Dry)

Quality Control & Documentation (STEP)
Concrete Slump Test Result (in) (NUMBER)
Air Content (%) (NUMBER)
Temperature of Concrete (F) (NUMBER)
Mix Design Verification Status (SELECTION options: Verified, Not Verified, N/A)
Comments / Deviations from Plan (TEXT)
Pour Date (DATE)
Time of Pour Start (DATE)
Supporting Photos / Documents (UPLOAD)
Concrete Test Cylinder Status (SELECTION options: Cylinders Cast, Cylinders Sent to Lab, Results Received, N/A)
Inspector Signature (SIGNATURE)