CONCRETE POUR READINESS CHECKLIST: FORMWORK, REINFORCEMENT & QUALITY CONTROL

Created by ChecklistGuro (https://checklistguro.com)

--- FORMWORK INSPECTION ---
[ ] Formwork Alignment Deviation (mm)
[ ] Tie Spacing (mm)
[ ] Formwork Condition (Excellent, Good, Fair, Poor)
[ ] Detailed Formwork Condition Notes
[ ] Bracing Adequacy (Adequate, Insufficient, Not Present)
[ ] Formwork Photo Documentation

--- REINFORCEMENT PLACEMENT ---
[ ] Bar Size (Diameter in inches)
[ ] Spacing Between Bars (in inches)
[ ] Concrete Cover (in inches)
[ ] Bar Grade Verification (e.g., ASTM A615) (Grade 60, Grade 50, Grade 75, Other (Specify in Long Text))
[ ] Notes on Bar Placement or Adjustments
[ ] Tie Wire Type (Aluminum, Galvanized Steel)
[ ] Bar Location Correctness (Correct, Incorrect - Needs Adjustment)

--- SUBGRADE PREPARATION ---
[ ] Subgrade Compaction Factor (%)
[ ] Moisture Content (%)
[ ] Description of Subgrade Condition
[ ] Soil Type (Clay, Sand, Gravel, Silt, Loam)
[ ] Subgrade Photo Documentation
[ ] Level of Debris (None, Minor, Moderate, Significant)

--- WEATHER CONDITIONS ---
[ ] Ambient Temperature (°C)
[ ] Concrete Temperature (°C)
[ ] Wind Conditions (Calm, Light Breeze, Moderate Wind, High Wind)
[ ] Precipitation (None, Light Rain, Moderate Rain, Heavy Rain, Snow)
[ ] Date of Weather Observation
[ ] Time of Weather Observation

--- MATERIAL VERIFICATION ---
[ ] Concrete Slump (inches)
[ ] Ambient Temperature (°F)
[ ] Air Temperature (°F)
[ ] Concrete Mix Design Confirmed? (Yes, No)
[ ] Water Quality Verified? (Yes, No)
[ ] Concrete Batch Ticket
[ ] Notes on Materials

--- EQUIPMENT READINESS ---
[ ] Pump Flow Rate (GPM)
[ ] Vibrator Frequency (Hz)
[ ] Finishing Tools Condition (Excellent, Good, Fair, Poor)
[ ] Last Maintenance Date (Pump)
[ ] Estimated Pour Start Time
[ ] Fuel Level (Generator/Pump) (Full, 75%, 50%, 25%, Empty)
[ ] Equipment Photos (Pre-pour)

--- SAFETY PROTOCOL ---
[ ] PPE Availability (Check all that apply) (Hard Hats, Safety Glasses, Gloves, High-Visibility Vests, Steel-Toed Boots)
[ ] Number of Safety Barriers Present
[ ] Location of First Aid Kit
[ ] Date of Last Safety Briefing
[ ] Safety Signage Adequacy (Adequate, Needs Improvement, Insufficient)
[ ] Any Observed Safety Hazards?
[ ] Safety Observer Signature

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/construction/concrete-pour-readiness-checklist-formwork-reinforcement-quality-control
(Click "Install Template" to launch your digital inspection tool immediately)