CONCRETE POUR SEQUENCING CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-POUR PLANNING & PREPARATION ---
[ ] Scheduled Pour Date
[ ] Scheduled Pour Start Time
[ ] Estimated Concrete Volume (cubic yards)
[ ] Weather Conditions Checked? (Yes, No)
[ ] Weather Forecast Notes (temperature, precipitation)
[ ] Permits and Approvals Received? (Yes, No)
[ ] Approved Pouring Plan/Sequence
[ ] Any Known Site Constraints or Concerns?

--- FORMWORK INSPECTION & SETUP ---
[ ] Formwork Depth Verification (inches)
[ ] Formwork Bracing Condition (Adequate, Insufficient, Needs Adjustment)
[ ] Formwork Alignment Condition (Aligned, Slightly Misaligned, Significantly Misaligned)
[ ] Water Tightness of Formwork (Watertight, Minor Leaks, Significant Leaks)
[ ] Notes on Formwork Condition
[ ] Formwork Photo Documentation
[ ] Distance between Formwork and Obstructions (inches)

--- REINFORCEMENT PLACEMENT & VERIFICATION ---
[ ] Rebar Size Verification (Diameter)
[ ] Rebar Spacing Verification (mm/inches)
[ ] Rebar Grade Confirmation (e.g., 60, 75) (Grade 60, Grade 65, Grade 75, Other (Specify))
[ ] Lap Splice Verification (Lap Length Matches Plans, Tie Wire Present and Secure, Clearance around Splice Maintained)
[ ] Rebar Placement Photos (as evidence)
[ ] Notes on Rebar Installation (e.g., deviations from plans, adjustments made)
[ ] Mesh Size Verification (if applicable) (Mesh size matches plan, Mesh size does not match plan, documented in notes)

--- UTILITIES & EMBEDDED ITEMS ---
[ ] Utility Location Verification Complete? (Yes, No)
[ ] Details of Utility Location Verification (if 'No' selected)
[ ] Number of Embedded Items (e.g., anchors, sleeves)
[ ] Types of Embedded Items Present (Anchor Bolts, Electrical Conduit, Plumbing Pipes, Sleeves, Other (Specify in Long Text))
[ ] Specify 'Other' Embedded Items (if 'Other' selected)
[ ] Photo of Embedded Items Placement
[ ] Utilities Protection Measures in Place? (Yes, No)
[ ] Details of Utilities Protection Measures (if 'No' selected)

--- CONCRETE DELIVERY & MIXING ---
[ ] Concrete Mix Design Strength (psi)
[ ] Concrete Class (e.g., 3000psi, 4000psi) (3000 psi, 4000 psi, 5000 psi, Other (Specify in Long Text))
[ ] Specific Mix Design Details (Admixtures, etc.)
[ ] Scheduled Concrete Delivery Date
[ ] Scheduled Concrete Delivery Time
[ ] Estimated Concrete Volume (cubic yards)
[ ] Concrete Supplier (Supplier A, Supplier B, Supplier C, Other (Specify in Long Text))
[ ] Notes on Delivery Schedule or Requirements

--- PLACEMENT & CONSOLIDATION ---
[ ] Concrete Pour Volume (cubic yards)
[ ] Pour Start Time
[ ] Pour Completion Time
[ ] Concrete Slump (inches)
[ ] Consolidation Method (Manual, Vibrator (Internal), Vibrator (External), Other (Specify))
[ ] Consolidation Observations (e.g., vibrator coverage, air voids)
[ ] Concrete Placement Method (Pump Truck, Chute, Bucket, Manual (Specify))
[ ] Notes on Placement (e.g., obstructions, unusual conditions)
[ ] Number of Concrete Bins Poured

--- FINISHING & CURING ---
[ ] Finishing Method Employed? (Screeding, Floating, Troweling, Broom Finish, Other (Specify))
[ ] Description of Finishing Process (details about tools, techniques, etc.)
[ ] Ambient Temperature (Â°C)
[ ] Concrete Surface Temperature (Â°C)
[ ] Curing Method Selected? (Water Ponding, Wet Coverings, Curing Compound, Steam Curing, Other (Specify))
[ ] Details of Curing Implementation (frequency of wetting, type of compound used, etc.)
[ ] Start Date of Curing Process
[ ] Thickness of Curing Compound Applied (if applicable)

--- POST-POUR INSPECTION & DOCUMENTATION ---
[ ] Pour Completion Date
[ ] Pour Completion Time
[ ] Weather Conditions During Pour
[ ] Observations & Issues Encountered
[ ] Corrective Actions Taken
[ ] Concrete Temperature (at Placement)
[ ] Air Temperature During Pour
[ ] Concrete Finish Appearance (Excellent, Acceptable, Needs Adjustment, Unacceptable)
[ ] Inspector Signature

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/construction/concrete-pour-sequencing-checklist
(Click "Install Template" to launch your digital inspection tool immediately)