## 6a410ec58d045fc590b65e91
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Fetch Sensor Telemetry Data (ENTRY_GET)	Retrieve recent vibration, temperature, and pressure readings from the Asset IoT data model.
2. Calculate Health Score (CALCULATION)	Execute a formula weighing temperature, vibration, and hours of operation to determine a degradation percentage.
3. Fetch Equipment Thresholds (ENTRY_GET)	Get the predefined maximum allowable limit values for the specific asset being analyzed.
4. Identify Threshold Breach (CALCULATION)	Compare the calculated Health Score against the Equipment Thresholds to determine if an alert is triggered.
5. Calculate Average Running Hours (ENTRY_AGGREGATE)	Aggregate all historical maintenance logs to find the average time between failures for this machine type.
6. Create Anomaly Incident (ENTRY_CREATE)	Create a new entry in the 'Incidents' data model when a threshold breach is detected.
7. Assign Inspection Task (TASK_CREATE)	Create a task for the Maintenance Technician to perform a physical inspection of the asset.
8. Create Work Order (TASK_CREATE)	Generate a formal Work Order task in the Maintenance module if the inspection fails.
9. Notify Plant Manager (EMAIL)	Send an email alert to the Plant Manager regarding the critical equipment status change.
10. Urgent Technician Alert (SMS)	Send an SMS to the on-call technician if the anomaly score exceeds the 'Critical' threshold.
11. Update Asset Status (ENTRY_UPDATE)	Update the 'Status' field in the Equipment data model from 'Operational' to 'Under Maintenance'.
12. Retrieve Spare Parts Inventory (ENTRY_GET)	Check the 'Inventory' data model to see if required replacement parts are available in stock.
13. Estimate Repair Cost (CALCULATION)	Calculate the estimated cost by summing part prices and estimated labor hours.
14. Create Parts Requisition (ENTRY_CREATE)	If parts are missing, create an entry in the 'Purchase Requests' data model.
15. Generate Monthly Reliability Report (REPORT_CREATE)	Create a summary report aggregating all maintenance incidents and downtime duration for the month.
16. Clear Temporary Alert Logs (ENTRY_DELETE)	Delete transient/temporary alert entries from the system once the incident has been resolved and closed.
End (END)	End of the Workflow/Process