COOLING SYSTEM PERFORMANCE

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM OVERVIEW & DOCUMENTATION ---

[ ] System Name/Identifier

[ ] System Capacity (tons/kW)

[ ] Date of Last Major Overhaul

[ ] Brief System Description (age, make, model, configuration)

[ ] System Schematic/P&ID

[ ] Cooling System Type (e.g., Chilled Water, Direct Expansion) (Chilled Water, Direct Expansion (DX), Absorption, Other)

[ ] Relevant Operating Procedures/Maintenance Schedules available?

[ ] System Status (Operational, Standby, Out of Service) (Operational, Standby, Out of Service)

--- CHILLER PERFORMANCE ---

[ ] Chilled Water Supply Temperature (°F)

[ ] Chilled Water Return Temperature (°F)

[ ] Condenser Water Supply Temperature (°F)

[ ] Condenser Water Return Temperature (°F)

[ ] Chiller Power Consumption (kW)

[ ] Entering Refrigerant Pressure (PSI)

[ ] Leaving Refrigerant Pressure (PSI)

[ ] Chiller Operational Mode (Normal, Standby, Emergency)

[ ] Notes/Observations regarding chiller operation

--- COOLING TOWER PERFORMANCE ---

[ ] Cooling Tower Water Inlet Temperature (°C)

[ ] Cooling Tower Water Outlet Temperature (°C)

[ ] Cooling Tower Water Flow Rate (GPM/LPM)

[ ] Cooling Tower Fan Speed (RPM)

[ ] Water Treatment Type (Chemical Treatment, UV Treatment, Other)

[ ] Observations Regarding Water Quality (Clarity, Color, Odor)

[ ] Condition of Cooling Tower Fill (Excellent, Good, Fair, Poor)

[ ] Photo of Cooling Tower Basin and Fill

[ ] Last Water Treatment Log Review Date

--- PUMP PERFORMANCE ---

[ ] Pump Discharge Pressure (PSI)

[ ] Pump Suction Pressure (PSI)

[ ] Pump Flow Rate (GPM)

[ ] Pump Motor Current (Amps)

[ ] Pump Noise Level (Qualitative) (Normal, Slightly Elevated, Elevated, Abnormal)

[ ] Pump Vibration (Qualitative) (None, Slight, Moderate, Severe)

[ ] Observations/Notes on Pump Performance

[ ] Last Pump Maintenance Date

--- REFRIGERANT MANAGEMENT ---

[ ] Refrigerant Type (GWP Value)

[ ] Current Refrigerant Charge (lbs/kg)

[ ] Refrigerant Leak Rate (lbs/kg/year)

[ ] Leak Detection Method Used (Electronic Leak Detector, Soapy Bubble Test, Ultrasonic Leak Detector, None)

[ ] Last Refrigerant Level Check Date

[ ] Description of Any Refrigerant Leak Events (Date, Location, Repair)

[ ] Refrigerant Handling Procedure Followed? (Yes, No)

[ ] Upload Refrigerant Handling Log (if applicable)

--- DISTRIBUTION SYSTEM (AIR & WATER) ---

[ ] Air Handler Supply Air Temperature (degF)

[ ] Air Handler Return Air Temperature (degF)

[ ] Water Chiller Supply Temperature (degF)

[ ] Water Chiller Return Temperature (degF)

[ ] AHU Fan Speed (%)

[ ] Evidence of Water Leaks Observed? (Yes, No, Unsure)

[ ] Notes on Air Duct Insulation Condition

[ ] AHU Drain Pans Clear and Functioning? (Yes, No, N/A)

[ ] Upload Photo of AHU Condensate Drain Line

--- CONTROL SYSTEM & INSTRUMENTATION ---

[ ] Chiller Entering Water Temperature (EWT)

[ ] Chiller Leaving Water Temperature (LWT)

[ ] Cooling Tower Water Temperature (CWT)

[ ] Differential Pressure Across Air Filters (in)

[ ] Control System Software Version (Version 1.0, Version 1.1, Version 1.2, Version 1.3, Other - Specify in Long Text)

[ ] Notes on control system behavior/issues (if any)

[ ] Date of last control system calibration

[ ] Which alarms are currently active? (High EWT, Low LWT, Pump Failure, Refrigerant Leak, None)

--- SAFETY & ENVIRONMENTAL COMPLIANCE ---

[ ] Refrigerant Leak Detection System Test Results (ppm)

[ ] Last Refrigerant Leak Repair & Documentation Date

[ ] Refrigerant Type in Use? (R-22, R-134a, R-410A, R-1234yf, Other (Specify))

[ ] Description of any recent environmental concerns or incidents related to the cooling system

[ ] SDS (Safety Data Sheet) for refrigerants readily available? (Yes, No)

[ ] Cooling Tower Blowdown Temperature (degrees F)

[ ] Proper signage displayed regarding refrigerant hazards? (Yes, No)

[ ] Details of any training provided to personnel handling refrigerants or working near the cooling system

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/cooling-system-performance

(Click "Install Template" to launch your digital inspection tool immediately)