DATA CENTER COOLING SYSTEM CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM OVERVIEW & DOCUMENTATION ---

[ ] Describe the overall cooling system architecture and design.

[ ] Upload the current data center cooling system schematic/diagram.

[ ] Date of last cooling system design review.

[ ] Briefly summarize the latest significant changes or upgrades to the cooling system.

[ ] Cooling System Type (e.g., Chilled Water, Direct Expansion, In-Row) (Chilled Water, Direct Expansion (DX), In-Row, Other - Specify in Long Text)

[ ] Cooling System Capacity (kW or Tons)

[ ] Document Location (Physical and/or Network)

--- ENVIRONMENTAL MONITORING ---

[ ] Ambient Temperature (Data Center)

[ ] CRAC/CRAH Supply Air Temperature

[ ] CRAC/CRAH Return Air Temperature

[ ] Humidity (Data Center)

[ ] Differential Pressure (Air Filters)

[ ] Airflow Direction Verification (Visual Inspection) (Correct, Incorrect - Needs Adjustment, Not Verified)

[ ] Notes/Observations on Environmental Readings

[ ] Date of Environmental Monitoring

--- CHILLERS (IF APPLICABLE) ---

[ ] Chiller 1 Water Inlet Temperature (°C)

[ ] Chiller 1 Water Outlet Temperature (°C)

[ ] Chiller 1 Chilled Water Flow Rate (GPM)

[ ] Chiller 1 Energy Consumption (kWh)

[ ] Chiller 1 Compressor Status (Normal, Warning, Error)

[ ] Last Oil Change Date

[ ] Any unusual noises or vibrations observed?

[ ] Upload Vibration Analysis Report (if applicable)

[ ] Cooling Mode (Cooling, Heating, Standby)

--- COOLING TOWERS (IF APPLICABLE) ---

[ ] Cooling Tower Water Inlet Temperature (°C)

[ ] Cooling Tower Water Outlet Temperature (°C)

[ ] Cooling Tower Fan Speed (RPM)

[ ] Cooling Tower Water Flow Rate (GPM)

[ ] Water Treatment Type (Chemical Treatment, Filtration, Reverse Osmosis, Other)

[ ] Last Water Treatment Analysis Date

[ ] Observations regarding water quality (clarity, color, etc.)

[ ] Fan Motor Condition (Excellent, Good, Fair, Poor)

[ ] Attach recent cooling tower performance report (if available)

--- COMPUTER ROOM AIR CONDITIONERS (CRAC/CRAH) ---

[ ] Supply Air Temperature (°C/°F)

[ ] Return Air Temperature (°C/°F)

[ ] Delta T (°C/°F)

[ ] Chilled Water Pressure (PSI/Bar)

[ ] Chilled Water Flow Rate (GPM/LPM)

[ ] Air Filter Condition (Excellent, Good, Fair, Poor)

[ ] Fan Motor Operation (Normal, Audible Noise, Vibration, Malfunctioning)

[ ] Any unusual noises or observations?

[ ] Last Filter Change Date

--- PUMP SYSTEMS ---

[ ] Pump 1 Flow Rate (GPM)

[ ] Pump 2 Flow Rate (GPM)

[ ] Pump 1 Discharge Pressure (PSI)

[ ] Pump 1 Motor Current (Amps)

[ ] Pump 1 Vibration Status (Normal, Slightly Elevated, Elevated, Abnormal)

[ ] Pump 1 Bearing Noise (None, Minor, Moderate, Significant)

[ ] Last Coupling Alignment Date

[ ] Notes/Observations regarding pump performance

--- AIR DISTRIBUTION ---

[ ] CRAC/CRAH Unit Airflow (CFM) - Verify against design specifications

[ ] Underfloor Air Pressure (inches of water gauge) - Measure at critical locations

[ ] Containment Integrity - Visual Inspection (Hot Aisle/Cold Aisle) (Excellent, Good, Fair, Poor)

[ ] Identify any Airflow Obstructions (Cables, Equipment Placement, Debris/Dust, None)

[ ] Detailed Observations/Notes on Air Distribution

[ ] Floor Tile Condition (for raised floors) (Intact & Properly Installed, Damaged/Missing Tiles, Improperly Installed)

[ ] Specific Location of Airflow issues

--- POWER SUPPLY TO COOLING SYSTEMS ---

[ ] UPS Voltage (V)

[ ] UPS Load (kW)

[ ] Generator Voltage (V)

[ ] Generator Load (kW)

[ ] UPS Bypass Status (Normal Operation, Bypass Active, Bypass Failed)

[ ] Last UPS Load Test Date

[ ] Last Generator Test Date

[ ] Notes on Power Supply Conditions

--- ALARM SYSTEMS AND TRENDING ---

[ ] Current Temperature Threshold Alarm Setting (CRAC/CRAH)

[ ] Current Humidity Threshold Alarm Setting

[ ] Alarm Acknowledgement Procedure Followed? (Yes, No)

[ ] Date of Last Alarm System Test/Calibration

[ ] Description of any recent alarm events and corrective actions taken

[ ] Which alarm notifications are configured? (Email, SMS, Pager, SNMP Trap)

[ ] Alarm system logs reviewed? (Yes, No)

--- MAINTENANCE RECORDS & SCHEDULES ---

[ ] Last Preventative Maintenance (PM) Date

[ ] PM Task Completion Percentage (if ongoing)

[ ] Summary of Last PM Performed (including findings & actions)

[ ] Upload PM Report/Documentation

[ ] Next Scheduled PM Task(s) (Filter Replacement, Belt Inspection/Replacement, Water Treatment Analysis, Condenser Tube Cleaning, Leak Check, Bearing Lubrication, None)

[ ] Date of Next Scheduled Maintenance

[ ] Notes/Comments on Maintenance Schedule Adherence

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/data-center-cooling-system-checklist

(Click "Install Template" to launch your digital inspection tool immediately)