DATA CENTER EQUIPMENT MAINTENANCE CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- POWER INFRASTRUCTURE ---

[ ] UPS Input Voltage (VAC)

[ ] UPS Output Voltage (VAC)

[ ] Generator Run Time (Hours)

[ ] Last Generator Test Date

[ ] PDU Capacity Utilization (%)

[ ] UPS Status (Online, Battery, Test, Fault)

[ ] Notes/Observations

--- COOLING SYSTEMS ---

[ ] CRAC/CRAH Unit Supply Air Temperature (Deg F)

[ ] CRAC/CRAH Unit Return Air Temperature (Deg F)

[ ] Chiller Water Inlet Temperature (Deg F)

[ ] Chiller Water Outlet Temperature (Deg F)

[ ] Cooling Tower Fan Speed (RPM)

[ ] Condensate Pan Condition (Clean, Slightly Dirty, Dirty, Clogged)

[ ] Notes/Observations (Cooling Systems)

[ ] Last Filter Change Date

--- SERVER HARDWARE ---

[ ] Server Rack Unit (RU) Temperature (°C)

[ ] CPU Temperature (°C)

[ ] Memory Usage (%)

[ ] Disk Space Utilization (%)

[ ] RAID Status (Healthy, Degraded, Failed)

[ ] Last Firmware Update Date

[ ] Notes/Observations

[ ] Attach Screenshot (if applicable)

--- NETWORK EQUIPMENT ---

[ ] Router CPU Utilization (%)

[ ] Switch Interface Error Count

[ ] Firmware Status (Current/Outdated) (Current, Outdated)

[ ] Last Firmware Update Date

[ ] Notes on Performance or Issues

[ ] Connectivity Issues? (Yes, No)

[ ] Port Status (Up/Down)

--- STORAGE SYSTEMS ---

[ ] Disk Utilization (%)

[ ] RAID Status Code

[ ] Controller Firmware Version (Version 1.0, Version 1.1, Version 1.2, Version 1.3, Other)

[ ] Any Errors or Warnings?

[ ] Last Data Scrub Date

[ ] IOPS (Input/Output Operations Per Second)

--- ENVIRONMENTAL MONITORING ---

[ ] Ambient Temperature (Celsius)

[ ] Ambient Temperature (Fahrenheit)

[ ] Relative Humidity (%)

[ ] Differential Pressure (Pa)

[ ] Sensor Status (Operational, Warning, Critical, Offline)

[ ] Last Calibration Date

[ ] Notes/Observations

--- FIRE SUPPRESSION ---

[ ] Last Inspection Date

[ ] Agent Level (e.g., CFM)

[ ] Agent Type (FM-200, Inergen, etc.) (FM-200, Inergen, Novec 1230, Argonite, Other)

[ ] Inspection Notes & Observations

[ ] Nozzle Condition Score (1-5)

[ ] System Status (Operational, Needs Maintenance, Out of Service)

[ ] Next Scheduled Service Date

--- PHYSICAL SECURITY ---

[ ] Camera 1 Location

[ ] Access Point Lock Cylinder Count

[ ] Perimeter Fence Condition (Excellent, Good, Fair, Poor)

[ ] Last Perimeter Security Audit Date

[ ] Security Breaches Observed (Unauthorized Access, Tampered Equipment, System Log Anomalies, None)

[ ] Security Incident Details (if any)

--- CABLING & CONNECTIVITY ---

[ ] Cable Tray Condition (1-5, 1=Excellent, 5=Poor)

[ ] Cable Labeling Accuracy & Completeness

[ ] Notes on Cable Routing & Bundling

[ ] Cable Condition (General) (Good, Fair, Poor)

[ ] Last Cable Inspection Date

[ ] Cable Issues Identified (Damage, Loose Connections, Incorrect Labeling, Overheating, None)

[ ] Specific Cable Run Issues (if applicable)

--- DOCUMENTATION & COMPLIANCE ---

[ ] Last Compliance Audit Date

[ ] Audit Findings and Recommendations

[ ] Compliance Standard (ISO 27001, PCI DSS, SOC 2, Other)

[ ] If Other, Specify Standard:

[ ] Next Scheduled Audit Frequency (Months)

[ ] Relevant Compliance Documentation (e.g., certificates)

[ ] Technician Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/maintenance-management/data-center-equipment-maintenance-checklist-template

(Click "Install Template" to launch your digital inspection tool immediately)