## 6a3910005a1e7cf130c0d064
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Power Infrastructure (STEP)
UPS Input Voltage (VAC) (NUMBER)
UPS Output Voltage (VAC) (NUMBER)
Generator Run Time (Hours) (NUMBER)
Last Generator Test Date (DATE)
PDU Capacity Utilization (%) (NUMBER)
UPS Status (SELECTION options: Online, Battery, Test, Fault)
Notes/Observations (TEXT)

Cooling Systems (STEP)
CRAC/CRAH Unit Supply Air Temperature (Deg F) (NUMBER)
CRAC/CRAH Unit Return Air Temperature (Deg F) (NUMBER)
Chiller Water Inlet Temperature (Deg F) (NUMBER)
Chiller Water Outlet Temperature (Deg F) (NUMBER)
Cooling Tower Fan Speed (RPM) (NUMBER)
Condensate Pan Condition (SELECTION options: Clean, Slightly Dirty, Dirty, Clogged)
Notes/Observations (Cooling Systems) (TEXT)
Last Filter Change Date (DATE)

Server Hardware (STEP)
Server Rack Unit (RU) Temperature (°C) (NUMBER)
CPU Temperature (°C) (NUMBER)
Memory Usage (%) (NUMBER)
Disk Space Utilization (%) (NUMBER)
RAID Status (SELECTION options: Healthy, Degraded, Failed)
Last Firmware Update Date (DATE)
Notes/Observations (TEXT)
Attach Screenshot (if applicable) (UPLOAD)

Network Equipment (STEP)
Router CPU Utilization (%) (NUMBER)
Switch Interface Error Count (NUMBER)
Firmware Status (Current/Outdated) (SELECTION options: Current, Outdated)
Last Firmware Update Date (DATE)
Notes on Performance or Issues (TEXT)
Connectivity Issues? (SELECTION options: Yes, No)
Port Status (Up/Down) (NUMBER)

Storage Systems (STEP)
Disk Utilization (%) (NUMBER)
RAID Status Code (NUMBER)
Controller Firmware Version (SELECTION options: Version 1.0, Version 1.1, Version 1.2, Version 1.3, Other)
Any Errors or Warnings? (TEXT)
Last Data Scrub Date (DATE)
IOPS (Input/Output Operations Per Second) (NUMBER)

Environmental Monitoring (STEP)
Ambient Temperature (Celsius) (NUMBER)
Ambient Temperature (Fahrenheit) (NUMBER)
Relative Humidity (%) (NUMBER)
Differential Pressure (Pa) (NUMBER)
Sensor Status (SELECTION options: Operational, Warning, Critical, Offline)
Last Calibration Date (DATE)
Notes/Observations (TEXT)

Fire Suppression (STEP)
Last Inspection Date (DATE)
Agent Level (e.g., CFM) (NUMBER)
Agent Type (FM-200, Inergen, etc.) (SELECTION options: FM-200, Inergen, Novec 1230, Argonite, Other)
Inspection Notes & Observations (TEXT)
Nozzle Condition Score (1-5) (NUMBER)
System Status (SELECTION options: Operational, Needs Maintenance, Out of Service)
Next Scheduled Service Date (DATE)

Physical Security (STEP)
Camera 1 Location (LOCATION)
Access Point Lock Cylinder Count (NUMBER)
Perimeter Fence Condition (SELECTION options: Excellent, Good, Fair, Poor)
Last Perimeter Security Audit Date (DATE)
Security Breaches Observed (SELECTION options: Unauthorized Access, Tampered Equipment, System Log Anomalies, None)
Security Incident Details (if any) (TEXT)

Cabling & Connectivity (STEP)
Cable Tray Condition (1-5, 1=Excellent, 5=Poor) (NUMBER)
Cable Labeling Accuracy & Completeness (TEXT)
Notes on Cable Routing & Bundling (TEXT)
Cable Condition (General) (SELECTION options: Good, Fair, Poor)
Last Cable Inspection Date (DATE)
Cable Issues Identified (SELECTION options: Damage, Loose Connections, Incorrect Labeling, Overheating, None)
Specific Cable Run Issues (if applicable) (TEXT)

Documentation & Compliance (STEP)
Last Compliance Audit Date (DATE)
Audit Findings and Recommendations (TEXT)
Compliance Standard (SELECTION options: ISO 27001, PCI DSS, SOC 2, Other)
If Other, Specify Standard: (TEXT)
Next Scheduled Audit Frequency (Months) (NUMBER)
Relevant Compliance Documentation (e.g., certificates) (UPLOAD)
Technician Signature (SIGNATURE)