DENTAL STERILIZATION CHECKLIST: EQUIPMENT & PROCEDURE VALIDATION

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-CLEANING & PREPARATION ---

[ ] Date of Pre-Cleaning

[ ] Time of Initial Rinse

[ ] Description of Visible Debris (e.g., blood, saliva)

[ ] Rinsing Solution Used (Enzymatic, Water, Other (Specify))

[ ] Rinsing Time (minutes)

[ ] Contaminants Removed (Blood, Saliva, Tissue, Calculus, Other (Specify))

[ ] Notes on Instrument Condition

--- LOADING THE AUTOCLAVE/STERILIZER ---

[ ] Tray Load Capacity (Max)

[ ] Load Type (Instruments, Handpieces, Small Parts)

[ ] Tray Orientation (Vertical, Horizontal)

[ ] Air Removal Method (Automatic, Manual Vacuum)

[ ] Cycle Number/ID (if applicable)

[ ] Special Instructions/Notes for Load

[ ] Packaging Type (Wrapped, Unwrapped)

--- CYCLE PARAMETERS VERIFICATION ---

[ ] Temperature (°C)

[ ] Pressure (PSI)

[ ] Cycle Time (minutes)

[ ] Cycle Type (Gravity, Vacuum, Steam Flush)

[ ] Load Type (Instrumentation, Hollow Goods, Fabric)

[ ] Cycle Completion Date

[ ] Cycle Start Time

--- AUTOCLAVE/STERILIZER MAINTENANCE ---

[ ] Last Preventative Maintenance Date

[ ] Water Reservoir Level (inches)

[ ] Notes on Visual Inspection (e.g., corrosion, leaks)

[ ] Air Pump Pressure (PSI)

[ ] Filter Replacement Status (Complete, In Progress, Not Required)

[ ] Next Scheduled Maintenance Date

[ ] Any unusual sounds during cycle?

--- BIOLOGICAL INDICATOR TESTING ---

[ ] Date of Biological Indicator Test

[ ] Time of Biological Indicator Test

[ ] Type of Biological Indicator (Spore Strip, Spore Disk, Spore Suspension)

[ ] Lot Number of Biological Indicator

[ ] Incubation Temperature (°C) (55°C, 37°C, Other (specify))

[ ] Notes/Observations during incubation (e.g., unusual growth)

[ ] Result (Pass - No Growth, Fail - Growth Detected)

[ ] Image of Biological Indicator (if applicable)

[ ] Signature of Person Performing Test

--- CHEMICAL INDICATOR MONITORING ---

[ ] Indicator Type (e.g., MSD, Bowie-Dick) (MSD, Bowie-Dick, Embrittlement, Chemical Tape)

[ ] Indicator Result (Positive (Sterile), Negative (Non-Sterile), Equivocal)

[ ] Lot Number/Batch ID (if applicable)

[ ] Date of Monitoring

[ ] Time of Monitoring

[ ] Comments/Observations (e.g., discoloration, reading)

[ ] Photo of Indicator (optional)

--- LOADING AND UNLOADING PROCEDURES ---

[ ] Number of Instrument Trays Loaded

[ ] Instrument Tray Orientation (Check all that apply) (Vertical, Horizontal, Angled)

[ ] Air Removal Method (Automatic, Manual)

[ ] Time of Unloading

[ ] Notes on Loading/Unloading Process (e.g., unusual observations)

[ ] Packaging Type (for Unloading) (Double Wrap, Single Wrap, Pouch)

[ ] Storage Location of Sterilized Instruments

--- RECORD KEEPING & DOCUMENTATION ---

[ ] Cycle Date

[ ] Cycle Start Time

[ ] Cycle Number

[ ] Sterilizer Type (Autoclave, Dry Heat Sterilizer, Other)

[ ] Biological Indicator Result (Positive, Negative, Invalid)

[ ] Biological Indicator Report (Optional)

[ ] Notes/Comments

[ ] Operator Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/dental-management/dental-sterilization-checklist-equipment-procedure-validation

(Click "Install Template" to launch your digital inspection tool immediately)