## 6a390f865a1e7cf130c0ceba
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Pre-Cleaning & Preparation (STEP)
Date of Pre-Cleaning (DATE)
Time of Initial Rinse (DATE)
Description of Visible Debris (e.g., blood, saliva) (TEXT)
Rinsing Solution Used (SELECTION options: Enzymatic, Water, Other (Specify))
Rinsing Time (minutes) (NUMBER)
Contaminants Removed (SELECTION options: Blood, Saliva, Tissue, Calculus, Other (Specify))
Notes on Instrument Condition (TEXT)

Loading the Autoclave/Sterilizer (STEP)
Tray Load Capacity (Max) (NUMBER)
Load Type (SELECTION options: Instruments, Handpieces, Small Parts)
Tray Orientation (SELECTION options: Vertical, Horizontal)
Air Removal Method (SELECTION options: Automatic, Manual Vacuum)
Cycle Number/ID (if applicable) (TEXT)
Special Instructions/Notes for Load (TEXT)
Packaging Type (SELECTION options: Wrapped, Unwrapped)

Cycle Parameters Verification (STEP)
Temperature (°C) (NUMBER)
Pressure (PSI) (NUMBER)
Cycle Time (minutes) (NUMBER)
Cycle Type (SELECTION options: Gravity, Vacuum, Steam Flush)
Load Type (SELECTION options: Instrumentation, Hollow Goods, Fabric)
Cycle Completion Date (DATE)
Cycle Start Time (DATE)

Autoclave/Sterilizer Maintenance (STEP)
Last Preventative Maintenance Date (DATE)
Water Reservoir Level (inches) (NUMBER)
Notes on Visual Inspection (e.g., corrosion, leaks) (TEXT)
Air Pump Pressure (PSI) (NUMBER)
Filter Replacement Status (SELECTION options: Complete, In Progress, Not Required)
Next Scheduled Maintenance Date (DATE)
Any unusual sounds during cycle? (TEXT)

Biological Indicator Testing (STEP)
Date of Biological Indicator Test (DATE)
Time of Biological Indicator Test (DATE)
Type of Biological Indicator (SELECTION options: Spore Strip, Spore Disk, Spore Suspension)
Lot Number of Biological Indicator (NUMBER)
Incubation Temperature (°C) (SELECTION options: 55°C, 37°C, Other (specify))
Notes/Observations during incubation (e.g., unusual growth) (TEXT)
Result (SELECTION options: Pass - No Growth, Fail - Growth Detected)
Image of Biological Indicator (if applicable) (UPLOAD)
Signature of Person Performing Test (SIGNATURE)

Chemical Indicator Monitoring (STEP)
Indicator Type (e.g., MSD, Bowie-Dick) (SELECTION options: MSD, Bowie-Dick, Embrittlement, Chemical Tape)
Indicator Result (SELECTION options: Positive (Sterile), Negative (Non-Sterile), Equivocal)
Lot Number/Batch ID (if applicable) (NUMBER)
Date of Monitoring (DATE)
Time of Monitoring (DATE)
Comments/Observations (e.g., discoloration, reading) (TEXT)
Photo of Indicator (optional) (UPLOAD)

Loading and Unloading Procedures (STEP)
Number of Instrument Trays Loaded (NUMBER)
Instrument Tray Orientation (Check all that apply) (SELECTION options: Vertical, Horizontal, Angled)
Air Removal Method (SELECTION options: Automatic, Manual)
Time of Unloading (DATE)
Notes on Loading/Unloading Process (e.g., unusual observations) (TEXT)
Packaging Type (for Unloading) (SELECTION options: Double Wrap, Single Wrap, Pouch)
Storage Location of Sterilized Instruments (LOCATION)

Record Keeping & Documentation (STEP)
Cycle Date (DATE)
Cycle Start Time (DATE)
Cycle Number (NUMBER)
Sterilizer Type (SELECTION options: Autoclave, Dry Heat Sterilizer, Other)
Biological Indicator Result (SELECTION options: Positive, Negative, Invalid)
Biological Indicator Report (Optional) (UPLOAD)
Notes/Comments (TEXT)
Operator Signature (SIGNATURE)