DENTAL X-RAY SAFETY CHECKLIST: RADIATION PROTECTION & CALIBRATION

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-PROCEDURE CHECKS ---

[ ] Last Equipment Calibration Date

[ ] Tube Current (mA) Setting

[ ] Kilovoltage (kVp) Setting

[ ] Exposure Time Setting

[ ] Collimation Check (Verified & Correct, Needs Adjustment)

[ ] Digital Receptor Check (Cleaned, Connected, Functional)

[ ] Image Processing Software Status (Up-to-date, Needs Update)

--- PATIENT PREPARATION ---

[ ] Pregnancy Status? (Yes, No, Unknown)

[ ] Approximate Gestational Age (if applicable)

[ ] Patient Communication Regarding Radiation Concerns? (Yes, No, N/A)

[ ] Details of Patient Concerns (if any)

[ ] Appropriate Shielding Applied? (Yes, No, N/A)

[ ] Consent Form (if applicable)

[ ] Patient Acknowledgement

--- EQUIPMENT CALIBRATION & TESTING ---

[ ] Tube Current (mA) Reading

[ ] Kilovoltage (kVp) Setting

[ ] Exposure Time (seconds)

[ ] Detector Type (Digital Sensor, Film, Phosphor Plate)

[ ] Calibration Date

[ ] Calibration Time

[ ] Output Reading (mR)

[ ] Calibration Status (Pass, Fail, Pending)

--- SHIELDING & PROTECTIVE BARRIERS ---

[ ] Lead Apron Thickness (for patient) (0.5 mm, 1.0 mm, 1.5 mm, 2.0 mm)

[ ] Thyroid Shield Used? (Yes, No)

[ ] Gonadal Shield Used (if applicable)? (Yes, No, Not Applicable)

[ ] Distance from X-ray Unit (feet)

[ ] Barrier Integrity Verified? (Yes, No)

[ ] Comments on Shielding/Barriers (e.g., repairs needed)

--- EXPOSURE PARAMETERS ---

[ ] kVp (Kilovoltage Peak)

[ ] mA (MilliAmperes)

[ ] Exposure Time (Seconds)

[ ] Image Receptor Type (Digital Sensor, Film, Phosphor Plate)

[ ] Collimation Technique (Correct, Needs Adjustment)

[ ] Notes on Exposure Settings (e.g., adjustments made, rationale)

[ ] Date of Parameter Validation

--- PERSONNEL SAFETY & MONITORING ---

[ ] Last Radiation Exposure Badge Reading (mSv)

[ ] Date of Last Radiation Safety Training

[ ] Radiation Safety Role (e.g., Radiation Safety Officer) (Radiation Safety Officer, Registered Dental Hygienist, Dental Assistant, Dentist)

[ ] PPE Utilized During Exposure (Thyroid Shield, Lead Apron, Gloves, Eyewear)

[ ] Notes on Individual Radiation Exposure Concerns

[ ] Date of Next Scheduled Radiation Safety Review

--- RECORD KEEPING & DOCUMENTATION ---

[ ] Calibration Date

[ ] Exposure Meter Reading (mR)

[ ] Notes on Calibration Procedure

[ ] Calibration Certificate (PDF)

[ ] Last Personnel Radiation Monitoring Date

[ ] Personnel Exposure Dose (mSv)

[ ] Equipment Maintenance Log Reviewed? (Yes, No)

--- EMERGENCY PROCEDURES ---

[ ] Contact Information for Radiation Safety Officer (RSO)

[ ] Emergency Contact Information (Police, Fire, Hazmat)

[ ] Dose Limits for Personnel (mSv/year)

[ ] Procedure for Reporting Radiation Incidents

[ ] Date of Last Emergency Drill

[ ] Time of Last Emergency Drill

[ ] Steps Taken During Radiation Incident (Evacuate Area, Notify RSO, Administer First Aid, Secure Equipment, Document Incident)

[ ] Photos/Documentation of Incident (if applicable)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/dental-management/dental-x-ray-safety-checklist-radiation-protection-calibration

(Click "Install Template" to launch your digital inspection tool immediately)