## 6a390f8b5a1e7cf130c0ceca
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Pre-Procedure Checks (STEP)
Last Equipment Calibration Date (DATE)
Tube Current (mA) Setting (NUMBER)
Kilovoltage (kVp) Setting (NUMBER)
Exposure Time Setting (DATE)
Collimation Check (SELECTION options: Verified & Correct, Needs Adjustment)
Digital Receptor Check (SELECTION options: Cleaned, Connected, Functional)
Image Processing Software Status (SELECTION options: Up-to-date, Needs Update)

Patient Preparation (STEP)
Pregnancy Status? (SELECTION options: Yes, No, Unknown)
Approximate Gestational Age (if applicable) (NUMBER)
Patient Communication Regarding Radiation Concerns? (SELECTION options: Yes, No, N/A)
Details of Patient Concerns (if any) (TEXT)
Appropriate Shielding Applied? (SELECTION options: Yes, No, N/A)
Consent Form (if applicable) (UPLOAD)
Patient Acknowledgement (TEXT)

Equipment Calibration & Testing (STEP)
Tube Current (mA) Reading (NUMBER)
Kilovoltage (kVp) Setting (NUMBER)
Exposure Time (seconds) (NUMBER)
Detector Type (SELECTION options: Digital Sensor, Film, Phosphor Plate)
Calibration Date (DATE)
Calibration Time (DATE)
Output Reading (mR) (NUMBER)
Calibration Status (SELECTION options: Pass, Fail, Pending)

Shielding & Protective Barriers (STEP)
Lead Apron Thickness (for patient) (SELECTION options: 0.5 mm, 1.0 mm, 1.5 mm, 2.0 mm)
Thyroid Shield Used? (SELECTION options: Yes, No)
Gonadal Shield Used (if applicable)? (SELECTION options: Yes, No, Not Applicable)
Distance from X-ray Unit (feet) (NUMBER)
Barrier Integrity Verified? (SELECTION options: Yes, No)
Comments on Shielding/Barriers (e.g., repairs needed) (TEXT)

Exposure Parameters (STEP)
kVp (Kilovoltage Peak) (NUMBER)
mA (MilliAmperes) (NUMBER)
Exposure Time (Seconds) (NUMBER)
Image Receptor Type (SELECTION options: Digital Sensor, Film, Phosphor Plate)
Collimation Technique (SELECTION options: Correct, Needs Adjustment)
Notes on Exposure Settings (e.g., adjustments made, rationale) (TEXT)
Date of Parameter Validation (DATE)

Personnel Safety & Monitoring (STEP)
Last Radiation Exposure Badge Reading (mSv) (NUMBER)
Date of Last Radiation Safety Training (DATE)
Radiation Safety Role (e.g., Radiation Safety Officer) (SELECTION options: Radiation Safety Officer, Registered Dental Hygienist, Dental Assistant, Dentist)
PPE Utilized During Exposure (SELECTION options: Thyroid Shield, Lead Apron, Gloves, Eyewear)
Notes on Individual Radiation Exposure Concerns (TEXT)
Date of Next Scheduled Radiation Safety Review (DATE)

Record Keeping & Documentation (STEP)
Calibration Date (DATE)
Exposure Meter Reading (mR) (NUMBER)
Notes on Calibration Procedure (TEXT)
Calibration Certificate (PDF) (UPLOAD)
Last Personnel Radiation Monitoring Date (DATE)
Personnel Exposure Dose (mSv) (NUMBER)
Equipment Maintenance Log Reviewed? (SELECTION options: Yes, No)

Emergency Procedures (STEP)
Contact Information for Radiation Safety Officer (RSO) (TEXT)
Emergency Contact Information (Police, Fire, Hazmat) (TEXT)
Dose Limits for Personnel (mSv/year) (NUMBER)
Procedure for Reporting Radiation Incidents (TEXT)
Date of Last Emergency Drill (DATE)
Time of Last Emergency Drill (DATE)
Steps Taken During Radiation Incident (SELECTION options: Evacuate Area, Notify RSO, Administer First Aid, Secure Equipment, Document Incident)
Photos/Documentation of Incident (if applicable) (UPLOAD)