DISTRIBUTED ENERGY RESOURCE MANAGEMENT

Created by ChecklistGuro (https://checklistguro.com)

[ ] Fetch Grid Status: Retrieve current frequency and voltage levels from the Grid Sensor data model.
[ ] Get Active DER Assets: Retrieve all active Distributed Energy Resource (DER) entries currently connected to the local substation.
[ ] Calculate Total Available Capacity: Sum the 'max_discharge_power' property of all active Battery Energy Storage Systems (BESS) entries.
[ ] Calculate Net Load Imbalance: Subtract total available DER capacity from the current Grid Load requirement to determine deficit/surplus.
[ ] Determine Discharge Command: Calculate the required power output (kW) needed from assets to stabilize the grid based on the imbalance.
[ ] Update Asset Setpoint: Update the 'target_output_kw' property in the specific DER entry to match the calculated command.
[ ] Dispatch Field Technician: Create a task for the Maintenance Team if a DER asset reports a critical hardware error.
[ ] Log Incident Report: Create a new entry in the 'Grid Incidents' data model when a significant voltage deviation is detected.
[ ] Notify Grid Operator: Send an email to the Grid Operations Center regarding the automated intervention executed.
[ ] Alert Asset Owner: Send an SMS to the private property owner if their battery is being remotely discharged for grid stability.
[ ] Fetch Weather Forecast: Retrieve solar irradiance and wind speed predictions from the Weather Forecast data model.
[ ] Predict Renewable Generation: Use forecasted weather data to calculate the expected solar/wind production for the next 4-hour window.
[ ] Generate Daily Stability Report: Generate a performance report summarizing total energy dispatched and grid stability metrics.
[ ] Archive Resolved Incident: Remove the incident entry from the 'Active Alerts' data model once the grid returns to nominal range.
[ ] Update Forecast Model: Update the 'Expected Generation' field in the Energy Forecast model based on recent real-time actuals.

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/workflow-templates/energy/distributed-energy-resource-management
(Click "Install Template" to launch your digital inspection tool immediately)