DORMITORY ROOM INSPECTIONS CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL ROOM CONDITION ---

[ ] Room Number

[ ] Overall Room Cleanliness (Subjective) (Excellent, Good, Fair, Poor)

[ ] Any visible damage or disrepair?

[ ] Evidence of pests (insects, rodents)? (Yes, No, Unsure)

[ ] Resident Name (if present)

[ ] Temperature (Approximate)

--- STRUCTURAL INTEGRITY ---

[ ] Cracks in Walls/Ceiling? (None, Minor (less than 1/4 inch), Moderate (1/4 - 1/2 inch), Severe (greater than 1/2 inch))

[ ] Condition of Flooring (Good, Fair, Poor - Requires Repair)

[ ] Number of Wall/Ceiling Repairs Needed

[ ] Description of Flooring Damage (if any)

[ ] Condition of Window/Door Frames (Good, Fair, Poor - Requires Repair)

[ ] Evidence of Water Damage? (No, Yes - Minor, Yes - Moderate, Yes - Severe)

[ ] Detailed Description of Structural Concerns (if any)

--- HVAC & VENTILATION ---

[ ] HVAC Unit Operational Status? (Operational, Not Operational, Noisy, Malfunctioning)

[ ] Room Temperature (Fahrenheit)

[ ] Vent Filter Condition? (Clean, Slightly Dirty, Dirty, Very Dirty)

[ ] Describe any unusual noises from the HVAC unit:

[ ] Airflow from vents? (Adequate, Weak, Blocked)

[ ] HVAC Unit Serial Number (if visible)

--- PLUMBING & FIXTURES ---

[ ] Sink Condition (Excellent, Good, Fair, Poor, Needs Repair)

[ ] Toilet Functionality (Flushing Properly, Running/Leaking, Cracked/Damaged, Needs Repair)

[ ] Shower/Tub Condition (Excellent, Good, Fair, Poor, Needs Repair)

[ ] Water Pressure (Scale of 1-10)

[ ] Leaks or Water Damage

[ ] Faucet Condition (Good, Dripping, Damaged, Needs Replacement)

[ ] Additional Plumbing Notes

--- ELECTRICAL SYSTEMS ---

[ ] Outlet Count

[ ] Outlet Condition (each) (Functional, Damaged, Loose, Missing)

[ ] Light Fixture Condition (Working, Dim, Flickering, Broken/Missing)

[ ] Number of Extension Cords/Power Strips

[ ] Extension Cord/Power Strip Condition (If present) (Safe & Certified, Damaged, Overloaded)

[ ] GFCI Status (if applicable) (Present & Working, Present & Not Working, Not Applicable)

--- SAFETY & SECURITY ---

[ ] Smoke Detector Present and Functioning? (Yes, No, N/A - Battery Checked)

[ ] Fire Extinguisher Present (if applicable)? (Yes, No, N/A)

[ ] Window Locks Functional? (Yes, No, Broken)

[ ] Door Secure (closes and locks properly)? (Yes, No, Damage/Issues)

[ ] Emergency Exit Route Familiarity (1-5 scale, 1=Not Familiar, 5=Very Familiar)

[ ] Security Concerns/Observations

[ ] Carbon Monoxide Detector Present and Functioning? (Yes, No, N/A)

--- FURNITURE & FITTINGS ---

[ ] Bed Frame Condition (Excellent, Good, Fair, Poor, Needs Repair)

[ ] Mattress Condition (Excellent, Good, Fair, Poor, Needs Replacement)

[ ] Desk Condition (Excellent, Good, Fair, Poor, Needs Repair)

[ ] Number of Chairs Present

[ ] Description of Damage (if any) to furniture

[ ] Drawer/Closet Functionality (Fully Functional, Minor Issues, Significant Issues, Broken/Missing)

[ ] Attach Photos of Furniture Damage (Optional)

--- CLEANLINESS & SANITATION ---

[ ] Trash Receptacle Condition (Empty & Clean, Partially Full, Full & Needs Emptying, Overflowing)

[ ] Floor Cleanliness (Clean, Slightly Dirty, Noticeably Dirty, Excessively Dirty)

[ ] Surface Cleanliness (Desk/Bed) (Clean, Slightly Dusty, Dusty, Sticky/Grimey)

[ ] Number of Full Trash Bags

[ ] Additional Sanitation Notes

[ ] Bathroom Cleanliness (if applicable) (Clean, Slightly Dirty, Dirty, Excessively Dirty)

[ ] Presence of Pests (No Evidence, Minor Evidence, Significant Evidence)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/dormitory-room-inspections-checklist

(Click "Install Template" to launch your digital inspection tool immediately)