ELECTRICAL POWER DISTRIBUTION SYSTEM CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL SYSTEM OVERVIEW & DOCUMENTATION ---

[ ] Describe the overall electrical power distribution system layout.

[ ] Date of Last System Design Review

[ ] Total System Capacity (kVA or kW)

[ ] System Voltage Level(s) (120V, 208V, 480V, Other)

[ ] Upload Single Line Diagram

[ ] Document any known issues or limitations of the system.

[ ] Date of Last Comprehensive System Review

[ ] Type of System Architecture (e.g., Radial, Ring) (Radial, Ring, Other)

--- MAIN INCOMING SERVICE ---

[ ] Main Service Voltage (V)

[ ] Main Service Amperage (A)

[ ] Main Meter Reading

[ ] Last Meter Reading Date

[ ] Service Entrance Condition (Visual) (Excellent, Good, Fair, Poor, Unacceptable)

[ ] Notes/Comments on Service Entrance Condition

[ ] Disconnect Switch Operability (Operates Normally, Needs Lubrication, Needs Repair, Inoperative)

[ ] Service Entrance Photo

--- SWITCHGEAR & DISTRIBUTION PANELS ---

[ ] Panel Voltage (V)

[ ] Panel Ampacity (A)

[ ] Panel Condition (Visual) (Excellent, Good, Fair, Poor, Needs Attention)

[ ] Notes on Panel Appearance/Condition

[ ] Circuit Breaker Operation Test Result (Pass, Fail, N/A)

[ ] Number of Breakers Tripped (if any)

[ ] Details of any Breaker Trips or Abnormalities

[ ] Last Maintenance Date

[ ] Busbar Condition (Clean, Slight Discoloration, Significant Discoloration, Evidence of Corrosion)

--- TRANSFORMERS ---

[ ] Transformer KVA Rating

[ ] Input Voltage (Primary)

[ ] Output Voltage (Secondary)

[ ] Oil Level (inches from sight glass)

[ ] Oil Temperature (°C/°F)

[ ] Oil Condition (Visual Inspection) (Clear, Slightly Cloudy, Cloudy, Milky, Presence of Sediment)

[ ] Cooling Method (ONAN, ONAN/ONAF, Other (Specify in Long Text))

[ ] Any unusual noises or smells?

[ ] Date of Last Oil Analysis

--- EMERGENCY POWER SYSTEM (EPS) / GENERATOR ---

[ ] Generator Run Time (Hours)

[ ] Voltage Output (V)

[ ] Frequency Output (Hz)

[ ] Last Exercise Date

[ ] Exercise Start Time

[ ] Exercise Results/Observations

[ ] Fuel Level (Approximate) (Full, 75%, 50%, 25%, Empty)

[ ] Coolant Level (Normal, Low, Critical)

[ ] Generator Performance Report (if available)

--- UNINTERRUPTIBLE POWER SUPPLY (UPS) ---

[ ] UPS Input Voltage (VAC)

[ ] UPS Output Voltage (VAC)

[ ] UPS Capacity (kVA or kW)

[ ] UPS Load Percentage (%)

[ ] UPS Status (Online, Standby, Test, Fault) (Online, Standby, Test, Fault)

[ ] Last Battery Replacement Date

[ ] Observations/Notes on UPS Performance

[ ] UPS Event Log (if available)

[ ] Battery Type (VRLA, Flooded, Gel, Other)

--- GROUNDING & BONDING ---

[ ] Ground Resistance Measurement (Ohms)

[ ] Bonding Resistance Measurement (Ohms)

[ ] Grounding Electrode Type (Ground Rod, Plate, Concrete Encased Electrode, Water Pipe, Other (Specify))

[ ] Description of Grounding System Configuration

[ ] Visual Inspection of Grounding Connections (Good, Fair, Poor, Corrosion Present)

[ ] Areas Checked for Bonding (Metallic Water Pipes, Gas Piping, Structural Steel, Building Shell, Equipment Grounding)

[ ] Last Grounding System Inspection Date

--- WIRING & CONDUIT ---

[ ] Conduit Installation Condition Rating (1-5, 1=Poor, 5=Excellent)

[ ] Conduit Damage Observed? (None, Minor Dents/Scratches, Cracks, Kinks, Corrosion, Other (Specify in Long Text))

[ ] If 'Other' damage selected above, please specify:

[ ] Number of Conduit Supports Securely Attached

[ ] Wiring Condition (Overall) (Excellent, Good, Fair, Poor)

[ ] Wiring Degradation Observed? (None, Brittle Insulation, Cracked Insulation, Discoloration, Fraying, Rodent Damage, Other (Specify in Long Text))

[ ] If 'Other' degradation selected above, please specify:

[ ] Wire Identification (Color Coding) Consistency (Consistent, Mostly Consistent, Inconsistent)

[ ] Upload Photo(s) of Conduit/Wiring (if issues found)

--- LOAD MONITORING & ENERGY MANAGEMENT ---

[ ] Total Facility Power Consumption (kWh)

[ ] Peak Demand (kW)

[ ] Power Factor

[ ] Energy Management System (EMS) Status (Operational, Degraded, Offline, Not Applicable)

[ ] Notes on Recent Energy Usage Trends

[ ] Last EMS Software Update Date

[ ] Energy Saving Initiatives Implemented? (LED Lighting Upgrade, HVAC Optimization, Occupancy Sensors, Power Factor Correction, None)

[ ] Baseline Energy Consumption (kWh)

--- SAFETY & COMPLIANCE ---

[ ] Last Safety Audit Date (Within Last Year, More Than a Year Ago, Not Applicable)

[ ] Number of Safety Violations Found in Previous Inspection

[ ] Details of Any Safety Concerns Identified

[ ] Arc Flash Risk Assessment Up-to-Date? (Yes, No, Not Applicable)

[ ] Date of Last Arc Flash Study

[ ] Lockout/Tagout (LOTO) Procedures Reviewed? (Yes, No, N/A)

[ ] Upload of Relevant Safety Certifications (e.g., NFPA 70E)

[ ] Compliance with Local Electrical Codes? (Yes, No, Unsure)

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/electrical-power-distribution-system-checklist

(Click "Install Template" to launch your digital inspection tool immediately)