ELECTRICAL SAFETY INSPECTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- GENERAL INFORMATION ---

[ ] Inspection Date

[ ] Inspection Time

[ ] Area/Department Inspected

[ ] Inspector's Name

[ ] Inspector's Title/Role

[ ] Supervising Personnel (if applicable)

[ ] Equipment/Area ID (if applicable)

[ ] Weather Conditions (Optional) (Clear, Rain, Snow, Fog, Other)

--- VISUAL INSPECTION OF EQUIPMENT & WIRING ---

[ ] Inspect for damaged or frayed insulation on cables and wires. (Yes, No, N/A)

[ ] Check for cracked or broken equipment housings and enclosures. (Yes, No, N/A)

[ ] Are there signs of overheating (discoloration, melting)? (Yes, No, N/A)

[ ] Note any cracks, or breaks (count):

[ ] Describe any observed defects or damage:

[ ] Attach photos of any observed damage:

[ ] Condition of wiring supports and conduits: (Good, Fair, Poor)

--- GROUNDING AND BONDING ---

[ ] Is the grounding conductor properly sized according to code? (Yes, No, Not Applicable)

[ ] Are all metal enclosures and equipment properly bonded? (Yes, No, Not Applicable)

[ ] Measured grounding resistance (ohms):

[ ] Is the grounding electrode system adequate? (Yes, No, Not Applicable)

[ ] Notes/Observations regarding grounding and bonding:

[ ] Attach photos of grounding connections (if applicable):

--- OVERCURRENT PROTECTION (CIRCUIT BREAKERS & FUSES) ---

[ ] Circuit Breaker Ampacity (Rated Value)

[ ] Fuse Rating (Amps)

[ ] Circuit Breaker Condition (Good, Damaged, Corroded, Loose, Missing, Other (Specify))

[ ] Fuse Condition (Good, Open, Damaged, Corroded, Missing, Other (Specify))

[ ] Breaker Trip Curve Conformance (Optional – if tested)

[ ] Comments/Observations regarding Overcurrent Protection

[ ] Breaker Labeling Clear and Accurate? (Yes, No, N/A)

[ ] Fuse Marking Present and Legible? (Yes, No, N/A)

--- LOCKOUT/TAGOUT (LOTO) PROCEDURES ---

[ ] Is a written LOTO program available and current? (Yes, No, N/A)

[ ] Are employees trained on the LOTO procedures? (Yes, No, N/A)

[ ] Date of last LOTO training for employees.

[ ] Describe any observed deficiencies in LOTO implementation.

[ ] Which of the following LOTO elements are present and functional? (Lockout Devices, Tagout Devices, Procedures for Group Lockout, Energy Isolation Checks, Stored Energy Documentation)

[ ] Number of documented LOTO incidents in the last year.

[ ] Are energy isolation steps verified before starting work? (Yes, No, N/A)

[ ] Upload a copy of the current LOTO procedure document (if applicable).

--- ELECTRICAL SAFETY DEVICES ---

[ ] Number of GFCI outlets inspected

[ ] GFCI outlet status (per inspection) (Pass, Fail - Needs Repair, Not Present, Not Applicable)

[ ] Number of AFCI breakers inspected (if applicable)

[ ] AFCI breaker status (per inspection - if applicable) (Pass, Fail - Needs Repair, Not Present, Not Applicable)

[ ] Arc Flash Labeling Present on Equipment? (Yes, No, Not Applicable)

[ ] Comments on Arc Flash Labeling or other safety devices

[ ] Emergency Disconnect Switches - Condition (Good, Fair, Poor - Requires Attention)

--- WORK AREA SAFETY ---

[ ] Are walkways and aisles clear of obstructions? (Yes, No, N/A)

[ ] Is adequate lighting provided in work areas? (Yes, No, N/A)

[ ] Distance from electrical equipment to nearest combustible material (inches)

[ ] Check all that apply: What hazards are present in the work area? (Exposed wiring, Damaged equipment, Wet conditions, Overcrowding, None Observed)

[ ] Describe any observed electrical hazards in the work area.

[ ] Are electrical panels accessible and properly labeled? (Yes, No, N/A)

--- EMERGENCY PROCEDURES & SIGNAGE ---

[ ] Are Emergency Contact Numbers Posted? (Yes, No, N/A)

[ ] Are Evacuation Routes Clearly Marked? (Yes, No, N/A)

[ ] Are Emergency Shutdown Procedures Documented? (Yes, No, N/A)

[ ] Describe any issues or observations related to emergency signage.

[ ] Are emergency lighting fixtures functional? (Yes, No, N/A)

[ ] Date of last Emergency Drill

[ ] Name of person responsible for Emergency Procedures

--- EMPLOYEE TRAINING & COMPETENCY ---

[ ] Last Electrical Safety Training Date

[ ] Number of Employees Trained on Electrical Safety

[ ] Training Program Type (Classroom, Online, Hands-on, Combination)

[ ] Topics Covered in Training (Select all that apply) (Lockout/Tagout Procedures, Hazard Identification, Safe Work Practices, Personal Protective Equipment (PPE), Emergency Procedures, NFPA 70E Compliance)

[ ] Brief Summary of Training Content

[ ] Training Records/Certificates (Optional)

[ ] Competency Assessment Method (Written Exam, Practical Assessment, Observation, Combination)

--- RECORD KEEPING ---

[ ] Last Electrical Safety Inspection Date

[ ] Inspection Frequency (e.g., months between inspections)

[ ] Upload Previous Inspection Report

[ ] Summary of Corrective Actions Required (from previous inspection)

[ ] Status of Corrective Actions from Previous Inspection (e.g., Completed, In Progress, Pending)

[ ] Maintenance Records Available (e.g., Yes, No, Partial) (Yes, No, Partial)

[ ] Date of Last Equipment Maintenance Record Reviewed

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/manufacturing/electrical-safety-inspection-checklist

(Click "Install Template" to launch your digital inspection tool immediately)