## 6a390f2d5a1e7cf130c0cd78
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

General Information (STEP)
Inspection Date (DATE)
Inspection Time (DATE)
Inspection Type (SELECTION options: Weekly, Monthly)
Elevator/Escalator ID (TEXT)
Location (TEXT)
Inspector Name (TEXT)
Temperature (°C) (NUMBER)

Visual Inspection - Structure & Components (STEP)
Elevator/Escalator ID Number (TEXT)
Manufacturer (TEXT)
Year of Installation (NUMBER)
Guide Rail Condition (Elevator) (SELECTION options: Excellent, Good, Fair, Poor, N/A - Escalator)
Step Tread Condition (Escalator) (SELECTION options: Excellent, Good, Fair, Poor, N/A - Elevator)
Notes on Structural Condition (e.g., rust, cracks, loose panels) (TEXT)
Photos of Structural Concerns (if any) (UPLOAD)
Visible Corrosion Present? (SELECTION options: Yes, No)
Rail Alignment Measurement (if applicable & equipped) (NUMBER)

Safety Features - Emergency Systems (STEP)
Emergency Call Button Functionality (SELECTION options: Functional, Not Functional, Requires Attention)
Emergency Lighting Functionality (SELECTION options: Functional, Not Functional, Requires Attention)
Emergency Phone/Intercom Functionality (SELECTION options: Functional, Not Functional, Requires Attention)
Emergency Stop Button (Escalator) - Functionality (SELECTION options: Functional, Not Functional, Requires Attention)
Notes on Emergency System Functionality (if any issues) (TEXT)
Emergency Signage Legibility (SELECTION options: Legible, Partially Obscured, Illegible)

Door Operation (Elevator & Escalator) (STEP)
Door Opening/Closing Time (Seconds) (NUMBER)
Door Sensor Functionality (Elevator) (SELECTION options: Fully Functional, Partially Functional - Requires Attention, Not Functional - Immediate Repair Required)
Door Sensor Functionality (Escalator) (SELECTION options: Fully Functional, Partially Functional - Requires Attention, Not Functional - Immediate Repair Required)
Door Alignment (Elevator) (SELECTION options: Properly Aligned, Slight Misalignment - Monitor, Significant Misalignment - Requires Adjustment)
Door Locking Mechanism Functionality (Elevator) (SELECTION options: Fully Operational, Requires Inspection/Adjustment, Malfunctioning - Immediate Repair Required)
Notes on Door Operation (Any Issues Observed) (TEXT)

Elevator Car Operation (Elevator Only) (STEP)
Car Speed (ft/min) (NUMBER)
Leveling Accuracy (inches) (NUMBER)
Door Operation - Smooth and Consistent? (SELECTION options: Yes, No)
Door Reopening Prevention Functioning Correctly? (SELECTION options: Yes, No)
Comments on Car Operation/Any Unusual Behavior Observed (TEXT)
Travel Time (Seconds - Upward Journey) (NUMBER)
Travel Time (Seconds - Downward Journey) (NUMBER)
Emergency Stop Button Functionality (SELECTION options: Functional, Needs Attention)
Date of Last Maintenance (DATE)

Escalator Step and Rail Inspection (Escalator Only) (STEP)
Step Tread Wear (mm) (NUMBER)
Step Edge Rounding (mm) (NUMBER)
Comb Plate Condition (SELECTION options: Good, Fair, Poor - Requires Repair)
Step Damage Observed (Check all that apply) (SELECTION options: Cracks, Missing Steps, Loose Steps, Deformed Steps, None)
Rail Alignment (SELECTION options: Correct, Slight Misalignment, Significant Misalignment - Requires Adjustment)
Notes on Rail Condition (TEXT)
Step Separation/Gap (SELECTION options: Within Tolerance, Slightly Excessive, Excessive – Requires Adjustment)
Photo of Step/Rail Damage (if any) (UPLOAD)

Noise and Vibration (STEP)
Subjective Noise Level (1-10, 1=Quiet, 10=Very Loud) (NUMBER)
Describe any unusual noises heard during operation (e.g., grinding, squealing, clicking). (TEXT)
Vibration Amplitude (Scale of 1-5, 1=None, 5=Severe) (NUMBER)
Describe any unusual vibrations felt during operation. (TEXT)
Noise Level Change Since Last Inspection? (SELECTION options: Increased, Decreased, No Change)
Vibration Level Change Since Last Inspection? (SELECTION options: Increased, Decreased, No Change)

Speed and Timing (If Applicable) (STEP)
Elevator Speed (ft/min or m/min) (NUMBER)
Escalator Step Speed (ft/min or m/min) (NUMBER)
Escalator Transit Time (seconds - from lowest to highest point) (NUMBER)
Elevator Leveling Accuracy (inches) (NUMBER)
Speed Verification Method (SELECTION options: Tachometer, Manufacturer's Specifications, Other (Specify))
Notes on Speed/Timing Observations (e.g., observed variations, corrections made) (TEXT)
Date of Speed/Timing Test (DATE)
Time of Speed/Timing Test (DATE)

Lighting (STEP)
Car/Escalator Lighting - Intensity (Lumens/FC) (NUMBER)
Emergency Lighting - Functionality (Elevator) (SELECTION options: Functional, Needs Repair, Not Present)
Emergency Lighting - Functionality (Escalator) (SELECTION options: Functional, Needs Repair, Not Present)
Lighting - Uniformity (SELECTION options: Uniform, Uneven, Dark Spots Present)
Lighting Notes (e.g., flickering, dimness, bulb replacements) (TEXT)
Lighting Photos (if issues present) (UPLOAD)

Signage and Labels (STEP)
Emergency Contact Information Visible? (SELECTION options: Yes, No, N/A)
Warning Labels Present and Legible? (SELECTION options: Yes, No, Partially Obscured)
Note any damage to signage (if applicable) (TEXT)
Directional Arrows Clear and Visible (Escalator) (SELECTION options: Yes, No, N/A)
Emergency Procedures Signage Present? (SELECTION options: Yes, No, N/A)
Additional Comments Regarding Signage/Labels (TEXT)