ELEVATOR MAINTENANCE & SAFETY CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-OPERATION VISUAL INSPECTION ---

[ ] Date of Inspection

[ ] Time of Inspection

[ ] Elevator Identification Number (Elevator 1, Elevator 2, Elevator 3, Elevator 4)

[ ] Overall Condition - Initial Observation (Excellent, Good, Fair, Poor)

[ ] Visible Damage/Issues (Scratches/Abrasions on Car Walls, Damage to Handrail, Water Stains/Leakage, Loose Panels/Trim, Damaged Call Buttons, Malfunctioning Lighting)

[ ] Any Unusual Noises Observed?

[ ] Car Level Indication Accuracy

[ ] Inspector Signature

--- MECHANICAL SYSTEMS INSPECTION ---

[ ] Motor Operating Current (Amps)

[ ] Motor Temperature (Celsius/Fahrenheit)

[ ] Governor Speed (RPM)

[ ] Sheave Condition (Excellent, Good, Fair, Poor)

[ ] Rope Condition (Visual) (No Visible Damage, Minor Abrasion, Significant Wear, Kinking/Broken Strand)

[ ] Notes on Mechanical System Condition

[ ] Date of last rope/cable replacement

--- ELECTRICAL SYSTEMS INSPECTION ---

[ ] Motor Voltage (V)

[ ] Motor Current (A)

[ ] Control Circuit Voltage (V)

[ ] Wiring Condition (Excellent, Good, Fair, Poor)

[ ] Control Panel Status (Normal, Warning, Fault)

[ ] Any unusual noises or events observed?

[ ] Last Electrical System Overhaul Date

[ ] Upload Image of Control Panel

--- SAFETY DEVICE TESTING ---

[ ] Governor Speed Test (RPM)

[ ] Overspeed Buffer Distance (inches)

[ ] Door Interlock Function Test Result (Pass, Fail, N/A)

[ ] Emergency Stop Button Function Test Result (Pass, Fail, N/A)

[ ] Fire Service Recall Test Result (Pass, Fail, N/A)

[ ] Last Inspection Date of Safety Circuit

[ ] Comments/Observations Regarding Safety Device Testing

--- DOOR OPERATION & ALIGNMENT ---

[ ] Door Opening/Closing Time (seconds)

[ ] Door Sill Height (inches)

[ ] Door Leaf Clearance (inches) - All Sides

[ ] Door Operation Smoothness? (Smooth, Jerky, Hesitant)

[ ] Door Interlock Function? (Pass, Fail, Needs Attention)

[ ] Notes on Door Alignment or Operation

[ ] Door Noisy? (No, Yes - Minor, Yes - Significant)

--- CAB & HALLWAY INSPECTIONS ---

[ ] Cab Interior Cleanliness

[ ] Hallway Landing Cleanliness

[ ] Cab Lighting Level (Lux)

[ ] Condition of Handrail (Cab)

[ ] Condition of Hallway Call Buttons

[ ] Signage Present & Legible? (Emergency Instructions, Capacity Plate, Directional Arrows, Out-of-Service Sign (if applicable))

[ ] Notes/Observations (Cab & Hallways)

[ ] Photos of Cab/Hallway (if issues)

--- EMERGENCY POWER & LIGHTING ---

[ ] Last Emergency Power Test Time

[ ] Emergency Power Run Time (minutes)

[ ] Generator Status (Operational, Needs Repair, Offline)

[ ] Emergency Lighting Status (Operational, Needs Repair, Offline)

[ ] Notes on Emergency Power/Lighting Performance

[ ] Date of Last Battery System Inspection

[ ] Battery Voltage Reading (V)

--- FIRE SERVICE OPERATION ---

[ ] Fire Service Recall Test - Result (Pass, Fail, N/A)

[ ] Fire Service Recall Test Time

[ ] Fire Service Bypass Activation Time (Seconds)

[ ] Firefighter Service Operation - Result (Pass, Fail, N/A)

[ ] Date of Fire Service Operation Testing

[ ] Comments/Observations during Fire Service Operation Testing

--- LUBRICATION & ADJUSTMENTS ---

[ ] Guide Rail Lubrication - Amount (oz/ml)

[ ] Sheave Bearing Lubrication - Amount (oz/ml)

[ ] Motor Bearing Lubrication - Amount (oz/ml)

[ ] Type of Lubricant Used (Lithium Grease, Synthetic Grease, Other (Specify))

[ ] Specify 'Other' Lubricant (If Applicable)

[ ] Governor Rope Tension - Measurement (lbs)

[ ] Notes on Adjustments Performed

--- RECORD KEEPING & DOCUMENTATION ---

[ ] Inspection Date

[ ] Inspection Time

[ ] Elevator Serial Number

[ ] Summary of Maintenance Performed

[ ] Description of Any Issues Found (and corrective actions taken)

[ ] Attach Photos/Videos of Maintenance (Optional)

[ ] Next Scheduled Inspection Type (Routine, Detailed, Fire Service)

[ ] Date of Next Inspection

[ ] Inspector Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/elevator-maintenance-safety-checklist

(Click "Install Template" to launch your digital inspection tool immediately)