## 6a390f185a1e7cf130c0cd2d
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Pre-Operation Visual Inspection (STEP)
Date of Inspection (DATE)
Time of Inspection (DATE)
Elevator Identification Number (SELECTION options: Elevator 1, Elevator 2, Elevator 3, Elevator 4)
Overall Condition - Initial Observation (SELECTION options: Excellent, Good, Fair, Poor)
Visible Damage/Issues (SELECTION options: Scratches/Abrasions on Car Walls, Damage to Handrail, Water Stains/Leakage, Loose Panels/Trim, Damaged Call Buttons, Malfunctioning Lighting)
Any Unusual Noises Observed? (TEXT)
Car Level Indication Accuracy (NUMBER)
Inspector Signature (SIGNATURE)

Mechanical Systems Inspection (STEP)
Motor Operating Current (Amps) (NUMBER)
Motor Temperature (Celsius/Fahrenheit) (NUMBER)
Governor Speed (RPM) (NUMBER)
Sheave Condition (SELECTION options: Excellent, Good, Fair, Poor)
Rope Condition (Visual) (SELECTION options: No Visible Damage, Minor Abrasion, Significant Wear, Kinking/Broken Strand)
Notes on Mechanical System Condition (TEXT)
Date of last rope/cable replacement (DATE)

Electrical Systems Inspection (STEP)
Motor Voltage (V) (NUMBER)
Motor Current (A) (NUMBER)
Control Circuit Voltage (V) (NUMBER)
Wiring Condition (SELECTION options: Excellent, Good, Fair, Poor)
Control Panel Status (SELECTION options: Normal, Warning, Fault)
Any unusual noises or events observed? (TEXT)
Last Electrical System Overhaul Date (DATE)
Upload Image of Control Panel (UPLOAD)

Safety Device Testing (STEP)
Governor Speed Test (RPM) (NUMBER)
Overspeed Buffer Distance (inches) (NUMBER)
Door Interlock Function Test Result (SELECTION options: Pass, Fail, N/A)
Emergency Stop Button Function Test Result (SELECTION options: Pass, Fail, N/A)
Fire Service Recall Test Result (SELECTION options: Pass, Fail, N/A)
Last Inspection Date of Safety Circuit (DATE)
Comments/Observations Regarding Safety Device Testing (TEXT)

Door Operation & Alignment (STEP)
Door Opening/Closing Time (seconds) (NUMBER)
Door Sill Height (inches) (NUMBER)
Door Leaf Clearance (inches) - All Sides (NUMBER)
Door Operation Smoothness? (SELECTION options: Smooth, Jerky, Hesitant)
Door Interlock Function? (SELECTION options: Pass, Fail, Needs Attention)
Notes on Door Alignment or Operation (TEXT)
Door Noisy? (SELECTION options: No, Yes - Minor, Yes - Significant)

Cab & Hallway Inspections (STEP)
Cab Interior Cleanliness (TEXT)
Hallway Landing Cleanliness (TEXT)
Cab Lighting Level (Lux) (NUMBER)
Condition of Handrail (Cab) (TEXT)
Condition of Hallway Call Buttons (TEXT)
Signage Present & Legible? (SELECTION options: Emergency Instructions, Capacity Plate, Directional Arrows, Out-of-Service Sign (if applicable))
Notes/Observations (Cab & Hallways) (TEXT)
Photos of Cab/Hallway (if issues) (UPLOAD)

Emergency Power & Lighting (STEP)
Last Emergency Power Test Time (DATE)
Emergency Power Run Time (minutes) (NUMBER)
Generator Status (SELECTION options: Operational, Needs Repair, Offline)
Emergency Lighting Status (SELECTION options: Operational, Needs Repair, Offline)
Notes on Emergency Power/Lighting Performance (TEXT)
Date of Last Battery System Inspection (DATE)
Battery Voltage Reading (V) (NUMBER)

Fire Service Operation (STEP)
Fire Service Recall Test - Result (SELECTION options: Pass, Fail, N/A)
Fire Service Recall Test Time (DATE)
Fire Service Bypass Activation Time (Seconds) (NUMBER)
Firefighter Service Operation - Result (SELECTION options: Pass, Fail, N/A)
Date of Fire Service Operation Testing (DATE)
Comments/Observations during Fire Service Operation Testing (TEXT)

Lubrication & Adjustments (STEP)
Guide Rail Lubrication - Amount (oz/ml) (NUMBER)
Sheave Bearing Lubrication - Amount (oz/ml) (NUMBER)
Motor Bearing Lubrication - Amount (oz/ml) (NUMBER)
Type of Lubricant Used (SELECTION options: Lithium Grease, Synthetic Grease, Other (Specify))
Specify 'Other' Lubricant (If Applicable) (TEXT)
Governor Rope Tension - Measurement (lbs) (NUMBER)
Notes on Adjustments Performed (TEXT)

Record Keeping & Documentation (STEP)
Inspection Date (DATE)
Inspection Time (DATE)
Elevator Serial Number (NUMBER)
Summary of Maintenance Performed (TEXT)
Description of Any Issues Found (and corrective actions taken) (TEXT)
Attach Photos/Videos of Maintenance (Optional) (UPLOAD)
Next Scheduled Inspection Type (SELECTION options: Routine, Detailed, Fire Service)
Date of Next Inspection (DATE)
Inspector Signature (SIGNATURE)