## Sheet1
Label | Value | Notes
Created by checklistguro.com
General Information (STEP)
Inspection Date (DATE)
Inspection Time (DATE)
Building/Facility Name (LOCATION)
Exit Route/Area Inspected (SELECTION options: Main Entrance - North, West Wing - 2nd Floor, Loading Dock - East, Other (Specify))
Area Inspected (if Other) (TEXT)
Weather Conditions (SELECTION options: Clear, Rain, Snow, Fog, Other)
Other Weather Condition (If Applicable) (TEXT)
Ambient Temperature (°C) (NUMBER)
Exit Route Identification & Signage (STEP)
Exit Route Identification Number/Label (LOCATION)
Signage Condition - Overall (SELECTION options: Excellent, Good, Fair, Poor, Needs Repair/Replacement)
Signage Visibility (Daylight) (SELECTION options: Excellent - Easily Visible, Good - Mostly Visible, Fair - Partially Obstructed, Poor - Difficult to See)
Signage Visibility (Low Light/Emergency Lighting) (SELECTION options: Excellent, Good, Fair, Poor)
Sign Type Presence (SELECTION options: Exit Signs, Directional Signs, Emergency Route Maps, Other (Specify in Long Text))
Describe any missing or damaged signage. (TEXT)
Number of Exit Signs present (NUMBER)
Clearance & Obstructions (STEP)
Are exit routes clear of obstructions? (SELECTION options: Yes, Completely Clear, Minor Obstructions Present (e.g., boxes, minor furniture), Significant Obstructions Present (Blocking Exit), Not Applicable)
Describe any obstructions found (if applicable) (TEXT)
Width of the exit route (feet/meters - specify unit in notes) (NUMBER)
Specify the type of obstructions found (e.g., furniture, stored materials, equipment) (TEXT)
Are fire extinguishers readily accessible along the exit route? (SELECTION options: Yes, No, Not Applicable)
Details regarding any discrepancies found in extinguisher placement. (TEXT)
Lighting (STEP)
Lux Level Reading (Foot-Candles) (NUMBER)
Emergency Lighting Status (SELECTION options: Functional, Malfunctioning, Not Present)
Battery Backup Functionality (If Applicable) (SELECTION options: Tested & Working, Not Tested, Malfunctioning)
Notes on Lighting Condition (e.g., dimness, flickering) (TEXT)
Reflector Condition (SELECTION options: Good, Dirty/Dusty, Damaged)
Exit Doors & Hardware (STEP)
Door Opens Freely? (SELECTION options: Yes, No, N/A)
Door Swing Direction Correct? (SELECTION options: Yes, No, N/A)
Door Opening Time (seconds) (NUMBER)
Hardware Condition (SELECTION options: Good, Fair, Poor)
Detailed Hardware Observations (TEXT)
Door Frame Integrity (SELECTION options: Intact, Minor Damage, Significant Damage, N/A)
Door Hardware Photos (if applicable) (UPLOAD)
Emergency Exit Devices (Panic Bars) (STEP)
Panic Bar Functionality (SELECTION options: Fully Functional, Partially Functional (requires repair), Non-Functional (requires immediate repair))
Panic Bar Alignment (SELECTION options: Properly Aligned, Misaligned (requires adjustment))
Panic Bar Plate Secureness (SELECTION options: Securely Mounted, Loose/Moving (requires tightening))
Number of Panic Bars Inspected (NUMBER)
Additional Notes (Panic Bars) (TEXT)
Photo Documentation (if issues) (UPLOAD)
Fire Alarm System Integration (STEP)
Is the Exit Route illuminated when the Fire Alarm is triggered? (SELECTION options: Yes, No, Not Applicable)
Does the Fire Alarm System provide audible and visual alerts along the exit route? (SELECTION options: Yes, No, Not Applicable)
Number of Fire Alarm Annunciation Points along the Exit Route (NUMBER)
Describe any observed issues or discrepancies with Fire Alarm System Integration (TEXT)
Is the Emergency Voice Communication System (EVCS) functional along the exit route (if applicable)? (SELECTION options: Yes, No, Not Applicable)
Date of Last Fire Alarm System Test Relevant to Exit Route (DATE)
Accessibility Considerations (STEP)
Are accessible exit routes clearly marked with tactile signage? (SELECTION options: Yes, No, Not Applicable)
Distance (in feet) between accessible exits? (NUMBER)
Are ramps slopes compliant with accessibility standards (e.g., ADA)? (SELECTION options: Yes, No, Not Applicable)
Describe any observed issues or deviations from accessibility guidelines. (TEXT)
Are accessible exits free of obstructions that would impede passage? (SELECTION options: Yes, No, Not Applicable)
Width of accessible pathway (in inches). (NUMBER)
Documentation & Training (STEP)
Last Emergency Exit Route Training Date (DATE)
Number of Employees Trained (Last Training) (NUMBER)
Brief Description of Training Content (TEXT)
Copy of Training Records (if available) (UPLOAD)
Training Records Location (SELECTION options: Online Database, Physical File Cabinet, Other)
If 'Other' selected above, please specify: (TEXT)
Are Exit Route Maps Posted? (SELECTION options: Yes, No, Not Applicable)
Comments/Notes on Documentation & Training Adequacy (TEXT)
Corrective Actions & Follow-up (STEP)
Description of Corrective Action Required (TEXT)
Priority Level (1-High, 5-Low) (NUMBER)
Target Completion Date (DATE)
Assigned to (Department/Individual) (SELECTION options: Facility Management, Maintenance Team, Electrical Team, Contractor)
Date Corrective Action Completed (DATE)
Status of Corrective Action (SELECTION options: Open, In Progress, Completed, On Hold)
Comments/Notes on Completion (TEXT)
Documentation of Corrective Action (e.g., Photos, Invoices) (UPLOAD)
Signature of Person Completing Corrective Action (SIGNATURE)