EMERGENCY GENERATOR TEST - CRITICAL HOTEL SYSTEMS CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-TEST PREPARATION ---
[ ] Scheduled Test Date
[ ] Scheduled Test Start Time
[ ] Generator Location
[ ] Weather Conditions (Clear, Cloudy, Rain, Snow, Fog)
[ ] Ambient Temperature (Â°C)
[ ] Pre-Test Notes/Observations (e.g., any visible damage, leaks)
[ ] Fuel Level (%) (Below 10%, 10-30%, 30-50%, 50-70%, 70-90%, 90-100%)
[ ] Pre-Test Photos (optional)

--- GENERATOR STARTUP & WARM-UP ---
[ ] Generator Startup Time
[ ] Ambient Temperature (Â°C)
[ ] Generator Exhaust Temperature (after 5 minutes)
[ ] Startup Procedure Followed (Standard Procedure, Abbreviated Procedure - Document Reason, Emergency Start Procedure - Document Reason)
[ ] Notes on Startup (e.g., unusual noises, delays)
[ ] Engine Speed (RPM) at Warm-Up
[ ] Fuel Level Before Test (Full, Greater than 75%, Greater than 50%, Less than 50% - Requires Refueling)
[ ] Time of Warm-Up Completion

--- CRITICAL SYSTEMS LOAD TEST ---
[ ] Generator Load (kW)
[ ] Voltage (V)
[ ] Frequency (Hz)
[ ] Harmonic Distortion (THD)
[ ] Critical Systems Tested (Select All That Apply) (HVAC (Guest Rooms), HVAC (Public Areas), Life Safety Systems (Fire Pumps, Sprinklers), Emergency Lighting, Security Systems (Access Control, CCTV), Refrigeration (Food & Beverage), Elevators, Medical Gas Systems (if applicable))
[ ] Observations during Load Test (Note any unusual noises, vibrations, or performance deviations)
[ ] Overall System Performance (during load test) (Acceptable, Marginal, Unacceptable)

--- SYSTEM PERFORMANCE MONITORING & DATA RECORDING ---
[ ] Generator Voltage (Volts)
[ ] Generator Frequency (Hz)
[ ] Generator Load (kW)
[ ] Fuel Level (Gallons/Liters)
[ ] Notes on Engine Noise/Vibrations
[ ] Observations of Exhaust Smoke Color/Odor
[ ] Transfer Switch Status (During Test) (Utility Power, Generator Power)
[ ] Time of Peak Load Reached

--- TRANSFER SWITCH OPERATION (ATS) ---
[ ] ATS Transfer Time (Seconds)
[ ] Transfer Initiation Method (Utility Failure/Manual) (Utility Failure Simulation, Manual Initiation)
[ ] Narrative Description of ATS Operation
[ ] ATS Return to Utility Power (Automatic/Manual) (Automatic, Manual)
[ ] ATS Return Time (Seconds)
[ ] Any Issues Observed During ATS Operation?

--- POST-TEST INSPECTION & SHUTDOWN ---
[ ] Generator Runtime (Hours)
[ ] Engine Coolant Temperature (Degrees F)
[ ] Oil Pressure (PSI)
[ ] Fuel Level After Test (Full, 3/4, 1/2, 1/4, Empty)
[ ] Visible Damage/Leaks Observed (If Any)
[ ] Narrative Summary of Post-Test Conditions & Observations
[ ] Generator Shutdown Procedure Followed? (Yes, No)
[ ] Next Scheduled Test Date
[ ] Technician Signature

--- DOCUMENTATION & REPORTING ---
[ ] Test Date
[ ] Test Start Time
[ ] Test End Time
[ ] Generator Run Time (minutes)
[ ] Load Capacity (kW)
[ ] Test Result (Pass, Fail, Conditional Pass, Needs Further Evaluation)
[ ] Detailed Observations & Notes
[ ] Corrective Actions Taken (if any)
[ ] Generator Performance Graph (Optional)
[ ] Report Prepared By (Name)

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/facility-management/emergency-generator-test-critical-hotel-systems-checklist
(Click "Install Template" to launch your digital inspection tool immediately)