EMERGENCY GENERATOR TEST & INSPECTION CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- PRE-TEST INSPECTION ---

[ ] Date of Inspection

[ ] Time of Inspection

[ ] Generator Model Number

[ ] Generator Serial Number

[ ] Fuel Level (Gallons/Liters)

[ ] Visual Inspection of Enclosure (Good, Fair, Poor)

[ ] Check for Obvious Damage or Leaks (Yes, No)

[ ] Comments on Pre-Test Conditions (e.g., environmental factors, prior issues)

--- START-UP AND RUN TEST ---

[ ] Test Start Time

[ ] Ambient Temperature (°C)

[ ] Generator Voltage (Initial)

[ ] Generator Frequency (Initial)

[ ] Start Attempt Success (First Attempt) (Yes, No)

[ ] Time to Startup (Seconds)

[ ] Generator Load (kW)

[ ] Generator Voltage (During Run)

[ ] Generator Frequency (During Run)

[ ] Observations During Run

--- LOAD BANK TESTING (IF APPLICABLE) ---

[ ] Load Bank Voltage (V)

[ ] Load Bank Current (A)

[ ] Generator Voltage (V) at Load

[ ] Generator Frequency (Hz) at Load

[ ] Load Bank Power Output (kW)

[ ] Voltage Dip During Load Application (Within Specification, Exceeds Specification - Document Details, Voltage Sag Present - Investigate)

[ ] Observations during Load Bank Test

[ ] Load Acceptance (Acceptable, Reject - Document Details)

--- SAFETY SYSTEMS & MONITORING ---

[ ] Generator Enclosure Inspection - Secure? (Yes, No, N/A)

[ ] Exhaust System Integrity? (Yes, No, N/A)

[ ] Exhaust Temperature (During Run)

[ ] Low Oil Level Shutdown Function Test (Passed, Failed, N/A)

[ ] High Coolant Temperature Shutdown Function Test (Passed, Failed, N/A)

[ ] Over-Speed Protection Test (Passed, Failed, N/A)

[ ] Notes on Safety System Performance/Observations

--- POST-TEST INSPECTION ---

[ ] Generator Runtime (Hours)

[ ] Cooling System Temperature (Degrees)

[ ] Oil Pressure (PSI)

[ ] Overall Condition (Excellent, Good, Fair, Poor)

[ ] Any Abnormal Noises or Vibrations Observed?

[ ] Notes/Comments on Post-Test Condition

[ ] Next Scheduled Test Date

[ ] Inspector Signature

--- DOCUMENTATION & RECORD KEEPING ---

[ ] Date of Inspection/Test

[ ] Start Time of Test

[ ] End Time of Test

[ ] Generator Run Time (Hours)

[ ] Test Results Summary

[ ] Observations/Comments

[ ] Load Bank Data/Graphs (if applicable)

[ ] Overall Status (Pass, Fail, Conditional Pass)

[ ] Next Scheduled Test Date

[ ] Inspector Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/emergency-generator-test-inspection-checklist

(Click "Install Template" to launch your digital inspection tool immediately)