## Sheet1
Label | Value | Notes
Created by checklistguro.com
General Information (STEP)
Building/Facility Name (LOCATION)
Inspection Date (DATE)
Inspection Start Time (DATE)
Ambient Temperature (°C) (NUMBER)
Inspection Type (SELECTION options: Routine, Post-Incident, Annual)
Inspector Name (TEXT)
Inspector Title/Department (TEXT)
Any Relevant Notes (e.g., recent power outages, unusual circumstances) (TEXT)
Emergency Lighting - Functional Testing (STEP)
Date of Functional Test (DATE)
Time of Functional Test Start (DATE)
Test Procedure Followed? (SELECTION options: Standard Operating Procedure (SOP), Modified Procedure)
Duration of Power Failure (minutes) (NUMBER)
Emergency Lights Functioning Correctly? (SELECTION options: Yes, No, N/A)
Details of any Failures Observed (if applicable) (TEXT)
Number of Emergency Lights Tested (NUMBER)
Number of Emergency Lights Failing (NUMBER)
Automatic Transfer Switch (ATS) Operated Successfully? (SELECTION options: Yes, No, N/A)
Emergency Lighting - Physical Condition (STEP)
Fixture Identification Number (e.g., EL-001) (NUMBER)
Housing Condition - Visible Damage? (SELECTION options: None, Minor (Cosmetic), Moderate (Requires Attention), Significant (Requires Repair/Replacement))
Mounting Secure? (SELECTION options: Yes, No, Unsure)
Detailed Observations (e.g., cracks, corrosion, loose screws) (TEXT)
Lens Condition (SELECTION options: Clear, Cloudy, Scratched, Damaged)
Lamp Lumens (if legible – for comparison against specs) (NUMBER)
Precise Location of Fixture (LOCATION)
Exit Signage - Visibility and Illumination (STEP)
Is the exit sign visible from a clear line of sight? (SELECTION options: Yes, No, N/A)
Is the exit sign illuminated? (SELECTION options: Yes, No, Dim/Flickering)
Distance to nearest obstruction blocking visibility (feet/meters) (NUMBER)
Is the illumination intensity adequate? (SELECTION options: Yes, No, Unsure)
Describe any issues with visibility or illumination. (TEXT)
Is the sign correctly oriented (pointing toward the exit)? (SELECTION options: Yes, No, N/A)
Upload Photo of Exit Signage (UPLOAD)
Exit Signage - Physical Condition & Placement (STEP)
Exit Sign Location (Specific) (LOCATION)
Sign Housing Condition (SELECTION options: Excellent, Good, Fair, Poor - Requires Repair/Replacement)
Sign Face Condition (SELECTION options: Clear & Legible, Slightly Faded, Significant Fading/Damage, Illegible - Requires Replacement)
Mounting Height (Feet) (NUMBER)
Orientation (SELECTION options: Correct, Incorrect - Requires Adjustment)
Notes/Comments (e.g., damage, obstruction) (TEXT)
Sign Retroreflectivity (SELECTION options: Good, Fair, Poor - Requires Replacement)
Photo Documentation (if issues found) (UPLOAD)
Battery Backup System (if applicable) (STEP)
Battery Voltage (Reading) (NUMBER)
Battery Capacity (Remaining) (NUMBER)
Battery Condition (SELECTION options: Excellent, Good, Fair, Poor)
Last Battery Replacement Date (DATE)
Notes on Battery System Performance/Condition (TEXT)
Battery Backup Test Result (SELECTION options: Pass, Fail, Not Tested)
Battery Discharge Time (Minutes) - During Test (NUMBER)
Documentation & Record Keeping (STEP)
Date of Last Inspection (DATE)
Inspection Frequency (e.g., Monthly, Quarterly) (NUMBER)
Inspection Performed By (Select Role) (SELECTION options: Facility Manager, Maintenance Technician, Security Personnel, Contractor)
Inspector's Name (TEXT)
Summary of Findings & Recommendations (TEXT)
Supporting Documentation (e.g., Test Reports, Maintenance Records) (UPLOAD)
Next Inspection Scheduled? (SELECTION options: Yes, No)
Date of Next Scheduled Inspection (DATE)