EMERGENCY POWER SYSTEM - ICU CHECKLIST

Created by ChecklistGuro (https://checklistguro.com)

--- SYSTEM ACTIVATION & TRANSFER ---

[ ] Time of Emergency Power System Activation

[ ] Activation Method (Automatic Transfer, Manual Transfer)

[ ] Transfer Time (seconds)

[ ] Transfer Success? (Yes, No)

[ ] Notes on Transfer Process (if any issues)

[ ] Synchronization Status (Synchronized, Not Synchronized)

[ ] Voltage Level (Emergency Power)

--- GENERATOR PERFORMANCE ---

[ ] Generator Voltage (Volts)

[ ] Generator Frequency (Hz)

[ ] Load Acceptance Time (Seconds)

[ ] Generator Speed (RPM)

[ ] Engine Oil Pressure (PSI) (Normal, Low, High)

[ ] Coolant Temperature (Degrees F) (Normal, High, Low)

[ ] Observations & Anomalies

[ ] Time of Load Acceptance

--- CRITICAL EQUIPMENT VERIFICATION ---

[ ] Ventilator Status (Operational, Not Operational, Partial Functionality)

[ ] ECG Monitor Battery Level (%)

[ ] Infusion Pump Status (Operational, Not Operational, Partial Functionality)

[ ] Patient Monitoring System (PMS) Status (Operational, Not Operational, Partial Functionality)

[ ] Oxygen Concentrator Output (LPM)

[ ] Medical Air Pressure (Within Range, Low, Out of Range)

[ ] Any observed abnormalities or issues with critical equipment

--- LIGHTING & HVAC ---

[ ] Emergency Lighting Status (Functional, Dim/Weak, Non-Functional)

[ ] Emergency Lighting Lumens (average)

[ ] HVAC System Status (Functional, Partial Functionality, Non-Functional)

[ ] Room Temperature (°C) - measured

[ ] Room Temperature (°F) - measured

[ ] HVAC Airflow (observed) (Adequate, Reduced, Insufficient)

[ ] Comments/Observations regarding Lighting and HVAC

--- FUEL SUPPLY & MONITORING ---

[ ] Initial Fuel Level (Gallons/Liters)

[ ] Fuel Consumption During Test (Gallons/Liters)

[ ] Remaining Fuel Level (Gallons/Liters)

[ ] Fuel Type Verified? (Correct Fuel Type, Incorrect Fuel Type - Investigate)

[ ] Fuel Gauge Functionality (Operational, Malfunctioning - Investigate)

[ ] Last Fuel Delivery Date

[ ] Notes on Fuel Condition (e.g., cleanliness, odor)

--- SYSTEM SHUTDOWN & RETURN TO UTILITY POWER ---

[ ] Time Utility Power Restored

[ ] Voltage Level (Utility Power)

[ ] Transfer Method to Utility Power (Automatic, Manual, Both)

[ ] Observations During Return to Utility Power (e.g., voltage fluctuations, equipment behavior)

[ ] System Stability Upon Return (Stable, Minor Fluctuations, Significant Fluctuations, Unstable)

[ ] Date of Return to Utility Power

[ ] Any deviations from standard procedure during return to utility power? If so, describe.

[ ] Engineer Signature Verifying Return to Utility Power

--- POST-TEST DOCUMENTATION & REPORTING ---

[ ] Date of Test

[ ] Start Time of Test

[ ] End Time of Test

[ ] Generator Load Acceptance (kW)

[ ] Transfer Time (Seconds)

[ ] Transfer Success? (Yes, No)

[ ] Observations & Deviations

[ ] Equipment Functionality Verified (Select All That Apply) (Ventilators, Patient Monitors, Infusion Pumps, ECG Machines, Lighting, HVAC)

[ ] Generator Data Log

[ ] Technician Signature

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/facility-management/emergency-power-system-icu-checklist

(Click "Install Template" to launch your digital inspection tool immediately)