## 6a410f2f8d045fc590b65ffb
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Fetch Client Property Data (ENTRY_GET)	Retrieve existing building metadata (square footage, building age, and usage type) from the Client Data Model.
2. Site Inspection Visit (TASK_CREATE)	Assign a task to the Field Auditor to conduct the physical energy assessment on-site.
3. Create Audit Report Record (ENTRY_CREATE)	Generate a new entry in the Energy Audit Data Model to serve as the primary record for this audit.
4. Log Equipment Inventory (ENTRY_UPDATE)	Update the Audit Report entry with the list of HVAC, lighting, and insulation assets found during inspection.
5. Retrieve Utility Bills (ENTRY_GET)	Fetch historical electricity and gas consumption data from the Utility Records data model.
6. Calculate Baseline Energy Usage (CALCULATION)	Calculate the average monthly kWh consumption based on the retrieved utility bill history.
7. Create Energy Leakage Entry (ENTRY_CREATE)	Create individual entries for each identified thermal bridge or energy leak found during the audit.
8. Total Estimated Energy Waste (ENTRY_AGGREGATE)	Aggregate all 'Energy Leakage' entries to calculate the total annual kWh loss across the facility.
9. Calculate Potential Savings (CALCULATION)	Calculate the projected cost savings by applying current energy rates to the total estimated energy waste.
10. Efficiency Recommendation Draft (TASK_CREATE)	Assign a task to the Energy Engineer to draft technical recommendations and ROI analysis.
11. Update Recommendations List (ENTRY_UPDATE)	Attach the completed technical recommendations and retrofit cost estimates to the Audit Report entry.
12. Calculate ROI Period (CALCULATION)	Determine the payback period (years) by dividing the retrofit cost by the annual projected savings.
13. Generate Final Audit Report (REPORT_CREATE)	Generate a formal PDF/Digital Report summarizing findings, data, and recommendations for the client.
14. Send Report to Client (EMAIL)	Email the final Energy Audit Report and the calculated savings summary to the client's primary contact.
15. Set Audit Status to 'Completed' (ENTRY_UPDATE)	Update the status of the original Audit Report entry to 'Completed' to trigger final archiving.
End (END)	End of the Workflow/Process