ENERGY CONSUMPTION REDUCTION CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- BASELINE DATA COLLECTION ---

[ ] Total Monthly Electricity Consumption (kWh)

[ ] Total Monthly Natural Gas Consumption (therms)

[ ] Total Monthly Water Consumption (gallons)

[ ] Date of Baseline Measurement

[ ] Average Daily Temperature During Measurement Period (°F/°C)

[ ] Notes on measurement conditions or unusual circumstances

--- BUILDING ENVELOPE ASSESSMENT ---

[ ] Wall R-Value (Existing)

[ ] Wall R-Value (Recommended)

[ ] Window Type (Existing) (Single Pane, Double Pane, Low-E, Other)

[ ] Door Condition (Good, Fair, Poor)

[ ] Air Leakage (CFM)

[ ] Notes on Envelope Condition

--- HVAC SYSTEM EFFICIENCY ---

[ ] Supply Air Temperature (°C)

[ ] Return Air Temperature (°C)

[ ] Chilled Water Supply Temperature (°C)

[ ] Delta T (ΔT) Across Chiller (°C)

[ ] Filter Condition (Clean, Slightly Dirty, Dirty, Very Dirty)

[ ] Refrigerant Leak Check Result (No Leak Detected, Minor Leak Detected, Major Leak Detected)

[ ] Last Maintenance Date

[ ] Notes/Observations

--- LIGHTING OPTIMIZATION ---

[ ] Number of Incandescent Bulbs Replaced with LEDs

[ ] Wattage of Existing Bulbs (Average)

[ ] Wattage of New LED Bulbs (Average)

[ ] Motion Sensor Installation Status (Not Installed, Partially Installed, Fully Installed)

[ ] Lighting Control Measures Implemented (Dimming, Scheduling, Occupancy Sensors, Daylight Harvesting)

[ ] Date of Last Lighting System Audit

[ ] Lighting System Diagram/Layout (Optional)

--- EQUIPMENT EFFICIENCY ---

[ ] Equipment Energy Consumption (kWh)

[ ] Equipment Age (Years) (0-5, 6-10, 11-15, 16+)

[ ] Equipment Capacity (kW)

[ ] Energy Star Rating (if applicable) (Tier 1, Tier 2, Tier 3, Not Applicable)

[ ] Notes on Equipment Condition

[ ] Equipment Efficiency Documentation (e.g., datasheet)

--- BEHAVIORAL CHANGES ---

[ ] Employee Training Program Description

[ ] Number of Employees Trained (Last Month)

[ ] Topics Covered in Training (Check all that apply) (Energy Conservation Best Practices, Proper Equipment Usage, Lighting Optimization, HVAC System Awareness, Reporting Energy Waste)

[ ] Date of Last Training Session

[ ] Employee Feedback on Training Effectiveness (Scale of 1-5) (1 - Very Ineffective, 2 - Ineffective, 3 - Neutral, 4 - Effective, 5 - Very Effective)

[ ] Supporting Documentation (Training Materials, Sign-in Sheets)

--- RENEWABLE ENERGY OPTIONS ---

[ ] Preferred Renewable Energy Source (Solar PV, Wind Power, Geothermal, Biomass, Hydroelectric, Other)

[ ] Estimated System Size (kW)

[ ] Initial Feasibility Study Findings

[ ] Target Installation Date

[ ] Estimated Annual Energy Production (kWh)

[ ] Financing Method (Self-Funded, Loan, Grant, Lease, Power Purchase Agreement (PPA))

[ ] Supporting Documents (e.g., Site Assessment)

--- MONITORING & REPORTING ---

[ ] Total Energy Consumption (kWh)

[ ] Baseline Energy Consumption (kWh)

[ ] Energy Savings (kWh)

[ ] Percentage Reduction in Energy Consumption

[ ] Reporting Date

[ ] Summary of Findings and Recommendations

[ ] Supporting Documents (e.g., meter readings, invoices)

[ ] Reporting Status (Complete, In Progress, Needs Revision)

--- MAINTENANCE SCHEDULES ---

[ ] Last HVAC System Tune-Up

[ ] Lighting Fixture Cleaning Frequency (Months)

[ ] Next Boiler Inspection Date

[ ] Cooling Tower Water Treatment Type (Chemical Treatment, Electro-Chemical, None)

[ ] Last Transformer Oil Analysis

[ ] Motor Vibration Analysis Frequency (Months)

--- DEMAND RESPONSE PROGRAM COMPLIANCE ---

[ ] Participation Status (Active Participant, Inactive Participant, Pending Enrollment)

[ ] Maximum Curtailment Limit (kW)

[ ] Last DR Event Date

[ ] Percentage of Load Curtailment Achieved (Last Event)

[ ] Communication Method with DR Coordinator (Automated System, Phone Call, Email)

[ ] Notes on Recent DR Events

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/energy/energy-consumption-reduction-checklist-template

(Click "Install Template" to launch your digital inspection tool immediately)