ENERGY DEMAND RESPONSE PROGRAM READINESS CHECKLIST 2026

Created by ChecklistGuro (https://checklistguro.com)

--- PROGRAM ENROLLMENT & CONTRACT COMPLIANCE ---

[ ] Contract Effective Date

[ ] Utility Provider Name (Utility Provider A, Utility Provider B, Other)

[ ] Program Type (Price-Responsive, Incentive-Based, Critical Peak Pricing)

[ ] Executed Service Agreement

[ ] Compliance Requirements Verified (Regulatory Compliance, Insurance Coverage, Load Shedding Penalties Acknowledged, Meter Accuracy Verification)

[ ] Compliance Officer Approval

--- LOAD PROFILE & BASELINE ESTABLISHMENT ---

[ ] Baseline Period Start Date

[ ] Baseline Period End Date

[ ] Baseline Calculation Methodology (Regression Analysis, Average Historical Load, Weather-Adjusted Baseline, Regulated Utility Standard)

[ ] Average Peak Load (kW)

[ ] Identified Sheddable Load Types (HVAC Systems, Lighting Systems, Industrial Processing Equipment, Water Heating/Cooling, Compressed Air Systems)

[ ] Historical Load Profile Data (CSV/XLSX)

[ ] Baseline Deviation Notes & Assumptions

--- COMMUNICATION & CONTROL INFRASTRUCTURE ---

[ ] Primary Communication Protocol Type (OpenADR, Modbus/TCP, BACnet, MQTT, Proprietary/Other)

[ ] Gateway/Controller IP Address or Identifier

[ ] Integrated Control Systems (Smart Meters, BMS (Building Management System), PLC (Programmable Logic Controllers), IoT Sensors, Automated Load Controllers)

[ ] Last Communication Hardware Audit Date

[ ] Network Topology Diagram

[ ] Infrastructure Engineer Verification

--- OPERATIONAL RESOURCE ASSESSMENT ---

[ ] Identified Controllable Assets (HVAC Systems, Battery Energy Storage Systems (BESS), Backup Diesel Generators, Industrial Processing Equipment, Electric Vehicle (EV) Charging Stations, Compressed Air Systems, Lighting Control Systems)

[ ] Estimated Maximum Load Reduction Capacity (kW)

[ ] Asset Criticality Level (Critical (Cannot be shed), Semi-Critical (Short-term shedding allowed), Non-Critical (Primary candidate for shedding))

[ ] Operational Constraints & Limitations

[ ] Asset Maintenance Logs & Technical Datasheets

--- EVENT RESPONSE PROTOCOLS & SOPS ---

[ ] Primary Response Mode (Automated (Direct Load Control), Manual (Operator Directed), Semi-Automated (Hybrid))

[ ] Critical Assets to Defer/Shutdown (HVAC Systems, Non-Essential Lighting, Pumping Systems, Electric Vehicle Charging Stations, Manufacturing Production Lines)

[ ] Emergency Escalation Workflow

[ ] Standard Operating Procedure (SOP) Document

[ ] Operations Manager Approval

--- MONITORING, REPORTING & ANALYTICS ---

[ ] Last Data Audit Date

[ ] Data Logging Frequency (Real-time, Every 15 Minutes, Hourly, Daily)

[ ] Monitored Energy Metrics (kW Demand, kWh Consumption, Power Factor, Voltage Levels, Peak Load Variance)

[ ] Discrepancy Notes & Error Logs

[ ] Monthly Energy Performance Report

[ ] Data Integrity Auditor Verification

--- STAFF TRAINING & EMERGENCY PREPAREDNESS ---

[ ] Training Modules Completed (Basic DR Protocol Overview, Manual Load Shedding Procedures, Automated System Override Training, Emergency Communication Tree, Post-Event Reporting Workflow)

[ ] Last Training Session Date

[ ] Next Scheduled Drill Date

[ ] Staff Training Attendance Logs

[ ] Personnel Competency Level (Beginner, Intermediate, Advanced/Lead Operator)

[ ] Safety Officer Verification

--- FINANCIAL & INCENTIVE MANAGEMENT ---

[ ] Estimated Annual DR Revenue Projection

[ ] Maximum Allowable Load Shedding Cost Threshold

[ ] Incentive Payment Disbursement Date

[ ] Revenue Stream Sources (Direct Utility Rebates, Capacity Payments, Energy Settlement Credits, Tax Incentives/Subsidies)

[ ] Contract & Agreement Documentation

[ ] Financial Controller Approval

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/energy/energy-demand-response-program-readiness-checklist-2026

(Click "Install Template" to launch your digital inspection tool immediately)