ENERGY MANAGEMENT AND SUSTAINABILITY WORKFLOW

Created by ChecklistGuro (https://checklistguro.com)

[ ] Fetch Meter Readings: Retrieve the latest electricity and gas consumption entries from the Energy Meter Data model.

[ ] Retrieve Sustainability Targets: Get the predefined carbon reduction targets from the Sustainability Goals data model.

[ ] Calculate Total Carbon Footprint: Sum the CO2 equivalent values from all retrieved energy consumption entries.

[ ] Calculate Variance to Target: Subtract the current Total Carbon Footprint from the Sustainability Target to determine the gap.

[ ] Calculate Energy Intensity: Divide the total energy consumption by the total square footage of the facility.

[ ] Create Monthly Sustainability Report Entry: Create a new record in the Sustainability Reports model with the aggregated monthly metrics.

[ ] Assign Carbon Reduction Task: Create a task for the Sustainability Manager if the variance to target exceeds the allowed threshold.

[ ] Maintenance Alert Task: Create a task for the Facilities Team if energy usage spikes significantly above the historical average.

[ ] Audit Verification Checklist: A set of sub-steps within the Audit Task to verify meter accuracy and sensor calibration.

[ ] Update Facility Energy Status: Update the 'Efficiency Rating' field in the Facility Data model based on the new calculation results.

[ ] Notify Stakeholders of Monthly Report: Send an email to the Sustainability Committee containing the summary of the monthly report.

[ ] Generate Annual ESG Report: Generate a comprehensive PDF report aggregating all monthly performance entries for the year.

[ ] Critical Leak/Spike Alert: Send an SMS to the On-site Engineer if an extreme energy anomaly is detected.

[ ] Cleanup Duplicate Readings: Delete erroneous or duplicate meter entries identified during the validation step.

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/workflow-templates/facility-management/energy-management-and-sustainability-workflow

(Click "Install Template" to launch your digital inspection tool immediately)