## 6a410ed28d045fc590b65ebd
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Fetch Meter Readings (ENTRY_GET)	Retrieve the latest electricity and gas consumption entries from the Energy Meter Data model.
2. Retrieve Sustainability Targets (ENTRY_GET)	Get the predefined carbon reduction targets from the Sustainability Goals data model.
3. Calculate Total Carbon Footprint (ENTRY_AGGREGATE)	Sum the CO2 equivalent values from all retrieved energy consumption entries.
4. Calculate Variance to Target (CALCULATION)	Subtract the current Total Carbon Footprint from the Sustainability Target to determine the gap.
5. Calculate Energy Intensity (CALCULATION)	Divide the total energy consumption by the total square footage of the facility.
6. Create Monthly Sustainability Report Entry (ENTRY_CREATE)	Create a new record in the Sustainability Reports model with the aggregated monthly metrics.
7. Assign Carbon Reduction Task (TASK_CREATE)	Create a task for the Sustainability Manager if the variance to target exceeds the allowed threshold.
8. Maintenance Alert Task (TASK_CREATE)	Create a task for the Facilities Team if energy usage spikes significantly above the historical average.
9. Audit Verification Checklist (TASK_CREATE)	A set of sub-steps within the Audit Task to verify meter accuracy and sensor calibration.
10. Update Facility Energy Status (ENTRY_UPDATE)	Update the 'Efficiency Rating' field in the Facility Data model based on the new calculation results.
11. Notify Stakeholders of Monthly Report (EMAIL)	Send an email to the Sustainability Committee containing the summary of the monthly report.
12. Generate Annual ESG Report (REPORT_CREATE)	Generate a comprehensive PDF report aggregating all monthly performance entries for the year.
13. Critical Leak/Spike Alert (SMS)	Send an SMS to the On-site Engineer if an extreme energy anomaly is detected.
14. Cleanup Duplicate Readings (ENTRY_DELETE)	Delete erroneous or duplicate meter entries identified during the validation step.
End (END)	End of the Workflow/Process