## 6a39111a5a1e7cf130c0d453
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Meter Accuracy & Calibration (STEP)
Meter Serial Number (NUMBER)
Last Calibration Date (YYYY-MM-DD) (NUMBER)
Next Calibration Due Date (DATE)
Accuracy Class (NUMBER)
Measured Value at Calibration (NUMBER)
Tolerance Limit (%) (NUMBER)
Calibration Status (SELECTION options: Pass, Fail, Pending)
Calibration Notes/Observations (TEXT)

Meter Installation & Connection (STEP)
Meter Serial Number (NUMBER)
Installation Date (DATE)
Connection Type (Single Phase/Three Phase) (SELECTION options: Single Phase, Three Phase)
CT Ratio (If Applicable) (NUMBER)
PT Ratio (If Applicable) (NUMBER)
Wiring Configuration (Correct/Incorrect) (SELECTION options: Correct, Incorrect)
Notes/Observations (TEXT)

Data Recording & Transmission (STEP)
Meter Reading Accuracy (%) (NUMBER)
Last Data Transmission Date (DATE)
Last Data Transmission Time (DATE)
Communication Protocol Used (SELECTION options: Modbus, DNP3, IEC 61850, Other)
Description of Data Transmission Method (TEXT)
Data Encryption Method (SELECTION options: AES, RSA, None)
Data Transmission Interval (minutes) (NUMBER)

Tamper Detection & Security (STEP)
Physical Security Assessment (SELECTION options: Adequate, Needs Improvement, Insufficient)
Tamper Detection System Status (0-100) (NUMBER)
Sealing Integrity (SELECTION options: Intact, Compromised, Missing)
Last Sealing Inspection Date (DATE)
Notes on Tamper Evidence Observed (TEXT)
Alarm System Functionality (SELECTION options: Functional, Needs Repair, Disabled)

Regulatory Compliance (STEP)
Applicable Regulations (e.g., FERC, NERC, State) (SELECTION options: FERC, NERC, State Regulation - [Specify State], Local Ordinance - [Specify Ordinance], Other - [Specify])
Last Regulatory Audit Date (DATE)
Audit Score/Rating (if applicable) (NUMBER)
Summary of Audit Findings (if applicable) (TEXT)
Compliance Status (SELECTION options: Compliant, Non-Compliant, Partial Compliance, Pending Review)
Supporting Documentation (Audit Reports, Certificates) (UPLOAD)

Documentation & Record Keeping (STEP)
Last Meter Reading Date (DATE)
Meter Reading Value (NUMBER)
Notes on Meter Reading (TEXT)
Attach Meter Reading Photo (UPLOAD)
Calibration Date (DATE)
Calibration Details (TEXT)
Calibration Status (SELECTION options: Complete, Pending, Not Required)

Meter Testing and Validation (STEP)
Last Meter Test Date (DATE)
Meter Reading at Test Start (NUMBER)
Meter Test Load (Amps) (NUMBER)
Meter Voltage During Test (Volts) (NUMBER)
Meter Indicated Value During Test (NUMBER)
Test Result (SELECTION options: Pass, Fail, Needs Further Investigation)
Test Comments & Observations (TEXT)
Attach Test Report (Optional) (UPLOAD)

Communication Infrastructure (STEP)
Network Bandwidth (Mbps) (NUMBER)
Signal Strength (dBm) (NUMBER)
Communication Protocol (SELECTION options: Cellular, Wired (Ethernet), Wireless (WiFi), Satellite)
Last Network Performance Test Date (DATE)
Typical Data Transmission Latency (ms) (DATE)
Description of Redundancy Measures (if any) (TEXT)