## 6a410f2d8d045fc590b65ff5
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Fetch Battery Sensor Data (ENTRY_GET)	Retrieve the latest voltage, current, and temperature readings from the Battery Management System (BMS) data model.
2. Fetch System Thresholds (ENTRY_GET)	Retrieve predefined safety threshold values (e.g., Max Temp, Min SoC) from the Configuration data model.
3. Calculate State of Health (SoH) (CALCULATION)	Calculate the current degradation level using voltage and cycle count variables.
4. Calculate Average Cell Temperature (ENTRY_AGGREGATE)	Calculate the average temperature across all individual battery cell entries to detect thermal anomalies.
5. Check Threshold Violation (CALCULATION)	Compare the aggregated temperature and current voltage against the retrieved threshold values.
6. Create Incident Log (ENTRY_CREATE)	Create a new entry in the 'Incidents' data model if a threshold violation is detected.
7. Assign Technician Inspection (TASK_CREATE)	Create a high-priority task for the On-site Maintenance Engineer to inspect the hardware.
8. Create Inspection Checklist (TASK_CREATE)	Attach a specific 'Thermal Inspection' checklist to the technician's task.
9. Notify Operations Center (EMAIL)	Send an urgent email alert to the Operations Center with the details of the detected anomaly.
10. Emergency SMS Alert (SMS)	Send an SMS notification to the duty manager for immediate awareness of critical system failure.
11. Update Incident Status (ENTRY_UPDATE)	Update the status of the Incident Log entry to 'In Progress' once the task is acknowledged.
12. Generate Daily Health Report (REPORT_CREATE)	Generate a summary report containing aggregated performance metrics for the last 24 hours.
13. Update System Logs (ENTRY_UPDATE)	Update the historical performance data model with the newly calculated SoH and performance metrics.
End (END)	End of the Workflow/Process