ENERGY STORAGE SYSTEM MONITORING PROCESS

Created by ChecklistGuro (https://checklistguro.com)

[ ] Fetch Battery Sensor Data: Retrieve the latest voltage, current, and temperature readings from the Battery Management System (BMS) data model.
[ ] Fetch System Thresholds: Retrieve predefined safety threshold values (e.g., Max Temp, Min SoC) from the Configuration data model.
[ ] Calculate State of Health (SoH): Calculate the current degradation level using voltage and cycle count variables.
[ ] Calculate Average Cell Temperature: Calculate the average temperature across all individual battery cell entries to detect thermal anomalies.
[ ] Check Threshold Violation: Compare the aggregated temperature and current voltage against the retrieved threshold values.
[ ] Create Incident Log: Create a new entry in the 'Incidents' data model if a threshold violation is detected.
[ ] Assign Technician Inspection: Create a high-priority task for the On-site Maintenance Engineer to inspect the hardware.
[ ] Create Inspection Checklist: Attach a specific 'Thermal Inspection' checklist to the technician's task.
[ ] Notify Operations Center: Send an urgent email alert to the Operations Center with the details of the detected anomaly.
[ ] Emergency SMS Alert: Send an SMS notification to the duty manager for immediate awareness of critical system failure.
[ ] Update Incident Status: Update the status of the Incident Log entry to 'In Progress' once the task is acknowledged.
[ ] Generate Daily Health Report: Generate a summary report containing aggregated performance metrics for the last 24 hours.
[ ] Update System Logs: Update the historical performance data model with the newly calculated SoH and performance metrics.

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/workflow-templates/energy/energy-storage-system-monitoring-process
(Click "Install Template" to launch your digital inspection tool immediately)