## 6a3911145a1e7cf130c0d43c
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Pre-Operation Checks (STEP)
Date of Inspection (DATE)
Time of Inspection (DATE)
System Status (Prior to Operation) (SELECTION options: Online, Offline, Standby)
Ambient Temperature (°C) (NUMBER)
Humidity (%) (NUMBER)
Observed Environmental Conditions (TEXT)
Operator Present? (SELECTION options: Yes, No)
Inspector Signature (SIGNATURE)

Battery Module Inspection (STEP)
Module Voltage (V) (NUMBER)
Module Temperature (°C) (NUMBER)
Module Physical Condition (SELECTION options: Excellent, Good, Fair, Poor, Damaged)
Detailed Description of any Damage/Observations (TEXT)
Attach Photos of Module (if applicable) (UPLOAD)
Signs of Leakage? (SELECTION options: Yes, No, Unsure)
Module Serial Number (NUMBER)

HV/LV Electrical Checks (STEP)
High Voltage Bus Voltage (kV) (NUMBER)
Low Voltage Panel Voltage (V) (NUMBER)
Insulation Resistance (MΩ) (NUMBER)
Breaker Status (Open/Closed) (SELECTION options: Open, Closed)
Grounding Continuity Verified? (SELECTION options: Yes, No)
Any Unusual Sounds/Observations? (TEXT)
Last Infrared Scan Date (DATE)
Infrared Scan Image (if applicable) (UPLOAD)

Fire Suppression System (STEP)
CO2 Cylinder Pressure (PSI) (NUMBER)
Dry Chemical Agent Level (lbs) (NUMBER)
Last Inspection Date (DATE)
Fire Alarm System Status (SELECTION options: Operational, Needs Repair, Out of Service)
Sprinkler Head Condition (SELECTION options: Good, Corrosion, Damage, Obstructed)
Photos of Fire Suppression System (UPLOAD)
Notes on Fire Suppression System (TEXT)

Ventilation System (STEP)
Airflow Rate (CFM) (NUMBER)
Exhaust Temperature (°C) (NUMBER)
Filter Condition (SELECTION options: Excellent, Good, Fair, Poor)
Fan Motor Operation (SELECTION options: Normal, Noisy, Vibration, Failed)
Observations/Comments (TEXT)
Last Filter Replacement Date (DATE)

Thermal Management System (STEP)
Cooling System Inlet Temperature (°C) (NUMBER)
Cooling System Outlet Temperature (°C) (NUMBER)
Cooling System Flow Rate (L/min) (NUMBER)
Cooling System Type (SELECTION options: Air-Cooled, Liquid-Cooled, Hybrid)
Cooling Pump Status (SELECTION options: Operational, Faulted, Manual Override)
Notes/Observations on Cooling System Performance (TEXT)
Last Cooling System Maintenance Date (DATE)

Emergency Response Procedures (STEP)
Emergency Contact List (Names & Numbers) (TEXT)
Evacuation Route Map Description (TEXT)
Nearest Fire Extinguisher Location (SELECTION options: North, South, East, West)
Last Emergency Drill Date (DATE)
Estimated Evacuation Time (Minutes) (DATE)
Emergency Response Team Lead Signature (SIGNATURE)
Specific Emergency Procedures (e.g., Gas Leak, Fire) (TEXT)

Safety Equipment Verification (STEP)
PPE Availability (Fire Resistant Clothing) (SELECTION options: Available, Not Available, Partial Availability)
PPE Availability (Safety Glasses) (SELECTION options: Available, Not Available, Partial Availability)
PPE Availability (Gloves) (SELECTION options: Available, Not Available, Partial Availability)
Fire Extinguisher Inspection Date (NUMBER)
Last Confined Space Entry Permit Expiration (DATE)
Inspector Signature (SIGNATURE)

Environmental Monitoring (STEP)
Ambient Temperature (°C) (NUMBER)
Relative Humidity (%) (NUMBER)
Methane Concentration (ppm) (NUMBER)
Hydrogen Concentration (ppm) (NUMBER)
Gas Leak Detection Status (SELECTION options: No Leak Detected, Minor Leak Detected, Major Leak Detected)
Date of Measurement (DATE)
Time of Measurement (DATE)
Notes/Observations (TEXT)

Post-Operation Checks (STEP)
Final Battery Voltage (V) (NUMBER)
Final Battery Temperature (°C) (NUMBER)
Total Energy Delivered (kWh) (NUMBER)
Operation End Time (DATE)
Any Unusual Noises or Events Observed (TEXT)
Overall System Performance (SELECTION options: Excellent, Good, Fair, Poor)
Operator Signature (SIGNATURE)