ENERGY SUBSTATION INSPECTION CHECKLIST TEMPLATE

Created by ChecklistGuro (https://checklistguro.com)

--- VISUAL INSPECTION - GENERAL ---
[ ] Substation Identification Number
[ ] Date of Inspection
[ ] Time of Inspection
[ ] Weather Conditions
[ ] Overall Impression/Notes
[ ] Evidence of Unauthorized Access? (Yes, No, Uncertain)
[ ] Ambient Temperature (°C)

--- VEGETATION MANAGEMENT ---
[ ] Vegetation Clearance Distance (Feet)
[ ] Vegetation Type Observed (Trees, Shrubs, Grass, Vines, Other)
[ ] Description of Vegetation Growth
[ ] Last Vegetation Control Date
[ ] Photographs of Vegetation
[ ] Vegetation Condition (Acceptable, Needs Attention, Requires Immediate Action)

--- SECURITY PERIMETER ---
[ ] Fence Height (feet)
[ ] Gate Operation Status (Operating Normally, Malfunctioning, Requires Maintenance)
[ ] Perimeter Lighting Status (All Lights Operational, Some Lights Out, All Lights Out)
[ ] Last Perimeter Inspection Date
[ ] Comments/Observations Regarding Perimeter Security
[ ] Location of Breached Point (if any)
[ ] Photos of Perimeter (Optional)

--- TRANSFORMERS ---
[ ] Oil Level (inches)
[ ] Oil Temperature (°C)
[ ] Turns Ratio
[ ] Bushing Condition (Excellent, Good, Fair, Poor)
[ ] Remarks/Observations
[ ] Last Oil Sample Date
[ ] Attach Oil Sample Analysis Report

--- CIRCUIT BREAKERS ---
[ ] Operating Time (Seconds)
[ ] Reclosing Time (Seconds)
[ ] Mechanism Type (Spring-Operated, SFI, Hydraulic, Other)
[ ] Mechanism Lubrication Notes
[ ] Last Lubrication Date
[ ] Abnormalities Observed (Noise, Vibration, Overheating, Slow Operation, None)
[ ] Inspector Signature

--- DISCONNECT SWITCHES ---
[ ] Switch Position Verification (Open, Closed, Intermediate)
[ ] Switch Operating Time (seconds)
[ ] Lubrication Status (Lubricated, Not Lubricated, N/A)
[ ] Visual Condition Notes
[ ] Last Lubrication Date
[ ] Mechanism Condition (Excellent, Good, Fair, Poor)

--- BUSBARS ---
[ ] Busbar Temperature (°C)
[ ] Busbar Material
[ ] Busbar Condition (Excellent, Good, Fair, Poor)
[ ] Description of any defects or abnormalities
[ ] Busbar Oxidation Measurement (mm)
[ ] Date of Last Cleaning
[ ] Attach Photo of Busbar Condition

--- INSULATORS ---
[ ] Insulator Surface Temperature (°C)
[ ] Insulator Material Type (Porcelain, Glass, Composite)
[ ] Insulator Condition (Visual) (Excellent, Good, Fair, Poor)
[ ] Description of any Defects/Damage
[ ] Leakage Current (mA)
[ ] Presence of Contaminants (None, Dirt, Algae, Bird Droppings)

--- GROUNDING SYSTEM ---
[ ] Ground Resistance (Ohms)
[ ] Transient Overvoltage Suppression (TOV) Resistance (Ohms)
[ ] Grounding Electrode Condition (Excellent, Good, Fair, Poor)
[ ] Observations/Notes on Grounding System
[ ] Last Grounding Inspection Date
[ ] Inspector Signature

--- CONTROL & MONITORING SYSTEMS ---
[ ] SCADA System Uptime (Hours)
[ ] Relay Status - CB1 (OK, Warning, Error)
[ ] Last Relay Calibration
[ ] Event Log Summary
[ ] Communication Latency (ms)
[ ] Battery Backup Status (Online, Standby, Fault)

--- EMERGENCY POWER SYSTEMS ---
[ ] Generator Voltage (V)
[ ] UPS Battery Voltage (V)
[ ] Battery State of Charge (%)
[ ] Last Generator Test Date
[ ] Time of Last Generator Start
[ ] Generator Load Test Result (Pass, Fail, N/A)
[ ] Notes/Comments

--- FIRE PROTECTION SYSTEMS ---
[ ] Last Fire Extinguisher Inspection Date
[ ] Number of Fire Extinguishers Present
[ ] Fire Suppression System Status (Operational, Needs Maintenance, Out of Service)
[ ] Fire Alarm System Status (Operational, Needs Maintenance, Out of Service)
[ ] Last Fire Drill Time
[ ] Notes/Observations Regarding Fire Protection Systems

--- ENVIRONMENTAL COMPLIANCE ---
[ ] Oil Level in Containment Dikes (Feet)
[ ] Last Spill Prevention Plan Review Date
[ ] Waste Oil Storage Status (Compliant, Minor Issue, Major Issue)
[ ] Environmental Permits Current? (Air Permit, Water Discharge Permit, Hazardous Waste Permit)
[ ] Recent Environmental Audit Report
[ ] Description of any Environmental Concerns

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/templates/energy/energy-substation-inspection-checklist-template
(Click "Install Template" to launch your digital inspection tool immediately)