ENVIRONMENTAL MONITORING AND CLEANROOM CONTROL

Created by ChecklistGuro (https://checklistguro.com)

[ ] Initialize Monitoring Session: Create a new entry in the 'Monitoring Session' data model to track the start of a cleanroom audit.
[ ] Perform Physical Sensor Check: Assign a task to the Technician to manually verify that all particle counters and humidity sensors are operational.
[ ] Retrieve Last Calibration Date: Get the most recent calibration date from the 'Equipment' data model to ensure sensors are within valid range.
[ ] Calculate Variance from Baseline: Calculate the difference between the current reading and the established cleanroom baseline for particle count.
[ ] Log Environmental Readings: Update the active Monitoring Session entry with the newly captured temperature, pressure, and humidity values.
[ ] Calculate Average Daily Particle Count: Aggregate all entries from the last 24 hours to find the average particle concentration.
[ ] Check Threshold Breach: Compare the current aggregated particle count against the maximum allowed limit defined in the safety protocol.
[ ] Initiate Decontamination Protocol: Trigger a high-priority task for the Cleaning Crew if a threshold breach is detected.
[ ] Alert Facility Manager: Send an automated email to the Facility Manager if environmental parameters fall outside of regulated limits.
[ ] Emergency SMS Alert: Send an urgent SMS to the On-call Supervisor if a critical pressure loss is detected in the cleanroom.
[ ] Generate Daily Compliance Report: Create a formatted PDF report summarizing all environmental readings and any deviations recorded during the session.
[ ] Purge Expired Logs: Delete temporary sensor data entries that have exceeded the data retention policy period.
[ ] Update Equipment Status: Update the 'Equipment' data model to mark a sensor as 'Out of Service' if it fails the physical check.

--- END OF TEMPLATE ---
Transform this text into a digital, automated, and trackable mobile app!
Visit: https://checklistguro.com/workflow-templates/pharmaceutical/environmental-monitoring-and-cleanroom-control
(Click "Install Template" to launch your digital inspection tool immediately)