## 6a410f138d045fc590b65f9d
Label	Description

Created by checklistguro.com

Start (START)	Start of the Workflow/Process
1. Retrieve Asset Details (ENTRY_GET)	Fetch the specific equipment record from the Equipment Data Model to identify calibration intervals and last service date.
2. Identify Assigned Technician (ENTRY_GET)	Retrieve the technician profile and contact details associated with the maintenance department.
3. Calculate Next Calibration Due Date (CALCULATION)	Add the calibration interval (from the asset model) to the last calibration date to determine the next due date.
4. Update Asset Status to 'Maintenance Required' (ENTRY_UPDATE)	Change the status property in the Equipment Data Model to alert all users that the unit is currently out of service.
5. Assign Calibration Task (TASK_CREATE)	Create a new task assigned to the Technician containing the equipment ID and required calibration steps.
6. Create Safety Inspection Task (TASK_CREATE)	Generate a sub-task for the safety officer to verify the equipment is safe for use after maintenance.
7. Create Maintenance Log Entry (ENTRY_CREATE)	Generate a new entry in the Maintenance History Data Model to document the completed work, technician, and results.
8. Update Last Calibration Date (ENTRY_UPDATE)	Update the 'Last Calibration Date' field in the Equipment Data Model with the current date upon successful completion.
9. Update Asset Status to 'Operational' (ENTRY_UPDATE)	Revert the status property in the Equipment Data Model back to 'Active/Operational'.
10. Calculate Maintenance Cost Total (ENTRY_AGGREGATE)	Sum all costs from the Maintenance Log entries associated with this specific piece of equipment to track total cost of ownership.
11. Calculate the maximum measurement deviation recorded in recent calibration entries to identify precision drift. (ENTRY_AGGREGATE)	Find the max value of the 'deviation' property in the recent calibration entries.
12. Notify Maintenance Manager (EMAIL)	Send an email notification to the manager summarizing the completed maintenance and any identified issues.
13. Alert Technician of Urgent Task (SMS)	Send an SMS to the technician's mobile number when a high-priority calibration task is assigned.
14. Generate Equipment Health Report (REPORT_CREATE)	Create a periodic report summarizing all completed, pending, and overdue maintenance tasks for the department.
15. Remove Obsolete Inspection Checklists (ENTRY_DELETE)	Delete temporary or redundant inspection checklists that are no longer relevant after the task completion.
End (END)	End of the Workflow/Process