## 6a390e165a1e7cf130c0c988
Label	Value	Notes

Created by ChecklistGuro (https://checklistguro.com)

Overall Performance & Trending (STEP)
Current EHI Score (NUMBER)
Previous EHI Score (for comparison) (NUMBER)
Percentage Change in EHI Score (NUMBER)
Summary of Key Trends Observed in EHI Data (TEXT)
Overall Assessment of Equipment Health (Based on EHI) (SELECTION options: Excellent, Good, Fair, Poor)
Areas of Greatest Concern (Based on EHI) (SELECTION options: Mechanical Systems, Electrical Systems, Process Control, Lubrication, Hydraulics)
Date of Last EHI Review (DATE)
Recommendations for Further Investigation or Action (TEXT)

Vibration Analysis (STEP)
Overall Vibration Severity Score (RMS) (NUMBER)
Axial Vibration (mm/s) (NUMBER)
Radial Vibration (mm/s) (NUMBER)
Tangential Vibration (mm/s) (NUMBER)
Phase Analysis (if applicable) (SELECTION options: Normal, Phase Shift Detected, Unstable Phase, Not Applicable)
Description of Observed Vibration Patterns (TEXT)
Vibration Spectrum Graph (UPLOAD)
Impulse Characteristics (if present) (SELECTION options: None, Low, Moderate, High)
Date of Last Vibration Analysis (DATE)

Oil Analysis (STEP)
Viscosity (cSt @ 40°C) (NUMBER)
Total Base Number (TBN) (mg KOH/g) (NUMBER)
Acid Number (AN) (mg KOH/g) (NUMBER)
Water Content (%) (NUMBER)
Wear Metal Concentration - Iron (ppm) (NUMBER)
Wear Metal Concentration - Copper (ppm) (NUMBER)
Particle Contamination (ISO Code) (SELECTION options: ISO 00, ISO 03, ISO 06, ISO 09, ISO 12, ISO 14, ISO 16, ISO 18, ISO 21, ISO 24)
Observations/Comments on Oil Condition (TEXT)
Oil Sample Date (DATE)
Oil Analysis Report (UPLOAD)

Thermography (Infrared Scanning) (STEP)
Maximum Hotspot Temperature (Surface °C) (NUMBER)
Ambient Temperature (°C) (NUMBER)
Emissivity Value Used (NUMBER)
Description of Hotspot Anomalies Observed (if any) (TEXT)
Areas Inspected (Select all that apply) (SELECTION options: Electrical Panels, Motors & Drives, Pumps, Gearboxes, Process Piping, HVAC Systems, Other (Specify in long text))
Overall Thermal Image Quality (SELECTION options: Excellent, Good, Fair, Poor)
Date of Thermography Scan (DATE)
Time of Thermography Scan (DATE)
Attach Thermography Image(s) (UPLOAD)

Ultrasonic Testing (STEP)
Bearing Outer Race Defect Amplitude (dB) (NUMBER)
Bearing Inner Race Defect Amplitude (dB) (NUMBER)
Bearing Ball/Roller Defect Amplitude (dB) (NUMBER)
Gear Mesh Frequency Amplitude (dB) (NUMBER)
Description of Detected Anomalies (if any) (TEXT)
Leak Detection Status (SELECTION options: No Leaks Detected, Minor Leak Detected, Significant Leak Detected, Leak Location Unknown)
Ultrasonic Sound Waveforms/Spectrum (UPLOAD)
Date of Ultrasonic Testing (DATE)
Time of Ultrasonic Testing (DATE)

Process Parameter Monitoring (STEP)
Production Rate (Units/Hour) (NUMBER)
Operating Pressure (PSI) (NUMBER)
Operating Temperature (Degrees Celsius) (NUMBER)
Power Consumption (kW) (NUMBER)
Cycle Time (Normal Range) (SELECTION options: Within Specification, Slightly Outside, Significantly Outside)
Observed Process Anomalies/Deviations (TEXT)
Date of Last Process Parameter Calibration (DATE)
Process Parameter Stability (SELECTION options: Stable, Slightly Fluctuating, Highly Fluctuating)
Actions Taken Regarding Process Parameter Deviations (TEXT)

Data Integrity and Reliability (STEP)
Data Source Accuracy Score (1-10) (NUMBER)
Data Source Verification Method (SELECTION options: Manual Review, Automated Validation, Calibration Records, Third-Party Audit)
Last Data Source Validation Date (DATE)
Description of Data Validation Procedures (TEXT)
Data Transmission Method (SELECTION options: Direct Connection, Wireless, Networked, Manual Entry)
Data Loss Rate (%) (NUMBER)
Notes on data inconsistencies or anomalies detected (TEXT)
Calibration Status of Sensors (SELECTION options: Within Calibration Period, Calibration Needed, Calibration Overdue)

Alarm Management & Response (STEP)
Number of Unacknowledged Alarms (NUMBER)
Alarm Response Protocol Followed? (SELECTION options: Yes, No, N/A)
Brief Description of Alarm Response Actions Taken (TEXT)
Date of Last Alarm Response Training (DATE)
Average Time to Acknowledge an Alarm (DATE)
Root Cause Analysis Performed for Recurring Alarms? (SELECTION options: Yes, No, N/A)
Summary of Findings from Root Cause Analysis (if applicable) (TEXT)
Attach screenshot of recent alarm log (if applicable) (UPLOAD)

Maintenance History Review (STEP)
Number of Preventative Maintenance (PM) Tasks Completed on Time (NUMBER)
Summary of Recurring Failure Modes (TEXT)
Date of Last Major Overhaul (DATE)
Mean Time Between Failures (MTBF) – Current Value (NUMBER)
Number of Unexpected Breakdowns in the Past 12 Months (NUMBER)
Detailed Description of Most Recent Significant Repair (TEXT)
Root Cause Analysis (RCA) Documentation Available? (SELECTION options: Yes, No, Partially Available)
Upload Maintenance Records/Logs (Optional) (UPLOAD)

Corrective Action Effectiveness (STEP)
Pre-Corrective Action EHI Score (NUMBER)
Post-Corrective Action EHI Score (NUMBER)
Corrective Action Category (SELECTION options: Mechanical, Electrical, Process, Lubrication, Software/Control System)
Description of Corrective Action Taken (TEXT)
Root Cause Identified (Initial Assessment) (SELECTION options: Wear, Misalignment, Contamination, Design Flaw, Operator Error, Other)
Root Cause Verification Method (SELECTION options: Visual Inspection, Vibration Analysis, Oil Analysis, Thermography, Ultrasonic Testing)
Description of Actual Root Cause (If Different) (TEXT)
Was the Corrective Action Effective? (SELECTION options: Yes, No, Partially)
Explanation for Effectiveness Rating (If Partially or No) (TEXT)
Date of Follow-Up Review (DATE)