EV CHARGING INFRASTRUCTURE DEPLOYMENT CHECKLIST 2026

Created by ChecklistGuro (https://checklistguro.com)

--- SITE ASSESSMENT & FEASIBILITY STUDY ---

[ ] Site Name/Location ID

[ ] Installation Coordinates

[ ] Existing Transformer Capacity (kVA) (Under 50 kVA, 50-150 kVA, 150-500 kVA, Above 500 kVA)

[ ] Available Power Source Types (Grid Connection, Solar PV Array, Battery Energy Storage (BESS), Backup Diesel Generator)

[ ] Site Obstruction Notes

[ ] Site Survey Photo/Blueprint

--- PERMITTING & REGULATORY COMPLIANCE ---

[ ] Permit Status (Not Started, In Progress, Under Review, Approved, Denied)

[ ] Permit Expiration Date

[ ] Approved Permit Documentation

[ ] Regulatory Compliance Notes

[ ] Required Approvals Obtained (Zoning Board Approval, Electrical Safety Permit, Environmental Impact Clearance, Utility Interconnection Agreement, Construction Permit)

[ ] Compliance Officer Verification

--- GRID CONNECTION & UTILITY COORDINATION ---

[ ] Utility Provider Name

[ ] Service Connection Request Date

[ ] Connection Type (New Service Connection, Load Upgrade/Expansion, Existing Infrastructure Reconfiguration)

[ ] Estimated Peak Load Requirement (kW)

[ ] Utility Single Line Diagram (SLD)

[ ] Required Grid Interventions (Transformer Upgrade, New Meter Installation, Substation Modification, New Dedicated Conduit)

[ ] Project Manager Approval

--- HARDWARE & EQUIPMENT PROCUREMENT ---

[ ] Charger Type (Level 2 AC Charger, DC Fast Charger (DCFC), Ultra-Fast Charger)

[ ] Quantity of Units Ordered

[ ] Expected Delivery Date

[ ] Equipment Specification Sheets

[ ] Included Accessories (Mounting Brackets, Cable Management Hooks, RFID Card Readers, Emergency Stop Buttons)

[ ] Vendor & Manufacturer Details

--- ELECTRICAL INSTALLATION & WIRING ---

[ ] Conduit Material Used (EMT (Electrical Metallic Tubing), IMC (Intermediate Metal Conduit), Rigid Metal Conduit (RMC), PVC (Polyvinyl Chloride))

[ ] Circuit Breaker Ampere Rating

[ ] Electrical Inspection Date

[ ] Wiring Verification Tasks Completed (Grounding & Bonding Verified, Insulation Resistance Test Passed, Phase Continuity Confirmed, Conduit Support/Strapping Secured)

[ ] Electrical Circuit Diagram/Blueprint

[ ] Certified Electrician Approval

--- SOFTWARE & NETWORK INTEGRATION ---

[ ] Network Connection Type (Wi-Fi, Cellular (4G/5G), Ethernet, PLC (Power Line Communication))

[ ] OCPP Version Confirmed

[ ] Integrated Software Features (Remote Start/Stop, Automated Billing/Payment, Real-time Energy Monitoring, User Authentication (RFID/App), Load Balancing Control)

[ ] Network Configuration Documentation

[ ] Software Activation Date

[ ] IT/Systems Integration Specialist Approval

--- CONNECTIVITY & COMMUNICATION TESTING ---

[ ] Network Connection Type (Wi-Fi, Cellular (4G/5G), Ethernet, Bluetooth/Local Mesh)

[ ] Signal Strength (RSSI) Value

[ ] Communication Protocols Verified (OCPP 1.6, OCPP 2.0.1, MQTT, HTTP/HTTPS)

[ ] Connectivity Troubleshooting Notes

[ ] Connectivity Test Date

[ ] Network Speed/Latency Test Screenshot

[ ] Technician Verification

--- SAFETY & ACCESSIBILITY COMPLIANCE ---

[ ] Safety Equipment Installed (Emergency Shut-off Switch, Fire Extinguisher Station, Safety Signage (High Voltage), Trip Hazard Mitigation (Cable Protectors), Adequate Area Lighting)

[ ] ADA Compliance Status (Fully Compliant, Partial Compliance (Requires Modification), Non-Compliant)

[ ] Accessibility Obstruction Notes

[ ] Safety Inspection Certificate

[ ] Safety Officer Verification

--- USER EXPERIENCE & SIGNAGE ---

[ ] Required Signage Types (Instructional Use Guide, Safety & Emergency Instructions, Payment/Pricing Information, Parking Restriction Notices, Branding & Wayfinding Decals)

[ ] Signage Material Specification

[ ] Signage Installation Status (Not Started, In Progress, Completed)

[ ] Photo Evidence of Installed Signage

[ ] Site Manager Verification

--- POST-DEPLOYMENT COMMISSIONING & MAINTENANCE ---

[ ] Commissioning Completion Date

[ ] System Operational Status (Fully Operational, Operational with Pending Issues, Non-Operational)

[ ] Completed Verification Tasks (Load Balancing Test Passed, Payment Gateway Verified, Network Connectivity Verified, Safety Shut-off Test Verified)

[ ] Maintenance Schedule Notes

[ ] Final Inspection Report

[ ] Project Manager Approval

--- END OF TEMPLATE ---

Transform this text into a digital, automated, and trackable mobile app!

Visit: https://checklistguro.com/templates/energy/ev-charging-infrastructure-deployment-checklist-2026

(Click "Install Template" to launch your digital inspection tool immediately)